## sheet1
Code | Location | INSULATION LEVEL | MAKE | MOTOR TRIP VOLTAGE | OPERATION SEQUENCE | RATED CURRENT | RATED FREQUENCY | RATED SHORT CIRCUIT BREAKING CURRENT | RATED SHORT CIRCUIT DURATION | RATED VOLTAGE | S.NO. | SHUNT TRIP VOLTAGE
MH VCB 091873/6109 | IJKL T/F YARD | 36/70/170 | MEGAWIN | 230 V AC | 230 V AC | 0-0.3S -CO-3 MIN-CO | 800 A | 50 HZ | 25 KA | 3 SEC | 36 KV | 091873/6109 | 24 V-DC
MH VCB 091869/6109 | MN&CH T/F YARD | 36/70/170 | MEGAWIN | 230 V AC | 230 V AC | 0-0.3S -CO-3 MIN-CO | 800 A | 50 HZ | 25 KA | 3 SEC | 36 KV | 091873/6109 | 24 V-DC
MH VCB 091872/6109 | ABCD T/F YARD | 36/70/170 | MEGAWIN | 230 V AC | 230 V AC | 0-0.3S -CO-3 MIN-CO | 800 A | 50 HZ | 25 KA | 3 SEC | 36 KV | 091873/6109 | 24 V-DC
MH VCB 091871/6109 | EFGH T/F YARD | 36/70/170 | MEGAWIN | 230 V AC | 230 V AC | 0-0.3S -CO-3 MIN-CO | 800 A | 50 HZ | 25 KA | 3 SEC | 36 KV | 091873/6109 | 24 V-DC
MH VCB 091865/6109 | 5 PANEL INCOMER | 36/70/170 | MEGAWIN | 230 V AC | 230 V AC | 0-0.3S -CO-3 MIN-CO | 800 A | 50 HZ | 25 KA | 3 SEC | 36 KV | 091873/6109 | 24 V-DC
MH VCB 091866/6109 | 5 PANEL IJKL OUT GOING-1 | 36/70/170 | MEGAWIN | 230 V AC | 230 V AC | 0-0.3S -CO-3 MIN-CO | 800 A | 50 HZ | 25 KA | 3 SEC | 36 KV | 091873/6109 | 24 V-DC
MH VCB 091867/6109 | 5 PANEL MN&CH OUTGOING-2 | 36/70/170 | MEGAWIN | 230 V AC | 230 V AC | 0-0.3S -CO-3 MIN-CO | 800 A | 50 HZ | 25 KA | 3 SEC | 36 KV | 091873/6109 | 24 V-DC
MH VCB 091868/6109 | 5 PANEL ABCD OUT GOING -3 | 36/70/170 | MEGAWIN | 230 V AC | 230 V AC | 0-0.3S -CO-3 MIN-CO | 800 A | 50 HZ | 25 KA | 3 SEC | 36 KV | 091873/6109 | 24 V-DC
MH VCB 091870/6109 | 5 PANEL EFGH OUTGOING- 4 | 36/70/170 | MEGAWIN | 230 V AC | 230 V AC | 0-0.3S -CO-3 MIN-CO | 800 A | 50 HZ | 25 KA | 3 SEC | 36 KV | 091873/6109 | 24 V-DC
MH VCB 091538/5988 | 3-PANEL INCOMER-2,MAIN GATE | 36/70/170 | MEGAWIN | 230 V AC | 230 V AC | 0-0.3S -CO-3 MIN-CO | 800 A | 50 HZ | 25 KA | 3 SEC | 36 KV | 091873/6109 | 24 V-DC
MH VCB 091540/5988 | 5 PANEL- CUSTMER PANEL | 36/70/170 | MEGAWIN | 230 V AC | 230 V AC | 0-0.3S -CO-3 MIN-CO | 800 A | 50 HZ | 25 KA | 3 SEC | 36 KV | 091873/6109 | 24 V-DC
MH VCB 091537/5988 | 3-PANEL INCOMER-1 MAINGATE | 36/70/170 | MEGAWIN | 230 V AC | 230 V AC | 0-0.3S -CO-3 MIN-CO | 800 A | 50 HZ | 25 KA | 3 SEC | 36 KV | 091873/6109 | 24 V-DC
MH VCB 091539/5988 | 3-PANEL OUT GOING MAIN GATE | 36/70/170 | MEGAWIN | 230 V AC | 230 V AC | 0-0.3S -CO-3 MIN-CO | 800 A | 50 HZ | 25 KA | 3 SEC | 36 KV | 091873/6109 | 24 V-DC