## FE
Code | Location | TYPE OF EXTINGUISHER | SUITABLE FOR CLASSES OF FIRE | COLOR CODE | MAKE | CAPACITY (KGS.) | FIRE RATING | GROSS WEIGHT (KGS.) | EMPTY WEIGHT (KGS.) | SUITABLE FOR USE AT TEMEPERATURE FROM | HY. TESTED TO | DATE OF MFG. | MANUFATURER NAME | MANUFATURER CONTACT | MANUFATURER ADDRESS
ACZ-FE-Q-H2O-312 | Q- block,7th floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-Q-H2O-313 | Q- block,8th floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-Q-H2O-314 | Q- block,8th floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-Q-H2O-315 | Q- block 9th floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-Q-H2O-316 | Q- block 9th floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-Q-H2O-317 | Q-block,Lift lobby | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-Q-H2O-318 | Q-block,Lift lobby | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-Q-H2O-319 | Common area | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-Q-H2O-320 | Common area | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-R-H2O-321 | R-block,groun floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-R-H2O-322 | R-block,1st floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-R-H2O-323 | R-block,2nd floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-R-H2O-324 | R-block,3rd floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-R-H2O-325 | R-block,4th floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-R-H2O-326 | R-block,Lift lobby | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-R-H2O-327 | Common area | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-S-H2O-328 | S- block,ground floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-S-H2O-329 | S- block,ground floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-S-H2O-330 | S- block,1st floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-S-H2O-331 | S- block,1st floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-S-H2O-332 | S- block,2nd floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-S-H2O-333 | S- block,2nd floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-S-H2O-334 | S- block,3rd floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-S-H2O-335 | S- block,3rd floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-S-H2O-336 | S- block,4th floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-S-H2O-337 | S- block,4th floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-S-H2O-338 | S- block,5th floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-S-H2O-339 | S- block,5th floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-S-H2O-340 | S- block,6th floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-S-H2O-341 | S- block,6th floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-S-H2O-342 | S- block,7th floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-S-H2O-343 | S- block,7th floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-S-H2O-344 | S- block,8th floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-S-H2O-345 | S- block,8th floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-S-H2O-346 | S- block 9th floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-S-H2O-347 | S- block 9th floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-S-H2O-348 | S-block,Lift lobby | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-S-H2O-349 | S-block,Lift lobby | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-S-H2O-350 | Common area | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-S-H2O-351 | Common area | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-S-H2O-352 | S-block,Lift lobby | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-S-H2O-353 | S-block,Lift lobby | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-S-H2O-354 | Common area | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-S-H2O-355 | Common area | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-S-H2O-356 | Common area | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-T-H2O-357 | T- block,ground floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-T-H2O-358 | T- block,ground floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-T-H2O-359 | T- block,1st floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-T-H2O-360 | T- block,1st floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-T-H2O-361 | T- block,2nd floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-T-H2O-362 | T- block,2nd floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-T-H2O-363 | T- block,3rd floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-T-H2O-364 | T- block,3rd floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-T-H2O-365 | T- block,4th floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-T-H2O-366 | T- block,4th floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-T-H2O-367 | T- block,5th floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-T-H2O-368 | T- block,5th floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-T-H2O-369 | T- block,6th floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-T-H2O-370 | T- block,6th floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-T-H2O-371 | T- block,7th floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-T-H2O-372 | T- block,7th floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-T-H2O-373 | T- block,8th floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-T-H2O-374 | T- block,8th floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-T-H2O-375 | T- block 9th floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-T-H2O-376 | T- block 9th floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-T-H2O-377 | T-block,Lift lobby | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-T-H2O-378 | T-block,Lift lobby | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-T-H2O-379 | Common area | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-T-H2O-380 | Common area | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-T-H2O-381 | Common area | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-T-H2O-382 | Common area | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-T-H2O-383 | T-block,Lift lobby | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-T-H2O-384 | T-block,Lift lobby | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-T-H2O-385 | Common area | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-T-H2O-386 | Common area | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-T-H2O-387 | Common area | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-U-H2O-388 | U- block,ground floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-U-H2O-389 | U- block,ground floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-U-H2O-390 | U- block,1st floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-U-H2O-391 | U- block,1st floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-U-H2O-392 | U- block,2nd floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-U-H2O-393 | U- block,2nd floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-U-H2O-394 | U- block,3rd floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-U-H2O-395 | U- block,3rd floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-U-H2O-396 | U- block,4th floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-U-H2O-397 | U- block,4th floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-U-H2O-398 | U- block,5th floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-U-H2O-399 | U- block,5th floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-U-H2O-400 | U- block,6th floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-U-H2O-401 | U- block,6th floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-U-H2O-402 | U- block,7th floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-U-H2O-403 | U- block,7th floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-U-H2O-404 | U- block,8th floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-U-H2O-405 | U- block,8th floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-U-H2O-406 | U- block 9th floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-U-H2O-407 | U- block 9th floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-U-H2O-408 | U-block,Lift lobby | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-U-H2O-409 | U-block,Lift lobby | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-U-H2O-410 | Common area | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-U-H2O-411 | U-block,Lift lobby | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-U-H2O-412 | U-block,Lift lobby | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-U-H2O-413 | Common area | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-U-H2O-414 | Common area | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | A.Ramesh 9912223580 | SVR- INFRA
ACZ-FE-CH-H2O-415 | Guest room coridor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SVR- INFRA
ACZ-FE-CH-H2O-416 | Guest room coridor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-CH-H2O-417 | Guest room coridor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-CH-H2O-418 | Guest room coridor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-CH-H2O-419 | 3rd floor lift area | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-CH-H2O-420 | 3rd floor lift area | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-CH-H2O-421 | Inside spa | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-CH-H2O-422 | Inside spa | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-CH-H2O-423 | Out side spa | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-CH-H2O-424 | Out side spa | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-CH-H2O-425 | Opp hobby room | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-CH-H2O-426 | Opp hobby room | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-CH-H2O-427 | Opp home theater | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-CH-H2O-428 | Inside zym | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-CH-H2O-429 | Inside zym | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-CH-H2O-430 | mediatacen room | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-CH-H2O-431 | Infront of indore games | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-CH-H2O-432 | Inside indore games | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-CH-H2O-433 | Multiple hall inside | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-CH-H2O-434 | Multiple hall inside | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-CH-H2O-435 | Multiple hall out side | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-CH-H2O-436 | Multiple hall out side | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-CH-H2O-437 | Lift area | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-CH-H2O-438 | Inside restaurant | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-CH-H2O-439 | Inside restaurant | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-CH-H2O-440 | Inside doctors room | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-CH-H2O-441 | Lift area | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-CH-H2O-442 | Inside doctors room | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-CH-H2O-443 | Inside school | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-CH-H2O-444 | School 1st floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-CH-H2O-445 | School 1st floor | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-CH-H2O-446 | Inside kitchin | H2O | A | RED | NEWTECH | 9 Liters | 3A | 13.21 to 13.32 | 4.21 to 4.32 | 5˚c to 55˚c | 15 bar | 2015 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-M-MF-01 | M-block,4th floor | M-FOAM | A,B | CREAM | NEWTECH | 9 Liters | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | +5˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-M-MF-02 | M-block,4th floor | M-FOAM | A,B | CREAM | NEWTECH | 9 Liters | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | +5˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-L-DCP-01 | L- block,ground floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-L-DCP-02 | L- block,ground floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-L-DCP-03 | L- block,1st floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-L-DCP-04 | L- block,1st floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-L-DCP-05 | L- block,2nd floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-L-DCP-06 | L- block,2nd floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-L-DCP-07 | L- block,3rd floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-L-DCP-08 | L- block,3rd floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-L-DCP-09 | L- block,4th floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-L-DCP-10 | L- block,4th floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-L-DCP-11 | L- block,5th floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-L-DCP-12 | L- block,5th floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-L-DCP-13 | L- block,6th floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-L-DCP-14 | L- block,6th floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-L-DCP-15 | L- block,7th floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-L-DCP-16 | L- block,7th floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-L-DCP-17 | L- block,8th floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-L-DCP-18 | L- block,8th floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-L-DCP-19 | L- block 9th floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-L-DCP-20 | L- block 9th floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-L-DCP-21 | L-block,Lift lobby | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-L-DCP-22 | L-block,Lift lobby | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-M-DCP-23 | M-block,ground floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-M-DCP-24 | M-block,ground floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-M-DCP-25 | M-block,1st floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-M-DCP-26 | M-block,1st floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-M-DCP-27 | M-block,2nd floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-M-DCP-28 | M-block,2nd floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-M-DCP-29 | M-block,3rd floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-M-DCP-30 | M-block,3rd floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-OS-DCP-31 | AB Gas bank | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-OS-DCP-32 | AB Gas bank | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-OS-DCP-33 | E,F Gas bank | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-OS-DCP-34 | E,F Gas bank | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-OS-DCP-35 | G,H Gas bank | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-OS-DCP-36 | I,J Gas bank | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-OS-DCP-37 | I,J Gas bank | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-OS-DCP-38 | L,M Gas bank | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-OS-DCP-39 | L,M Gas bank | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-OS-DCP-40 | O,P Gas bank | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-OS-DCP-41 | O,P Gas bank | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-OS-DCP-42 | Q,R Gas bank | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-OS-DCP-43 | Q,R Gas bank | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-OS-DCP-44 | T,U Gas bank | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-OS-DCP-45 | T,U Gas bank | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA