## FE
Code | Location | TYPE OF EXTINGUISHER | SUITABLE FOR CLASSES OF FIRE | COLOR CODE | MAKE | CAPACITY (KGS.) | FIRE RATING | GROSS WEIGHT (KGS.) | EMPTY WEIGHT (KGS.) | SUITABLE FOR USE AT TEMEPERATURE FROM | HY. TESTED TO | DATE OF MFG. | MANUFATURER NAME | MANUFATURER CONTACT | MANUFATURER ADDRESS
ACZ-FE-M-MF-01 | M-block,4th floor | M-FOAM | A,B | CREAM | NEWTECH | 9 Liters | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | +5˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-M-MF-02 | M-block,4th floor | M-FOAM | A,B | CREAM | NEWTECH | 9 Liters | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | +5˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-L-DCP-01 | L- block,ground floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-L-DCP-02 | L- block,ground floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-L-DCP-03 | L- block,1st floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-L-DCP-04 | L- block,1st floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-L-DCP-05 | L- block,2nd floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-L-DCP-06 | L- block,2nd floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-L-DCP-07 | L- block,3rd floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-L-DCP-08 | L- block,3rd floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-L-DCP-09 | L- block,4th floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-L-DCP-10 | L- block,4th floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-L-DCP-11 | L- block,5th floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-L-DCP-12 | L- block,5th floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-L-DCP-13 | L- block,6th floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-L-DCP-14 | L- block,6th floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-L-DCP-15 | L- block,7th floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-L-DCP-16 | L- block,7th floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-L-DCP-17 | L- block,8th floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-L-DCP-18 | L- block,8th floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-L-DCP-19 | L- block 9th floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-L-DCP-20 | L- block 9th floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-L-DCP-21 | L-block,Lift lobby | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-L-DCP-22 | L-block,Lift lobby | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-M-DCP-23 | M-block,ground floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-M-DCP-24 | M-block,ground floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-M-DCP-25 | M-block,1st floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-M-DCP-26 | M-block,1st floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-M-DCP-27 | M-block,2nd floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-M-DCP-28 | M-block,2nd floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-M-DCP-29 | M-block,3rd floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-M-DCP-30 | M-block,3rd floor | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.29 | 4.17 to 4.29 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-OS-DCP-31 | O-block,PCC Room | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.30 | 4.17 to 4.30 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456195 | SS-INFRA
ACZ-FE-OS-DCP-32 | K-block,PCC Room | DCP | A,B,C | BLUE | NEWTECH | 9KG | 4A 34B | 13.17 TO 13.31 | 4.17 to 4.31 | - 30˚c to + 55˚c | 15 bar | 2016 | DEEPAK FIRE ENGINEERING WORK | N.SAMPATH KUMAR,939456196 | SS-INFRA
ACZ-FE-OS-ABC-01 | ABC&D Gas bank | DCP | A,B,C | BLUE | KANEX | 4KG | 2A:21B | 6.8 | 2.8 | - 30˚c to + 55˚c | 35 bar | 2016 | KANADIA FYR FYTER PVT.LTD. | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-OS-ABC-02 | ABC&D Gas bank | DCP | A,B,C | BLUE | KANEX | 4KG | 2A:21B | 6.8 | 2.8 | - 30˚c to + 55˚c | 35 bar | 2016 | KANADIA FYR FYTER PVT.LTD. | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-OS-ABC-03 | E,F Gas bank | DCP | A,B,C | BLUE | KANEX | 4KG | 2A:21B | 6.8 | 2.8 | - 30˚c to + 55˚c | 35 bar | 2016 | KANADIA FYR FYTER PVT.LTD. | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-OS-ABC-04 | E,F Gas bank | DCP | A,B,C | BLUE | KANEX | 4KG | 2A:21B | 6.8 | 2.8 | - 30˚c to + 55˚c | 35 bar | 2016 | KANADIA FYR FYTER PVT.LTD. | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-OS-ABC-05 | G,H Gas bank | DCP | A,B,C | BLUE | KANEX | 4KG | 2A:21B | 6.8 | 2.8 | - 30˚c to + 55˚c | 35 bar | 2016 | KANADIA FYR FYTER PVT.LTD. | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-OS-ABC-06 | G,H Gas bank | DCP | A,B,C | BLUE | KANEX | 4KG | 2A:21B | 6.8 | 2.8 | - 30˚c to + 55˚c | 35 bar | 2016 | KANADIA FYR FYTER PVT.LTD. | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-OS-ABC-07 | I,J &K Gas bank | DCP | A,B,C | BLUE | KANEX | 4KG | 2A:21B | 6.8 | 2.8 | - 30˚c to + 55˚c | 35 bar | 2016 | KANADIA FYR FYTER PVT.LTD. | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-OS-ABC-08 | I,J &K Gas bank | DCP | A,B,C | BLUE | KANEX | 4KG | 2A:21B | 6.8 | 2.8 | - 30˚c to + 55˚c | 35 bar | 2016 | KANADIA FYR FYTER PVT.LTD. | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-OS-ABC-09 | L,M&N Gas bank | DCP | A,B,C | BLUE | KANEX | 4KG | 2A:21B | 6.8 | 2.8 | - 30˚c to + 55˚c | 35 bar | 2016 | KANADIA FYR FYTER PVT.LTD. | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-OS-ABC-10 | L,M&N Gas bank | DCP | A,B,C | BLUE | KANEX | 4KG | 2A:21B | 6.8 | 2.8 | - 30˚c to + 55˚c | 35 bar | 2016 | KANADIA FYR FYTER PVT.LTD. | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-OS-ABC-11 | O,P Gas bank | DCP | A,B,C | BLUE | KANEX | 4KG | 2A:21B | 6.8 | 2.8 | - 30˚c to + 55˚c | 35 bar | 2016 | KANADIA FYR FYTER PVT.LTD. | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-OS-ABC-12 | O,P Gas bank | DCP | A,B,C | BLUE | KANEX | 4KG | 2A:21B | 6.8 | 2.8 | - 30˚c to + 55˚c | 35 bar | 2016 | KANADIA FYR FYTER PVT.LTD. | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-OS-ABC-13 | Q,R&S Gas bank | DCP | A,B,C | BLUE | KANEX | 4KG | 2A:21B | 6.8 | 2.8 | - 30˚c to + 55˚c | 35 bar | 2016 | KANADIA FYR FYTER PVT.LTD. | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-OS-ABC-14 | Q,R&S Gas bank | DCP | A,B,C | BLUE | KANEX | 4KG | 2A:21B | 6.8 | 2.8 | - 30˚c to + 55˚c | 35 bar | 2016 | KANADIA FYR FYTER PVT.LTD. | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-OS-ABC-15 | T,U Gas bank | DCP | A,B,C | BLUE | KANEX | 4KG | 2A:21B | 6.8 | 2.8 | - 30˚c to + 55˚c | 35 bar | 2016 | KANADIA FYR FYTER PVT.LTD. | N.SAMPATH KUMAR,939456194 | SS-INFRA
ACZ-FE-OS-ABC-16 | T,U Gas bank | DCP | A,B,C | BLUE | KANEX | 4KG | 2A:21B | 6.8 | 2.8 | - 30˚c to + 55˚c | 35 bar | 2016 | KANADIA FYR FYTER PVT.LTD. | N.SAMPATH KUMAR,939456195 | SS-INFRA