## Sheet1
Category | Sub Category | Item Name | Item Desc | UOM | Item Code | Browse
Electrical | Metal Box | Outdoor enclosure | Outdoor enclosure | NOS | 100900G
Electrical | Metal Box | Modular metal box | Modular metal box 8 module, 1.0mm Thk. | NOS | 100992G
Electrical | Metal Box | MS Box | M.S Box, powder coated | NOS | 100999G
Electrical | Metal Box | Modular metal box | Modular metal box 1-2 module, 1.0mm Thk. | NOS | 101038G
Electrical | Metal Box | Modular metal box | Modular metal box 3 module, 1.0mm Thk. | NOS | 101039G
Electrical | Metal Box | Modular metal box | Modular metal box 4 module, 1.0mm Thk. | NOS | 101040G
Electrical | Metal Box | Modular metal box | Modular metal box 6-8 module | NOS | 101041G
Electrical | Metal Box | Modular metal box | Modular metal box 12 module, 1.0mm Thk. | NOS | 101043G
ELECTRICAL | CABLE & WIRE | Cable connector | Cable connector | NOS | 104443G
ELECTRICAL | CABLE & WIRE | Cable Termination kit | Cable Termination kit - Out Door Type, Heart Shrinkable | NOS | 110924G
ELECTRICAL | CABLE & WIRE | Cat 5 cable | Cat 5 cable | MTR | 100904G
ELECTRICAL | CABLE & WIRE | Cat 6 cable | Cat 6 cable | MTR | 100905G
ELECTRICAL | CABLE & WIRE | Coaxial Cable | Coaxial Cable RG 6 | MTR | 100713G
ELECTRICAL | CABLE & WIRE | Copper Armoured Cable | Copper Armoured Cable 2 core x 1.5 sq.mm | MTR | 100645G
ELECTRICAL | CABLE & WIRE | Copper Armoured Cable | Copper Armoured Cable 3 core x 2.5 sq.mm | MTR | 100649G
ELECTRICAL | CABLE & WIRE | Copper Armoured Cable | Copper Armoured Cable 3 core x 4 sq.mm | MTR | 100650G
ELECTRICAL | CABLE & WIRE | Copper Armoured Cable | Copper Armoured Cable 4 core x 1.5 sq.mm | MTR | 100674G
ELECTRICAL | CABLE & WIRE | Copper Armoured Cable | Copper Armoured Cable 4 core x 2.5 sq.mm | MTR | 100675G
ELECTRICAL | CABLE & WIRE | Copper Armoured Cable | Copper Armoured Cable 4 core x 10 sq.mm | MTR | 107409G
ELECTRICAL | CABLE & WIRE | Copper Armoured Cable | Copper Armoured Cable 2 core x 2.5 sq.mm | MTR | 107528G
ELECTRICAL | CABLE & WIRE | Copper Cable | Copper Cable 35 Sq mm for Welding Machine | MTR | 106527G
ELECTRICAL | CABLE & WIRE | Copper flat cable | Copper flat cable 3 core x 2.5 sq.mm | MTR | 106963G
ELECTRICAL | CABLE & WIRE | Copper Flexible Cable | Copper flexible cable 2 core x 1.5 sq.mm | MTR | 100642G
ELECTRICAL | CABLE & WIRE | Copper Flexible Cable | Copper Flexible 2 core x 2.5 sq.mm | MTR | 100643G
ELECTRICAL | CABLE & WIRE | Copper Flexible Cable | Copper Flexible Cable 3 Core x 1.5 sq.mm, Sleeve Colour: Black | MTR | 100653G
ELECTRICAL | CABLE & WIRE | Copper Flexible Cable | Copper flexible cable 3 core x 2.5 sq.mm | MTR | 100654G
ELECTRICAL | CABLE & WIRE | Copper Flexible Cable | Copper flexible cable 3 core x 6.0 sq.mm | MTR | 100656G
ELECTRICAL | CABLE & WIRE | Copper Flexible Cable | Copper flexible cable 4 core x 1.5 sq.mm | MTR | 100679G
ELECTRICAL | CABLE & WIRE | Copper Flexible Cable | Copper Flexible 4 core x 2.5 sq.mm | MTR | 100680G
ELECTRICAL | CABLE & WIRE | Copper Flexible Cable | Copper flexible cable 4core x 4 sq.mm | MTR | 100682G
ELECTRICAL | CABLE & WIRE | Copper Flexible Cable | Copper flexible cable 4 core x 25sq.mm | MTR | 100723G
ELECTRICAL | CABLE & WIRE | Copper Flexible Cable | Copper flexible cable 3 core x 4sq.mm | MTR | 100725G
ELECTRICAL | CABLE & WIRE | Copper Flexible Flat Submersible Cable | Copper flexible flat submersible cable 4 sq.mmx3 core | MTR | 100707G
ELECTRICAL | CABLE & WIRE | Copper Flexible Flat Submersible Cable | Copper flexible flat submersible cable 2.5 sq.mm | MTR | 100708G
ELECTRICAL | CABLE & WIRE | Copper Flexible Wire | Copper Flexible Wire 1 sq.mm - Red | MTR | 100907G
ELECTRICAL | CABLE & WIRE | Copper Flexible Wire | Copper Flexible Wire 1.5 sq.mm-Red | MTR | 100908G
ELECTRICAL | CABLE & WIRE | Copper Flexible Wire | Copper Flexible Wire 2.5 sq.mm-Red | MTR | 100909G
ELECTRICAL | CABLE & WIRE | Copper Flexible Wire | Copper Flexible Wire 4 sq.mm-Red | MTR | 100910G
ELECTRICAL | CABLE & WIRE | Copper Flexible Wire | Copper Flexible Wire 6 sq.mm-Red | MTR | 100911G
ELECTRICAL | CABLE & WIRE | Copper Flexible Wire | Copper Flexible Wire 1 sq.mm - Yellow | MTR | 104158G
ELECTRICAL | CABLE & WIRE | Copper Flexible Wire | Copper Flexible Wire 1 sq.mm - Black | MTR | 104160G
ELECTRICAL | CABLE & WIRE | Copper Flexible Wire | Copper Flexible Wire 1.5 sq.mm-Black | MTR | 104164G
ELECTRICAL | CABLE & WIRE | Copper Flexible Wire | Copper Flexible Wire 10 sq.mm-Black | MTR | 104168G
ELECTRICAL | CABLE & WIRE | Copper Flexible Wire | Copper Flexible Wire 10 sq.mm-Blue | MTR | 104169G
ELECTRICAL | CABLE & WIRE | Copper Flexible Wire | Copper Flexible Wire 2.5 sq.mm-Yellow | MTR | 104170G
ELECTRICAL | CABLE & WIRE | Copper Flexible Wire | Copper Flexible Wire 2.5 sq.mm-Green | MTR | 104171G
ELECTRICAL | CABLE & WIRE | Copper Flexible Wire | Copper Flexible Wire 2.5 sq.mm-Black | MTR | 104172G
ELECTRICAL | CABLE & WIRE | Copper Flexible Wire | Copper Flexible Wire 2.5 sq.mm-Blue | MTR | 104173G
ELECTRICAL | CABLE & WIRE | Copper Flexible Wire | Copper Flexible Wire 4 sq.mm-Yellow | MTR | 104174G
ELECTRICAL | CABLE & WIRE | Copper Flexible Wire | Copper Flexible Wire 4 sq.mm-Green | MTR | 104175G
ELECTRICAL | CABLE & WIRE | Copper Flexible Wire | Copper Flexible Wire 4 sq.mm-Black | MTR | 104176G
ELECTRICAL | CABLE & WIRE | Copper Flexible Wire | Copper Flexible Wire 6 sq.mm-Yellow | MTR | 104178G
ELECTRICAL | CABLE & WIRE | Copper Flexible Wire | Copper Flexible Wire 6 sq.mm-Black | MTR | 104180G
ELECTRICAL | CABLE & WIRE | Copper Flexible Wire | Copper Flexible Wire 6 sq.mm-Blue | MTR | 104181G
ELECTRICAL | CABLE & WIRE | Data Cable | Data cable 2 core shielded | MTR | 100724G
ELECTRICAL | CABLE & WIRE | Solar Fencing Cable | Solar Fencing Cable - Double insulated, 1 core x 2.5 Sq mm, Model: ALSS101 | MTR | 102115G
ELECTRICAL | ELECTRICAL-OTHERS | Aluminium Lugs | Aluminium lugs 300 sq.mm Ring Type | NOS | 100737G
ELECTRICAL | ELECTRICAL-OTHERS | Aluminium Lugs | Aluminium lugs 185 sq.mm Ring Type | NOS | 100740G
ELECTRICAL | ELECTRICAL-OTHERS | Angle holders | Angle holders | NOS | 100744G
ELECTRICAL | ELECTRICAL-OTHERS | Automatic Switch ON/OFF | Lighting system - Automatic Switch ON/OFF | NOS | 106916G
ELECTRICAL | ELECTRICAL-OTHERS | Batten holders | Batten holders | NOS | 100746G
ELECTRICAL | ELECTRICAL-OTHERS | Battery | Battery 12V | NOS | 101971G
ELECTRICAL | ELECTRICAL-OTHERS | Battery | Battery 65AH, 12V for UPS | NOS | 106681G
ELECTRICAL | ELECTRICAL-OTHERS | Battery | Battery 8V | NOS | 106925G
ELECTRICAL | ELECTRICAL-OTHERS | Battery | Battery 12V - 18 AH | NOS | 111520G
ELECTRICAL | ELECTRICAL-OTHERS | Battery | Battery 12V - 26AH | NOS | 111521G
ELECTRICAL | ELECTRICAL-OTHERS | Battery | Battery 12V - 80 AH | NOS | 111522G
ELECTRICAL | ELECTRICAL-OTHERS | Battery | Battery 12V - 2.5 AH | NOS | 111523G
ELECTRICAL | ELECTRICAL-OTHERS | Battery | Battery 12V - 7 AH | NOS | 111524G
ELECTRICAL | ELECTRICAL-OTHERS | Battery | Battery -Tester | NOS | 111525G
ELECTRICAL | ELECTRICAL-OTHERS | Battery charger | Battery charger | SET | 101967G
ELECTRICAL | ELECTRICAL-OTHERS | Cable ties | Cable ties 150 mm | NOS | 100748G
ELECTRICAL | ELECTRICAL-OTHERS | Cable ties | Cable ties 300mm | NOS | 107760G
ELECTRICAL | ELECTRICAL-OTHERS | Capacitor | Capacitor 2.25 MFD | NOS | 100749G
ELECTRICAL | ELECTRICAL-OTHERS | Capacitor | Capacitor (33 MFD, 240V) | NOS | 104449G
ELECTRICAL | ELECTRICAL-OTHERS | Capacitor | Capacitor 12.5 MFD | NOS | 104576G
ELECTRICAL | ELECTRICAL-OTHERS | Capacitor | Capacitor 10KVAR | NOS | 106053G
ELECTRICAL | ELECTRICAL-OTHERS | Clamp Meter | Clamp meter digital | NOS | 100756G
ELECTRICAL | ELECTRICAL-OTHERS | Copper Lugs | Copper Lugs 35 Sqmm Ring Type | NOS | 104193G
ELECTRICAL | ELECTRICAL-OTHERS | Copper Lugs | Copper Lugs 10 Sqmm Ring Type | NOS | 104197G
ELECTRICAL | ELECTRICAL-OTHERS | Copper Lugs | Copper Lugs 25 Sqmm Ring Type | NOS | 105140G
ELECTRICAL | ELECTRICAL-OTHERS | Copper Lugs | Copper Lugs 50Sqmm Ring Type | NOS | 105141G
ELECTRICAL | ELECTRICAL-OTHERS | Copper pipe | Copper pipe | MTR | 100886G
ELECTRICAL | ELECTRICAL-OTHERS | Earth Resistant Testing Equipment | Earth Resistant Testing Equipment-Digital Type | NOS | 104609G
ELECTRICAL | ELECTRICAL-OTHERS | Electronic transformer | Electronic transformer | NOS | 105220G
ELECTRICAL | ELECTRICAL-OTHERS | Energy meter | Energy meter | NOS | 100817G
ELECTRICAL | ELECTRICAL-OTHERS | Energy meter | Energy meter - Prepaid - Dual source - 3 phase | NOS | 101003G
ELECTRICAL | ELECTRICAL-OTHERS | Energy meter | Energy meter - Display unit - Remote type | NOS | 101008G
ELECTRICAL | ELECTRICAL-OTHERS | Energy Meter | Energy meter - Ethernet convertor, single channel | NOS | 105860G
ELECTRICAL | ELECTRICAL-OTHERS | Gland | Gland AKM-25, single ended | NOS | 100757G
ELECTRICAL | ELECTRICAL-OTHERS | HRC Fuse | HRC Fuse, 100 Amps | NOS | 109225G
ELECTRICAL | ELECTRICAL-OTHERS | HRC Fuse Link | HRC Fuse Link | NOS | 100785G
ELECTRICAL | ELECTRICAL-OTHERS | Insulation tape | Insulation tape | NOS | 100750G
ELECTRICAL | ELECTRICAL-OTHERS | Inverter card | Inverter card for 3KVA UPS | NOS | 111814G
ELECTRICAL | ELECTRICAL-OTHERS | LV HRC - Fuse | LV HRC - Fuse, 400A | NOS | 105080G
ELECTRICAL | ELECTRICAL-OTHERS | LV HRC - Fuse | LV HRC - Fuse, 250A | NOS | 105081G
ELECTRICAL | ELECTRICAL-OTHERS | Overload Relay | Overload relay, range 6.3A to 10A | NOS | 105145G
ELECTRICAL | ELECTRICAL-OTHERS | Pendant Holder | Pendant holder 6 amps | NOS | 100752G
ELECTRICAL | ELECTRICAL-OTHERS | PVC Gatties | PVC Gatties | NOS | 108967G
ELECTRICAL | ELECTRICAL-OTHERS | SMPS | SMPS for battery charging | NOS | 105139G
ELECTRICAL | ELECTRICAL-OTHERS | Soft Starter | Soft Starter for STP Blower, Model no - ATS48D47Q, Schneider | NOS | 106645G
ELECTRICAL | ELECTRICAL-OTHERS | Spring Charge Motor | Spring Charge Motor for 630A DG Breaker Panel | NOS | 111012G
ELECTRICAL | ELECTRICAL-OTHERS | Starter | Starter 25A | NOS | 100753G
ELECTRICAL | ELECTRICAL-OTHERS | Starter | Starter for tubelight | NOS | 100754G
ELECTRICAL | ELECTRICAL-OTHERS | Starter | Starter for pump/motor | NOS | 100768G
ELECTRICAL | ELECTRICAL-OTHERS | Step Down Transformer | Step down transformer 1.2KVA, 50-60Hz | NOS | 104883G
ELECTRICAL | ELECTRICAL-OTHERS | Step Down Transformer | Step-down transformer 1KVA | NOS | 105144G
ELECTRICAL | ELECTRICAL-OTHERS | Tap off box | Tap off box 63A 10kA | NOS | 100861G
ELECTRICAL | ELECTRICAL-OTHERS | Timer | Timer | NOS | 105219G
ELECTRICAL | ELECTRICAL-OTHERS | Transformer Fuse | Transformer Fuse | NOS | 105248G
ELECTRICAL | ELECTRICAL-OTHERS | UPS | UPS 1 KVA, 1 phase | NOS | 101975G
ELECTRICAL | ELECTRICAL-OTHERS | UPS | UPS 2 KVA, 1 phase | NOS | 105327G
ELECTRICAL | ELECTRICAL-OTHERS | UPS | UPS 10 KVA, 3 phase | NOS | 105412G
ELECTRICAL | ELECTRICAL-OTHERS | UPS | UPS 600VA, 1 phase | NOS | 106036G
ELECTRICAL | ELECTRICAL-OTHERS | UPS | UPS 800VA, 1 Phase | NOS | 108656G
ELECTRICAL | ELECTRICAL-OTHERS | UPS | UPS 3KVA, 1 phase | NOS | 108848G
ELECTRICAL | LIGHTS & | Celling mount Light | Light fitting, Celling mount Light 15w LED Model:SSK-SDC15-WHT, Make: SYSKA | NOS | 107010G
ELECTRICAL | LIGHTS & | 4 way wall Light | Light fitting - Out door 4 way wall Light | NOS | 106821G
ELECTRICAL | LIGHTS & | Ballast | Ballast 150Watts | NOS | 100745G
ELECTRICAL | LIGHTS & | Ballast | Ballast 400 Watts | NOS | 104573G
ELECTRICAL | LIGHTS & | Ballast | Ballast 250 Watts | NOS | 104574G
ELECTRICAL | LIGHTS & | Ballast | Ballast 70 Watts | NOS | 104575G
ELECTRICAL | LIGHTS & | Bollard light fitting | Light fitting, Landscaping, Bollard light fitting,16w, Model:5566, K- Lite | NOS | 106699G
ELECTRICAL | LIGHTS & | Bollard light fitting | Light fitting, Landscaping, Bollard-I light fitting,18w, Model:5567, K -Lite | NOS | 106700G
ELECTRICAL | LIGHTS & | Bollard light fitting | Light fitting, Landscaping, Bollard light fitting, 8W, Model: 5568, K: Lite | NOS | 108437G
ELECTRICAL | LIGHTS & | Bollard stud light fitting | Light fitting, Landscaping, Bollard stud light fitting, 16w LED, Model:5563, Make: K- Lite | NOS | 107690G
ELECTRICAL | LIGHTS & | Bulb | Bulb 60 W | NOS | 100747G
ELECTRICAL | LIGHTS & | Bulb | Bulb 100W | NOS | 100763G
ELECTRICAL | LIGHTS & | Burried up light fitting | Light fitting, Landscaping, Burried up light fitting, 7x1w LED, Model:7055, Make: K -Lite | NOS | 107675G
ELECTRICAL | LIGHTS & | Celing Light-Recess Mount | Light fitting, Celing Light, Recess Mount, 10W LED | NOS | 106904G
ELECTRICAL | LIGHTS & | Celing Light-Recess Mount | Light fitting, Celing Light, Recess Mount, 7W LED | NOS | 106905G
ELECTRICAL | LIGHTS & | Celing Light-Recess Mount | Light fitting, Celing Light, Recess Mount, 8W LED | NOS | 106914G
ELECTRICAL | LIGHTS & | Celing Light-Recess Mount | Light Fitting, Celing Light, Recess Mount, 12W LED | NOS | 107108G
ELECTRICAL | LIGHTS & | Celing Light-Recess Mount | Light fitting, Celing Light, Recess Mount,15W LED | NOS | 107523G
ELECTRICAL | LIGHTS & | Celing Light-Recess Mount | Light fitting, Celing Light, Recess Mount, 3W LED | NOS | 107524G
ELECTRICAL | LIGHTS & | Celing Light-Recess Mount | Light Fitting, Celing Light, Recess Mount, 20W LED | NOS | 107984G
ELECTRICAL | LIGHTS & | Celing Light-Surface Mount | Light fitting, Celing Light, Surface Mount, 12W LED | NOS | 107000G
ELECTRICAL | LIGHTS & | Celing Light-Surface Mount | Light fitting, Celing Light, Surface Mount, 15W LED | NOS | 108522G
ELECTRICAL | LIGHTS & | CFL | Light fitting, CFL, 2x11w, Model: TLD211EB, Make: CG. | NOS | 105575G
ELECTRICAL | LIGHTS & | CFL Bulb | CFL bulb 11 W | NOS | 100787G
ELECTRICAL | LIGHTS & | CFL Bulb | CFL lamp, 23W | NOS | 105222G
ELECTRICAL | LIGHTS & | CFL Bulb | CFL bulb 10W | NOS | 105156G
ELECTRICAL | LIGHTS & | CFL Bulb | CFL lamp 8W | NOS | 105158G
ELECTRICAL | LIGHTS & | CFL lamp | CFL lamp 9W | NOS | 100969G
ELECTRICAL | LIGHTS & | CFL lamp | CFL lamp 18 W | NOS | 100970G
ELECTRICAL | LIGHTS & | CFL lamp | CFL lamp 36W | NOS | 102952G
ELECTRICAL | LIGHTS & | CFL lamp | CFL lamp 11W | NOS | 102958G
ELECTRICAL | LIGHTS & | CFL lamp | CFL lamp 20 W | NOS | 104100G
ELECTRICAL | LIGHTS & | CFL lamp | CFL lamp 15 W | NOS | 104101G
ELECTRICAL | LIGHTS & | CFL lamp | CFL lamp 10W | NOS | 104983G
ELECTRICAL | LIGHTS & | CFL lamp | CFL lamp 12W | NOS | 108622G
ELECTRICAL | LIGHTS & | CFL lamp | LED Lamp 5 W | NOS | 108826G
ELECTRICAL | LIGHTS & | Choke | Choke for CFL fitting, 11W | NOS | 105159G
ELECTRICAL | LIGHTS & | Choke | Choke for 6W Led light | NOS | 105160G
ELECTRICAL | LIGHTS & | Choke | Choke for 70W light | NOS | 102962G
ELECTRICAL | LIGHTS & | Choke | Choke for 40W tube light | NOS | 102963G
ELECTRICAL | LIGHTS & | Choke | Choke for CFL fitting, 18W | NOS | 102964G
ELECTRICAL | LIGHTS & | Choke | Choke for CFL fitting, 13W | NOS | 108304G
ELECTRICAL | LIGHTS & | Choke | Choke for 36W tube light | NOS | 100968G
ELECTRICAL | LIGHTS & | Down Light | Light fitting, Down Light 11w LED, Model:SSK-SDC11-WHT, Make: SYSKA | NOS | 107753G
ELECTRICAL | LIGHTS & | Driver | Driver for LED light | NOS | 102979G
ELECTRICAL | LIGHTS & | Driver for LED Light | Driver for LED Light - 12W | NOS | 111061G
ELECTRICAL | LIGHTS & | Driver for LED Light | Driver for LED Light - 15W | NOS | 111062G
ELECTRICAL | LIGHTS & | Driver for LED Light | Driver for LED Light - 41W | NOS | 111063G
ELECTRICAL | LIGHTS & | Driver for LED Light | Driver for LED Light - 8W | NOS | 111064G
ELECTRICAL | LIGHTS & | Driver for LED Light | Driver for LED Light - 16W | NOS | 111065G
ELECTRICAL | LIGHTS & | Driver for LED Light | Driver for LED Light - 6W | NOS | 111066G
ELECTRICAL | LIGHTS & | Driver for LED Light | Driver for LED Light - 38W | NOS | 111067G
ELECTRICAL | LIGHTS & | Driver for LED Light | Driver for LED Light - 60W | NOS | 111388G
ELECTRICAL | LIGHTS & | Foot light | Foot light | NOS | 101055G
ELECTRICAL | LIGHTS & | Gate light | Light fitting, Gate light, 12W LED | NOS | 106968G
ELECTRICAL | LIGHTS & | Halogen Lamp | Halogen lamp 50w | NOS | 105223G
ELECTRICAL | LIGHTS & | Halogen lamps | Halogen lamps 500W | NOS | 102971G
ELECTRICAL | LIGHTS & | Halogen light fittings | Halogen light fittings 1000W | NOS | 102975G
ELECTRICAL | LIGHTS & | Halogen light fittings | Halogen light fittings 500W | NOS | 102981G
ELECTRICAL | LIGHTS & | Holder | Holder for Bulk head fitting | NOS | 106595G
ELECTRICAL | LIGHTS & | Ignitor | Ignitor | NOS | 102982G
ELECTRICAL | LIGHTS & | Indicator lamp | Indicator lamp | NOS | 105157G
ELECTRICAL | LIGHTS & | Lamp | Lamp 250W | NOS | 102953G
ELECTRICAL | LIGHTS & | Lamp | Lamp 40W | NOS | 102956G
ELECTRICAL | LIGHTS & | Lamp | Lamp 150W | NOS | 102976G
ELECTRICAL | LIGHTS & | Lamp for false ceiling lights | Lamp for false ceiling lights | NOS | 100062G
ELECTRICAL | LIGHTS & | Landscaping Lights | Lamp for landscaping lights | NOS | 102986G
ELECTRICAL | LIGHTS & | LED Lamp | LED Lamp 26W | NOS | 110938G
ELECTRICAL | LIGHTS & | LED light | LED light | NOS | 102980G
ELECTRICAL | LIGHTS & | LED strip light | LED strip light | MTR | 100061G
ELECTRICAL | LIGHTS & | Light fitting | Light fitting - Tubelights | NOS | 102987G
ELECTRICAL | LIGHTS & | Light fitting | Light fitting - Flood light | NOS | 102989G
ELECTRICAL | LIGHTS & | Light fitting | Light fitting | NOS | 102991G
ELECTRICAL | LIGHTS & | Mercury lamp | Mercury lamp 70 W | NOS | 102995G
ELECTRICAL | LIGHTS & | Metal halide choke | Metal halide choke 400W | NOS | 103003G
ELECTRICAL | LIGHTS & | Metal halide choke | Metal halide choke 250W | NOS | 103005G
ELECTRICAL | LIGHTS & | Metal halide choke | Metal halide choke 150W | NOS | 103006G
ELECTRICAL | LIGHTS & | Metal halide fitting | Metal halide fitting of 250 w | NOS | 103002G
ELECTRICAL | LIGHTS & | Metal halide lamp | Metal halide lamp 400W | NOS | 103007G
ELECTRICAL | LIGHTS & | Metal halide lamp | Metal halide lamp 150W | NOS | 103008G
ELECTRICAL | LIGHTS & | Metal halide lamp | Metal halide lamp 250W | NOS | 103009G
ELECTRICAL | LIGHTS & | Metal halide lamp | Metal halide lamp 70W | NOS | 103010G
ELECTRICAL | LIGHTS & | Metal halide lamp | Metal halide fitting 400W | NOS | 103013G
ELECTRICAL | LIGHTS & | Metal halide lamp | Metal halide lamp 150W, CDO-TT, Make: Philips | NOS | 106799G
ELECTRICAL | LIGHTS & | Outdoor Planter Light | Light fitting, outdoor planter light 12V/50W RL42 | NOS | 104595G
ELECTRICAL | LIGHTS & | Panel Indicator Lamp | Panel Indicator Lamp - RED | NOS | 111259G
ELECTRICAL | LIGHTS & | Panel Indicator Lamp | Panel Indicator Lamp - YELLOW | NOS | 111260G
ELECTRICAL | LIGHTS & | Panel Indicator Lamp | Panel Indicator Lamp - BLUE | NOS | 111261G
ELECTRICAL | LIGHTS & | Panel Indicator Lamp | Panel Indicator Lamp - GREEN | NOS | 111262G
ELECTRICAL | LIGHTS & | Panel Indicator Lamp | Panel Indicator Lamp - WHITE | NOS | 111263G
ELECTRICAL | LIGHTS & | Recessed ceiling light | Light fitting, Recessed ceiling light, 12W LED, Model: Matrix, Make: HPL | NOS | 107238G
ELECTRICAL | LIGHTS & | Revolving Search Light | Revolving Search Light with Remote Control | NOS | 105759G
ELECTRICAL | LIGHTS & | Side Holder | Side holder for tubelight | NOS | 103017G
ELECTRICAL | LIGHTS & | Street Lighting | Light fitting, Street Lighting, 44w LED light fitting, Model:SL1248-44-XXXXK, Ligman | NOS | 106708G
ELECTRICAL | LIGHTS & | Street Lighting | Light fitting, Street Lighting, 40w LED light fitting, Model: Teceo 1, Make: Schreder | NOS | 107671G
ELECTRICAL | LIGHTS & | Swimming pool light fitting | Lamp for Swimming pool light fitting 300w, Make: Astral Spain | NOS | 106770G
ELECTRICAL | LIGHTS & | Swimming pool light fitting | Lamp for Swimming pool light fitting 50w, Make: Astral Spain | NOS | 106771G
ELECTRICAL | LIGHTS & | Torch light | Torch light LED - Rechargeable Type | NOS | 102985G
ELECTRICAL | LIGHTS & | Tube Light | Tube Light 40w | NOS | 103015G
ELECTRICAL | LIGHTS & | Tube Light | Tubelight 36w fitting | NOS | 103019G
ELECTRICAL | LIGHTS & | Tube Light | Tubelight 36 W | NOS | 103020G
ELECTRICAL | LIGHTS & | Tube Light | Tube light fitting T5, 14W, 2 feet length | NOS | 104828G
ELECTRICAL | LIGHTS & | Tube Light | Light fitting, 2 feet tube Light 12W LED, Model: SSK-T5, Make: SYSKA | NOS | 107011G
ELECTRICAL | LIGHTS & | Tube Light | Light fitting, 4 feet tube Light 22W LED, Model: SSK-T5, Make: SYSKA | NOS | 107012G
ELECTRICAL | LIGHTS & | Tube Light | Light fitting, 2 feet tube light 9W LED, Model: Astra Line, Make: Philips | NOS | 109417G
ELECTRICAL | LIGHTS & | Tube Light | Light fitting, 4 feet tube light 18W LED, Model: Astra Line, Make: Philips | NOS | 109419G
ELECTRICAL | LIGHTS & | Tube Light Fitting | Tube light fitting T5, 28W, 4 feet length | NOS | 104882G
ELECTRICAL | LIGHTS & | Tube Light Lamp | Tube Light Lamp 28W 4' Length, T5 | NOS | 105543G
ELECTRICAL | LIGHTS & | Tube Light Lamp | Tube Light Lamp 14W 2' Length, T5 | NOS | 105544G
ELECTRICAL | LIGHTS & | Up Down light | Light fitting, Landscaping, Up Down light, LED 6w, Model: 7900, Make: K- Lite | NOS | 107691G
ELECTRICAL | LIGHTS & | Wall Light | Light fitting, Wall Light 6W LED, Model: ODL-0-0246, Make: EGLO | NOS | 107158G
ELECTRICAL | SWITCHES & SCOKETS | Bell Push | Bell Push -6A - One Way - SP - 1 Module | NOS | 101062G
ELECTRICAL | SWITCHES & SCOKETS | Float switch | Float switch for water level sensor | NOS | 100626G
ELECTRICAL | SWITCHES & SCOKETS | Front modular plate | Front plate 1 modular | NOS | 101046G
ELECTRICAL | SWITCHES & SCOKETS | Front modular plate | Front plate 2 modular | NOS | 101047G
ELECTRICAL | SWITCHES & SCOKETS | Front modular plate | Front plate 3 modular | NOS | 101048G
ELECTRICAL | SWITCHES & SCOKETS | Front modular plate | Front plate 4 modular | NOS | 101049G
ELECTRICAL | SWITCHES & SCOKETS | Front modular plate | Front plate 6 modular | NOS | 101051G
ELECTRICAL | SWITCHES & SCOKETS | Front modular plate | Front plate 8 modular | NOS | 101052G
ELECTRICAL | SWITCHES & SCOKETS | Indicator switches | Indicator switches | NOS | 101066G
ELECTRICAL | SWITCHES & SCOKETS | Plug top | Plug top 2 pin | NOS | 101073G
ELECTRICAL | SWITCHES & SCOKETS | Plug top | Plug top 3 pin | NOS | 101074G
ELECTRICAL | SWITCHES & SCOKETS | Push button | Push button | NOS | 101075G
ELECTRICAL | SWITCHES & SCOKETS | RJ 45 Computer Jack | RJ 45 Computer Jack | NOS | 101102G
ELECTRICAL | SWITCHES & SCOKETS | RJ 45 connector | RJ 45 connector | NOS | 101104G
ELECTRICAL | SWITCHES & SCOKETS | Round Plate sheet | Round Plate sheet | NOS | 100868G
ELECTRICAL | SWITCHES & SCOKETS | Single Phase Preventor | Single Phase Preventor | NOS | 100869G
ELECTRICAL | SWITCHES & SCOKETS | Socket | Socket 5amp 3pin | NOS | 101080G
ELECTRICAL | SWITCHES & SCOKETS | Socket Shuttered | Socket Shuttered -6A-2/3 Pin Combined - 2 Module | NOS | 101084G
ELECTRICAL | SWITCHES & SCOKETS | Socket Shuttered | Socket shuttered 25A, 3 pin | NOS | 101085G
ELECTRICAL | SWITCHES & SCOKETS | Socket Shuttered | Socket Shuttered 6A/ 16A-3 Pin Combined - 3 Module | NOS | 101086G
ELECTRICAL | SWITCHES & SCOKETS | Socket shuttered | Socket shuttered 6/16A 3 pin, 2 module | NOS | 104393G
ELECTRICAL | SWITCHES & SCOKETS | Step fan regulator | Step fan regulator | NOS | 101087G
ELECTRICAL | SWITCHES & SCOKETS | Switch | Switch - 6A-One Way- SP- 1 Module | NOS | 101056G
ELECTRICAL | SWITCHES & SCOKETS | Switch | Switch - 16A-One Way- SP- 1 Module | NOS | 101057G
ELECTRICAL | SWITCHES & SCOKETS | Switch | Switch - 6 A- Two Way - SP-1 Module | NOS | 101091G
ELECTRICAL | SWITCHES & SCOKETS | Switch | Switch 25 amps | NOS | 106406G
ELECTRICAL | SWITCHES & SCOKETS | Switch dummy | Switch dummy | NOS | 101089G
ELECTRICAL | SWITCHES & SCOKETS | Switch with indicator | Switch with indicator/locator-16A-Oneway SP-1 Mod | NOS | 101090G
ELECTRICAL | SWITCHES & SCOKETS | Telephone socket | Telephone socket - RJ11-Jack - 1 Module | NOS | 101099G
ELECTRICAL | SWITCHES & SCOKETS | Timer Switch | Timer Switch (Analog) for street lights | NOS | 100625G
ELECTRICAL | SWITCHES & SCOKETS | TV Socket | TV Socket Co-axial - 1 Module | NOS | 101100G
ELECTRICAL | CIRCUIT BREAKER | Contactor | Contactor | NOS | 100794G
ELECTRICAL | CIRCUIT BREAKER | Dummy plate | Dummy plate for MCB | NOS | 100994G
ELECTRICAL | CIRCUIT BREAKER | ELCB | ELCB 40 Amps 2 pole | NOS | 106207G
ELECTRICAL | CIRCUIT BREAKER | ELCB | ELCB 40 Amps 4 pole | NOS | 100986G
ELECTRICAL | CIRCUIT BREAKER | ELCB | ELCB 63 Amps 4P | NOS | 100788G
ELECTRICAL | CIRCUIT BREAKER | MCB | MCB 10amp SP | NOS | 100971G
ELECTRICAL | CIRCUIT BREAKER | MCB | MCB 16 Amps 2 pole | NOS | 100796G
ELECTRICAL | CIRCUIT BREAKER | MCB | MCB 16A SP | NOS | 100789G
ELECTRICAL | CIRCUIT BREAKER | MCB | MCB 20amp SP | NOS | 100972G
ELECTRICAL | CIRCUIT BREAKER | MCB | MCB 25 amps 1 pole | NOS | 100800G
ELECTRICAL | CIRCUIT BREAKER | MCB | MCB 25 amps 2 pole | NOS | 100975G
ELECTRICAL | CIRCUIT BREAKER | MCB | MCB 25 Amps 4 pole | NOS | 106208G
ELECTRICAL | CIRCUIT BREAKER | MCB | MCB 32 amps 3 pole | NOS | 100976G
ELECTRICAL | CIRCUIT BREAKER | MCB | MCB 32 amps 4 pole | NOS | 100793G
ELECTRICAL | CIRCUIT BREAKER | MCB | MCB 40 amps 3 pole | NOS | 100977G
ELECTRICAL | CIRCUIT BREAKER | MCB | MCB 63 amps 3 pole | NOS | 100790G
ELECTRICAL | CIRCUIT BREAKER | MCB | MCB 63 amps 4 pole | NOS | 100980G
ELECTRICAL | CIRCUIT BREAKER | MCB | MCB 6A SP | NOS | 100791G
ELECTRICAL | CIRCUIT BREAKER | MCCB | MCCB 160 amps 3 pole | NOS | 100792G
ELECTRICAL | CIRCUIT BREAKER | MCCB | MCCB 250 Amps 3 pole | NOS | 106987G
ELECTRICAL | CIRCUIT BREAKER | RCCB | RCCB 40 amps 4 pole | NOS | 100799G
ELECTRICAL | CIRCUIT BREAKER | RCCB | RCCB 63 amps 4 pole | NOS | 100984G
ELECTRICAL | CIRCUIT BREAKER | MCB | MCB 40 amps 4 pole | NOS | 100803G
ELECTRICAL | CIRCUIT BREAKER | RCBO | RCBO 40 amps 4P | NOS | 100987G