## Sheet1
Category | Sub Category | Item Name | Item Desc | UOM | Item Code | Browse
Elctro Mechanical | DG Spares | DG-Lube oil filter | DG-Lube oil filter, Part No.06.436.01.00 for 125 KVA to 250 KVA DG set | NOS | 104838G
Elctro Mechanical | DG Spares | DG-Thermostat Element | DG-Thermostat Element, Part.No.39.040.09.0.00 for 62.5 to 250 Kva | NOS | 104844G
Elctro Mechanical | DG Spares | DG-Spin on filter | DG-Spin on filter, Part No.06.436.01.00 for 160 to 500 KVA DG | NOS | 104939G
Elctro Mechanical | DG Spares | DG-Fuel Filter Element | DG-Fuel Filter Element PRE, Part No.48.117.04.0.00 for 50 KVA to 250 KVA DG Set | NOS | 104940G
Elctro Mechanical | DG Spares | DG-Fuel Filter Element | DG-Fuel Filter Element MICRO, Part No.48.117.05.0.00 for 160 KVA DG set | NOS | 104941G
Elctro Mechanical | DG Spares | DG-FUEL FILTER | DG-FUEL FILTER-IR 0749 for 600 KVA | NOS | 105020G
Elctro Mechanical | DG Spares | DG-ENGINE OIL FILTER | DG-ENGINE OIL FILTER-IR 1808 for 600 KVA | NOS | 105019G
Elctro Mechanical | DG Spares | DG-ENGINE OIL FILTER | DG-Engine Oil Filter, Part.No.06.436.01.0.00 for 62.5 Kva to 250 Kva | NOS | 105066G
Elctro Mechanical | DG Spares | DG-Thermostat Element | DG-Thermostat Element ( 74 Deg ), Part No: 39.040.09.0.00 For 62.5 KVA DG S | NOS | 105302G
Elctro Mechanical | DG Spares | DG-Spin on filter | DG-Spin on filter for lubricating oil, Part No: 06.436.01.0.00 For 62.5 KVA | NOS | 105309G
Elctro Mechanical | DG Spares | DG-Primary Element | DG-Primary Element, Part No: 3H.132.01.0.00 For 62.5 to 250 KVA DG Set | NOS | 105310G
Elctro Mechanical | DG Spares | DG-Secondary Element | DG-Secondary Element, Part No: 3H.132.02.0.00 For 62.5 to 250 KVA DG Set | NOS | 105311G
Elctro Mechanical | DG Spares | DG-Primary Element | DG-Primary Element , Part No: 4H.1198.01.0.00 For 62.5 KVA DG Set | NOS | 105318G
Elctro Mechanical | DG Spares | DG-1.1 Litre Fuel Filter Element | DG-1.1 Litre Fuel Filter Element,Part.No.48.999.20.0.00 for 62.5 to 250 Kva | NOS | 105487G
Elctro Mechanical | DG Spares | DG-Lub Oil Filter | DG-Lub Oil Filter - KVO.043.03.0.00 | NOS | 105488G
Elctro Mechanical | DG Spares | DG-Fuel Filter | DG-Fuel Filter Assembley - KV2.506.20.0.00 | NOS | 105489G
Elctro Mechanical | DG Spares | DG-Fuel Filter | DG-Fuel Filter Assembly Part.No.KVO.110.01.0.00 | NOS | 105540G
Elctro Mechanical | DG Spares | DG-Fuel pipe | DG-Fuel pipe-36.040.01.0.00 | NOS | 105705G
Elctro Mechanical | DG Spares | DG-Lub Oil Filter | DG-Lub Oil Filter Cartrige - 180 KVA, 06.436.01.0.00 | NOS | 105790G
Elctro Mechanical | DG Spares | DG-Fuel Filter | DG-Fuel Filter Primary, Part.No.48.117.04.0.00 for 125 KVA to 250 KVA DG Set | NOS | 105791G
Elctro Mechanical | DG Spares | DG-Lub Oil Filter | DG-Lub Oil Filter-DV0.014.27.0.00 for 320 kva | NOS | 105907G
Elctro Mechanical | DG Spares | DG-Lub Oil Filter | DG-Lub Oil Filter-DV0.014.11.0.00 for 320 kva | NOS | 105908G
Elctro Mechanical | DG Spares | DG-Fuel Filter Catridge | DG-Fuel Filter Cartridge -4H.2206.01.0.00 for 320 to 400 kva | NOS | 105909G
Elctro Mechanical | DG Spares | DG-Preline Filter | DG-Preline Filter Cartridge ( Spin On ) DV0.053.05.0.00 for 160 to 500 kva | NOS | 105910G
Elctro Mechanical | DG Spares | DG-Element Filter | DG-Element Filter - 5134490 for 600 KVA | NOS | 106164G
Elctro Mechanical | DG Spares | DG-Air Cleaner | DG-Air Cleaner Primary Element - KV2.505.02.0.00 for 250 KVA DG Set | NOS | 106165G
Elctro Mechanical | DG Spares | DG-Air Cleaner | DG-Air Cleaner Safety Element - KV2.505.03.0.00 for 250 KVA DG Set | NOS | 106166G
Elctro Mechanical | DG Spares | DG-Hose | DG-Hose (Thermostat to Water Tank), Part No.F6.255.06.0.00 for 160 to 500 Kva DG | NOS | 107221G
Elctro Mechanical | DG Spares | DG-Hose | DG-Hose( Young radiator), Part.No.F6.150.03.0.00 for 160 Kva | NOS | 107222G
Elctro Mechanical | DG Spares | DG-Worm drive hose clip | DG-Worm drive hose clip - 61 mm, Part.No.50519.11.000 for 160 Kva | NOS | 107223G
Elctro Mechanical | DG Spares | DG-Lube Oil Drain Pipe | DG-Lube Oil Drain Pipe Assembly-F6.670.34.0.00 for 250 KVA | NOS | 107419G
Elctro Mechanical | DG Spares | DG-Lube Oil Drain Pipe | DG-Lube Drain Pipe Assembly-F6.670.34.0.00 for 250 KVA | NOS | 107420G
Elctro Mechanical | DG Spares | DG-Hose | DG-Hose Connection-F6.255.03.0.00 for 160 KVA | NOS | 107421G
Elctro Mechanical | DG Spares | DG-Fuel Pipe | DG-Fuel Pipe (7.5, 14x14 B, 320 WB) Part. No.39.027.22.0.00 for 62.5 to 250 KVA | NOS | 107422G
Elctro Mechanical | DG Spares | DG-Fuel Filter Catridge | DG-Fuel Filter Cartridge - Part. No. DV0.020.03.0.00 for 160 KVA DG Set | NOS | 108523G
Elctro Mechanical | DG Spares | DG-Lube Oil Filter | DG-Lube Oil Filter - Part.No.DV0.014.27.0.00 for 160 to 500 KVA DG | NOS | 108524G
Elctro Mechanical | DG Spares | DG-Fuel Filter Catridge | DG-Fuel Filter Catrige - Part.No.DV8.072.108.0.0 for 750 KVA DG Set | NOS | 108673G
Elctro Mechanical | DG Spares | DG-PRE Filter Catridge | DG-PRE Filter Cartidge,Part.No.D16.507.03.0.00 for 625 to 750 KVA DG | NOS | 108674G
Elctro Mechanical | DG Spares | DG-Lube Oil Filter | DG-Lube Oil Filter,Part.No.DV0014.27.0.00 for 625 to 750 Kva DG | NOS | 108676G
Elctro Mechanical | DG Spares | DG-Lube Oil Filter | DG-Lube Oil Filter - Part.No.DV0.014.11.0.00 for 500 to 625 KVA DG | NOS | 108677G
Elctro Mechanical | DG Spares | DG-Fuel Filter Catridge | DG-Fuel Filter Catridge,Part.No.DV0.020.03.0.00 for 500 to 750 Kva DG | NOS | 109531G
Elctro Mechanical | DG Spares | DG-Spinon Assembly Kit | DG-Spinon Assembly Kit, Part No.DV8.040.24.0.00 for 250 to 500 Kva DG | NOS | 109578G
Elctro Mechanical | DG Spares | DG-Fuel Filter Element Assembly | DG-Fuel Filter Element Assembly, Part.No.06.474.05.0.00 for 125 KVA | NOS | 109585G
Elctro Mechanical | DG Spares | DG-Spinon Assembly Kit | DG-Spinon Assembly Kit for Parker,Part.No.DV8.040.24.0.00 625 to 750 kva DG | NOS | 109747G
Elctro Mechanical | DG Spares | DG-Rotating Reefifer Assembly | DG-Rotating Reefifer Assembly,Part.No.F6.814.15.0.00 for 250 Kva DG | NOS | 109748G
Elctro Mechanical | DG Spares | DG-AVR | DG-AVR Model TAVR - 3A S/F,Part.No.F6.814.11.0.00 for 250 Kva DG | NOS | 109749G
Elctro Mechanical | DG Spares | DG-Hose Clip | DG-Hose Clip ( 54 mm ) Part.No.50.519.10.000 for 250 Kva DG | NOS | 109750G
Elctro Mechanical | DG Spares | DG-Engine Control Unit | DG-Engine Control Unit (EMS907), Part No.2H.865.51.0.00 for 250 KVA DG | NOS | 109763G
Elctro Mechanical | DG Spares | DG-primery Filter | DG-primery Filter - 2465009 for 600 KVA | NOS | 110981G
Elctro Mechanical | DG Spares | DG-Ball BRG Grease | DG-Ball BRG Grease CRTG - 450291 for 600 KVA | NOS | 110982G
Elctro Mechanical | DG Spares | DG-Lube Oil Filter | DG-Lube Oil Filter,Part.No.DV0.014.11.0.00 for 750 Kva | NOS | 111554G
Elctro Mechanical | DG Spares | DG - Fuel pipe | DG - Fuel pipe, part.No.35.107.02.0.00 for 63 Kva | NOS | 111875G
Elctro Mechanical | DG Spares | DG - Fuel pipe | DG - Fuel pipe, part.No.06.610.03.0.00 for 63 Kva | NOS | 111876G
Elctro Mechanical | DG Spares | DG - Wire Hose Clip | DG - Wire Hose Clip, Part.No.06.610.04.0.00 for 63 Kva | NOS | 111877G
Elctro Mechanical | DG Spares | Alternator Dynamo | Alternator Dynamo 24V | NOS | 105131G
Elctro Mechanical | Fire DG Spares | Diesel Filter | Fire Pump, Diesel Filter ½ Ltr, Part.No.123306370785 for 75 Hp Diesel Engine | NOS | 111542G
Elctro Mechanical | Fire DG Spares | Diesel oil filter | Fire pump, Diesel oil filter, Part No. 1200240911 / 912 for 100 Hp Diesel Engine | SET | 109049G
Elctro Mechanical | Fire DG Spares | Fire DG - Engine Controller | Fire pump, Engine Controller KRB 202, Part No. 100007760955 for 100 Hp Diesel Engine | NOS | 109053G
Elctro Mechanical | Fire DG Spares | Filter Element With O Ring | Fire Pump, Filter Element With O Ring, Part No. 001200240911/12 | SET | 109954G
Elctro Mechanical | Fire DG Spares | Hose Bottom | Fire Pump, Hose Bottom, Part.No.P21108610354 for 75 Hp Diesel Engine | NOS | 111544G
Elctro Mechanical | Fire DG Spares | Hose Middle | Fire Pump, Hose Middle, Part.No.P21108610024 for 100 Hp Diesel Engine | NOS | 111538G
Elctro Mechanical | Fire DG Spares | Hose Middle | Fire Pump, Hose Middle, Part.No.P21108610024 for 75 Hp Diesel Engine | NOS | 111545G
Elctro Mechanical | Fire DG Spares | Low lube oil pressure switch | Fire pump, Low lube oil pressure switch, Part No. 105782010028 for 100 Hp Diesel Engine | NOS | 109054G
Elctro Mechanical | Fire DG Spares | Lube oil filter | Fire pump, Lube oil filter, Part No. 605411880008 for 100 Hp Diesel Engine | NOS | 109048G
Elctro Mechanical | Fire DG Spares | Lube Oil Filter | Fire Pump, Lube Oil Filter, Part.No.605411880008 for 100 Hp Diesel Engine | NOS | 109806G
Elctro Mechanical | Fire DG Spares | Lube Oil Filter | Fire Pump, Lube Oil Filter, Part.No.605411880009 for 75 Hp Diesel Engine | NOS | 111541G
Elctro Mechanical | Fire DG Spares | Rocker cover joints | Fire pump, Rocker cover joints, Part No. P21108530124 for 100 Hp Diesel Engine | NOS | 109050G
Elctro Mechanical | Fire DG Spares | Air Filter | Fire pump, Air Filter, Outer, Part No. P21109230031 for 100 Hp Diesel Engine | NOS | 109051G
Elctro Mechanical | Fire DG Spares | Copper Washer | Fire Pump, 14 mm Copper Washer for 100 Hp Diesel Engine | NOS | 109809G
Elctro Mechanical | Fire DG Spares | Copper Washer | Fire Pump, 8 mm Copper Washer for 100 Hp Diesel Engine | NOS | 109810G
Elctro Mechanical | Fire DG Spares | Hose Top | Fire Pump, Hose Top, Part.No.P21108610364 for 75 Hp Diesel Engine | NOS | 111543G
Elctro Mechanical | Fire DG Spares | Thermostat Element | Fire Pump, Thermostat Element, Part.No.P0520100002 for 100 Hp Diesel Engine | NOS | 109811G
Elctro Mechanical | Fire DG Spares | Air Filter | Fire pump, Air Filter, Inner, Part No. P21109230032 for 100 Hp Diesel Engine | NOS | 109052G
Elctro Mechanical | Fire DG Spares | Air Filter | Fire Pump, Air Filter, Part.No.P21109230091 for 100 Hp Diesel Engine | NOS | 109807G
Elctro Mechanical | Fire DG Spares | Air Filter | Fire Pump, Air Filter, Part.No.P21109230092 for 100 Hp Diesel Engine | NOS | 109808G
Elctro Mechanical | Fire DG Spares | Rocker cover joints | Fire pump, Rocker cover joints, Part No. P21108530124 for 100 Hp Diesel Engine | NOS | 109050G
Elctro Mechanical | DG Spares | Self motor | Self motor 250 kva | NOS | 105179G
Elctro Mechanical | DG Spares | Motor | Motor, self start for 100HP diesel engine | NOS | 105178G