## Electrical
Category | Sub Category | Item Name | Item Desc | UOM | Item Code | Browse
22 | 7 | Cable connector | Cable connector | NOS | 104443G
22 | 7 | Cable Termination kit | Cable Termination kit - Out Door Type, Heart Shrinkable | NOS | 110924G
22 | 7 | Cat 5 cable | Cat 5 cable | MTR | 100904G
22 | 7 | Cat 6 cable | Cat 6 cable | MTR | 100905G
22 | 7 | Coaxial Cable | Coaxial Cable RG 6 | MTR | 100713G
22 | 7 | Copper Armoured Cable | Copper Armoured Cable 2 core x 1.5 sq.mm | MTR | 100645G
22 | 7 | Copper Armoured Cable | Copper Armoured Cable 3 core x 2.5 sq.mm | MTR | 100649G
22 | 7 | Copper Armoured Cable | Copper Armoured Cable 3 core x 4 sq.mm | MTR | 100650G
22 | 7 | Copper Armoured Cable | Copper Armoured Cable 4 core x 1.5 sq.mm | MTR | 100674G
22 | 7 | Copper Armoured Cable | Copper Armoured Cable 4 core x 2.5 sq.mm | MTR | 100675G
22 | 7 | Copper Armoured Cable | Copper Armoured Cable 4 core x 10 sq.mm | MTR | 107409G
22 | 7 | Copper Armoured Cable | Copper Armoured Cable 2 core x 2.5 sq.mm | MTR | 107528G
22 | 7 | Copper Cable | Copper Cable 35 Sq mm for Welding Machine | MTR | 106527G
22 | 7 | Copper flat cable | Copper flat cable 3 core x 2.5 sq.mm | MTR | 106963G
22 | 7 | Copper Flexible Cable | Copper flexible cable 2 core x 1.5 sq.mm | MTR | 100642G
22 | 7 | Copper Flexible Cable | Copper Flexible 2 core x 2.5 sq.mm | MTR | 100643G
22 | 7 | Copper Flexible Cable | Copper Flexible Cable 3 Core x 1.5 sq.mm, Sleeve Colour: Black | MTR | 100653G
22 | 7 | Copper Flexible Cable | Copper flexible cable 3 core x 2.5 sq.mm | MTR | 100654G
22 | 7 | Copper Flexible Cable | Copper flexible cable 3 core x 6.0 sq.mm | MTR | 100656G
22 | 7 | Copper Flexible Cable | Copper flexible cable 4 core x 1.5 sq.mm | MTR | 100679G
22 | 7 | Copper Flexible Cable | Copper Flexible 4 core x 2.5 sq.mm | MTR | 100680G
22 | 7 | Copper Flexible Cable | Copper flexible cable 4core x 4 sq.mm | MTR | 100682G
22 | 7 | Copper Flexible Cable | Copper flexible cable 4 core x 25sq.mm | MTR | 100723G
22 | 7 | Copper Flexible Cable | Copper flexible cable 3 core x 4sq.mm | MTR | 100725G
22 | 7 | Copper Flexible Flat Submersible Cable | Copper flexible flat submersible cable 4 sq.mmx3 core | MTR | 100707G
22 | 7 | Copper Flexible Flat Submersible Cable | Copper flexible flat submersible cable 2.5 sq.mm | MTR | 100708G
22 | 7 | Copper Flexible Wire | Copper Flexible Wire 1 sq.mm - Red | MTR | 100907G
22 | 7 | Copper Flexible Wire | Copper Flexible Wire 1.5 sq.mm-Red | MTR | 100908G
22 | 7 | Copper Flexible Wire | Copper Flexible Wire 2.5 sq.mm-Red | MTR | 100909G
22 | 7 | Copper Flexible Wire | Copper Flexible Wire 4 sq.mm-Red | MTR | 100910G
22 | 7 | Copper Flexible Wire | Copper Flexible Wire 6 sq.mm-Red | MTR | 100911G
22 | 7 | Copper Flexible Wire | Copper Flexible Wire 1 sq.mm - Yellow | MTR | 104158G
22 | 7 | Copper Flexible Wire | Copper Flexible Wire 1 sq.mm - Black | MTR | 104160G
22 | 7 | Copper Flexible Wire | Copper Flexible Wire 1.5 sq.mm-Black | MTR | 104164G
22 | 7 | Copper Flexible Wire | Copper Flexible Wire 10 sq.mm-Black | MTR | 104168G
22 | 7 | Copper Flexible Wire | Copper Flexible Wire 10 sq.mm-Blue | MTR | 104169G
22 | 7 | Copper Flexible Wire | Copper Flexible Wire 2.5 sq.mm-Yellow | MTR | 104170G
22 | 7 | Copper Flexible Wire | Copper Flexible Wire 2.5 sq.mm-Green | MTR | 104171G
22 | 7 | Copper Flexible Wire | Copper Flexible Wire 2.5 sq.mm-Black | MTR | 104172G
22 | 7 | Copper Flexible Wire | Copper Flexible Wire 2.5 sq.mm-Blue | MTR | 104173G
22 | 7 | Copper Flexible Wire | Copper Flexible Wire 4 sq.mm-Yellow | MTR | 104174G
22 | 7 | Copper Flexible Wire | Copper Flexible Wire 4 sq.mm-Green | MTR | 104175G
22 | 7 | Copper Flexible Wire | Copper Flexible Wire 4 sq.mm-Black | MTR | 104176G
22 | 7 | Copper Flexible Wire | Copper Flexible Wire 6 sq.mm-Yellow | MTR | 104178G
22 | 7 | Copper Flexible Wire | Copper Flexible Wire 6 sq.mm-Black | MTR | 104180G
22 | 7 | Copper Flexible Wire | Copper Flexible Wire 6 sq.mm-Blue | MTR | 104181G
22 | 7 | Data Cable | Data cable 2 core shielded | MTR | 100724G
22 | 7 | Solar Fencing Cable | Solar Fencing Cable - Double insulated, 1 core x 2.5 Sq mm, Model: ALSS101 | MTR | 102115G
22 | 8 | Aluminium Lugs | Aluminium lugs 300 sq.mm Ring Type | NOS | 100737G
22 | 8 | Aluminium Lugs | Aluminium lugs 185 sq.mm Ring Type | NOS | 100740G
22 | 8 | Angle holders | Angle holders | NOS | 100744G
22 | 8 | Automatic Switch ON/OFF | Lighting system - Automatic Switch ON/OFF | NOS | 106916G
22 | 8 | Batten holders | Batten holders | NOS | 100746G
22 | 8 | Battery | Battery 12V | NOS | 101971G
22 | 8 | Battery | Battery 65AH, 12V for UPS | NOS | 106681G
22 | 8 | Battery | Battery 8V | NOS | 106925G
22 | 8 | Battery | Battery 12V - 18 AH | NOS | 111520G
22 | 8 | Battery | Battery 12V - 26AH | NOS | 111521G
22 | 8 | Battery | Battery 12V - 80 AH | NOS | 111522G
22 | 8 | Battery | Battery 12V - 2.5 AH | NOS | 111523G
22 | 8 | Battery | Battery 12V - 7 AH | NOS | 111524G
22 | 8 | Battery | Battery -Tester | NOS | 111525G
22 | 8 | Battery charger | Battery charger | SET | 101967G
22 | 8 | Cable ties | Cable ties 150 mm | NOS | 100748G
22 | 8 | Cable ties | Cable ties 300mm | NOS | 107760G
22 | 8 | Capacitor | Capacitor 2.25 MFD | NOS | 100749G
22 | 8 | Capacitor | Capacitor (33 MFD, 240V) | NOS | 104449G
22 | 8 | Capacitor | Capacitor 12.5 MFD | NOS | 104576G
22 | 8 | Capacitor | Capacitor 10KVAR | NOS | 106053G
22 | 8 | Clamp Meter | Clamp meter digital | NOS | 100756G
22 | 8 | Copper Lugs | Copper Lugs 35 Sqmm Ring Type | NOS | 104193G
22 | 8 | Copper Lugs | Copper Lugs 10 Sqmm Ring Type | NOS | 104197G
22 | 8 | Copper Lugs | Copper Lugs 25 Sqmm Ring Type | NOS | 105140G
22 | 8 | Copper Lugs | Copper Lugs 50Sqmm Ring Type | NOS | 105141G
22 | 8 | Copper pipe | Copper pipe | MTR | 100886G
22 | 8 | Earth Resistant Testing Equipment | Earth Resistant Testing Equipment-Digital Type | NOS | 104609G
22 | 8 | Electronic transformer | Electronic transformer | NOS | 105220G
22 | 8 | Energy meter | Energy meter | NOS | 100817G
22 | 8 | Energy meter | Energy meter - Prepaid - Dual source - 3 phase | NOS | 101003G
22 | 8 | Energy meter | Energy meter - Display unit - Remote type | NOS | 101008G
22 | 8 | Energy Meter | Energy meter - Ethernet convertor, single channel | NOS | 105860G
22 | 8 | Gland | Gland AKM-25, single ended | NOS | 100757G
22 | 8 | HRC Fuse | HRC Fuse, 100 Amps | NOS | 109225G
22 | 8 | HRC Fuse Link | HRC Fuse Link | NOS | 100785G
22 | 8 | Insulation tape | Insulation tape | NOS | 100750G
22 | 8 | Inverter card | Inverter card for 3KVA UPS | NOS | 111814G
22 | 8 | LV HRC - Fuse | LV HRC - Fuse, 400A | NOS | 105080G
22 | 8 | LV HRC - Fuse | LV HRC - Fuse, 250A | NOS | 105081G
22 | 8 | Overload Relay | Overload relay, range 6.3A to 10A | NOS | 105145G
22 | 8 | Pendant Holder | Pendant holder 6 amps | NOS | 100752G
22 | 8 | PVC Gatties | PVC Gatties | NOS | 108967G
22 | 8 | SMPS | SMPS for battery charging | NOS | 105139G
22 | 8 | Soft Starter | Soft Starter for STP Blower, Model no - ATS48D47Q, Schneider | NOS | 106645G
22 | 8 | Spring Charge Motor | Spring Charge Motor for 630A DG Breaker Panel | NOS | 111012G
22 | 8 | Starter | Starter 25A | NOS | 100753G
22 | 8 | Starter | Starter for tubelight | NOS | 100754G
22 | 8 | Starter | Starter for pump/motor | NOS | 100768G
22 | 8 | Step Down Transformer | Step down transformer 1.2KVA, 50-60Hz | NOS | 104883G
22 | 8 | Step Down Transformer | Step-down transformer 1KVA | NOS | 105144G
22 | 8 | Tap off box | Tap off box 63A 10kA | NOS | 100861G
22 | 8 | Timer | Timer | NOS | 105219G
22 | 8 | Transformer Fuse | Transformer Fuse | NOS | 105248G
22 | 8 | UPS | UPS 1 KVA, 1 phase | NOS | 101975G
22 | 8 | UPS | UPS 2 KVA, 1 phase | NOS | 105327G
22 | 8 | UPS | UPS 10 KVA, 3 phase | NOS | 105412G
22 | 8 | UPS | UPS 600VA, 1 phase | NOS | 106036G
22 | 8 | UPS | UPS 800VA, 1 Phase | NOS | 108656G
22 | 8 | UPS | UPS 3KVA, 1 phase | NOS | 108848G
22 | 8 | PANELS | APFCR Panels | NOS | 100808G
22 | 8 | FRP Sheet - Glass Laminated | FRP Sheet - Glass Laminated, 1230x2000mm for HT Switch Gear Units | NOS | 107239G
22 | 8 | Solar fencing | Solar fencing - Anti climb insulaters | NOS | 111471G
22 | 8 | Energy Meters | Energy Meters | NOS | 104146G
22 | 20 | Outdoor enclosure | Outdoor enclosure | NOS | 100900G
22 | 20 | Modular metal box | Modular metal box 8 module, 1.0mm Thk. | NOS | 100992G
22 | 20 | MS Box | M.S Box, powder coated | NOS | 100999G
22 | 20 | Modular metal box | Modular metal box 1-2 module, 1.0mm Thk. | NOS | 101038G
22 | 20 | Modular metal box | Modular metal box 3 module, 1.0mm Thk. | NOS | 101039G
22 | 20 | Modular metal box | Modular metal box 4 module, 1.0mm Thk. | NOS | 101040G
22 | 20 | Modular metal box | Modular metal box 6-8 module | NOS | 101041G
22 | 20 | Modular metal box | Modular metal box 12 module, 1.0mm Thk. | NOS | 101043G
22 | 18 | Celling mount Light | Light fitting, Celling mount Light 15w LED Model:SSK-SDC15-WHT, Make: SYSKA | NOS | 107010G
22 | 18 | 4 way wall Light | Light fitting - Out door 4 way wall Light | NOS | 106821G
22 | 18 | Ballast | Ballast 150Watts | NOS | 100745G
22 | 18 | Ballast | Ballast 400 Watts | NOS | 104573G
22 | 18 | Ballast | Ballast 250 Watts | NOS | 104574G
22 | 18 | Ballast | Ballast 70 Watts | NOS | 104575G
22 | 18 | Bollard light fitting | Light fitting, Landscaping, Bollard light fitting,16w, Model:5566, K- Lite | NOS | 106699G
22 | 18 | Bollard light fitting | Light fitting, Landscaping, Bollard-I light fitting,18w, Model:5567, K -Lite | NOS | 106700G
22 | 18 | Bollard light fitting | Light fitting, Landscaping, Bollard light fitting, 8W, Model: 5568, K: Lite | NOS | 108437G
22 | 18 | Bollard stud light fitting | Light fitting, Landscaping, Bollard stud light fitting, 16w LED, Model:5563, Make: K- Lite | NOS | 107690G
22 | 18 | Bulb | Bulb 60 W | NOS | 100747G
22 | 18 | Bulb | Bulb 100W | NOS | 100763G
22 | 18 | Burried up light fitting | Light fitting, Landscaping, Burried up light fitting, 7x1w LED, Model:7055, Make: K -Lite | NOS | 107675G
22 | 18 | Celing Light-Recess Mount | Light fitting, Celing Light, Recess Mount, 10W LED | NOS | 106904G
22 | 18 | Celing Light-Recess Mount | Light fitting, Celing Light, Recess Mount, 7W LED | NOS | 106905G
22 | 18 | Celing Light-Recess Mount | Light fitting, Celing Light, Recess Mount, 8W LED | NOS | 106914G
22 | 18 | Celing Light-Recess Mount | Light Fitting, Celing Light, Recess Mount, 12W LED | NOS | 107108G
22 | 18 | Celing Light-Recess Mount | Light fitting, Celing Light, Recess Mount,15W LED | NOS | 107523G
22 | 18 | Celing Light-Recess Mount | Light fitting, Celing Light, Recess Mount, 3W LED | NOS | 107524G
22 | 18 | Celing Light-Recess Mount | Light Fitting, Celing Light, Recess Mount, 20W LED | NOS | 107984G
22 | 18 | Celing Light-Surface Mount | Light fitting, Celing Light, Surface Mount, 12W LED | NOS | 107000G
22 | 18 | Celing Light-Surface Mount | Light fitting, Celing Light, Surface Mount, 15W LED | NOS | 108522G
22 | 18 | CFL | Light fitting, CFL, 2x11w, Model: TLD211EB, Make: CG. | NOS | 105575G
22 | 18 | CFL Bulb | CFL bulb 11 W | NOS | 100787G
22 | 18 | CFL Bulb | CFL lamp, 23W | NOS | 105222G
22 | 18 | CFL Bulb | CFL bulb 10W | NOS | 105156G
22 | 18 | CFL Bulb | CFL lamp 8W | NOS | 105158G
22 | 18 | CFL lamp | CFL lamp 9W | NOS | 100969G
22 | 18 | CFL lamp | CFL lamp 18 W | NOS | 100970G
22 | 18 | CFL lamp | CFL lamp 36W | NOS | 102952G
22 | 18 | CFL lamp | CFL lamp 11W | NOS | 102958G
22 | 18 | CFL lamp | CFL lamp 20 W | NOS | 104100G
22 | 18 | CFL lamp | CFL lamp 15 W | NOS | 104101G
22 | 18 | CFL lamp | CFL lamp 10W | NOS | 104983G
22 | 18 | CFL lamp | CFL lamp 12W | NOS | 108622G
22 | 18 | CFL lamp | LED Lamp 5 W | NOS | 108826G
22 | 18 | Choke | Choke for CFL fitting, 11W | NOS | 105159G
22 | 18 | Choke | Choke for 6W Led light | NOS | 105160G
22 | 18 | Choke | Choke for 70W light | NOS | 102962G
22 | 18 | Choke | Choke for 40W tube light | NOS | 102963G
22 | 18 | Choke | Choke for CFL fitting, 18W | NOS | 102964G
22 | 18 | Choke | Choke for CFL fitting, 13W | NOS | 108304G
22 | 18 | Choke | Choke for 36W tube light | NOS | 100968G
22 | 18 | Down Light | Light fitting, Down Light 11w LED, Model:SSK-SDC11-WHT, Make: SYSKA | NOS | 107753G
22 | 18 | Driver | Driver for LED light | NOS | 102979G
22 | 18 | Driver for LED Light | Driver for LED Light - 12W | NOS | 111061G
22 | 18 | Driver for LED Light | Driver for LED Light - 15W | NOS | 111062G
22 | 18 | Driver for LED Light | Driver for LED Light - 41W | NOS | 111063G
22 | 18 | Driver for LED Light | Driver for LED Light - 8W | NOS | 111064G
22 | 18 | Driver for LED Light | Driver for LED Light - 16W | NOS | 111065G
22 | 18 | Driver for LED Light | Driver for LED Light - 6W | NOS | 111066G
22 | 18 | Driver for LED Light | Driver for LED Light - 38W | NOS | 111067G
22 | 18 | Driver for LED Light | Driver for LED Light - 60W | NOS | 111388G
22 | 18 | Foot light | Foot light | NOS | 101055G
22 | 18 | Gate light | Light fitting, Gate light, 12W LED | NOS | 106968G
22 | 18 | Halogen Lamp | Halogen lamp 50w | NOS | 105223G
22 | 18 | Halogen lamps | Halogen lamps 500W | NOS | 102971G
22 | 18 | Halogen light fittings | Halogen light fittings 1000W | NOS | 102975G
22 | 18 | Halogen light fittings | Halogen light fittings 500W | NOS | 102981G
22 | 18 | Holder | Holder for Bulk head fitting | NOS | 106595G
22 | 18 | Ignitor | Ignitor | NOS | 102982G
22 | 18 | Indicator lamp | Indicator lamp | NOS | 105157G
22 | 18 | Lamp | Lamp 250W | NOS | 102953G
22 | 18 | Lamp | Lamp 40W | NOS | 102956G
22 | 18 | Lamp | Lamp 150W | NOS | 102976G
22 | 18 | Lamp for false ceiling lights | Lamp for false ceiling lights | NOS | 100062G
22 | 18 | Landscaping Lights | Lamp for landscaping lights | NOS | 102986G
22 | 18 | LED Lamp | LED Lamp 26W | NOS | 110938G
22 | 18 | LED light | LED light | NOS | 102980G
22 | 18 | LED strip light | LED strip light | MTR | 100061G
22 | 18 | Light fitting | Light fitting - Tubelights | NOS | 102987G
22 | 18 | Light fitting | Light fitting - Flood light | NOS | 102989G
22 | 18 | Light fitting | Light fitting | NOS | 102991G
22 | 18 | Mercury lamp | Mercury lamp 70 W | NOS | 102995G
22 | 18 | Metal halide choke | Metal halide choke 400W | NOS | 103003G
22 | 18 | Metal halide choke | Metal halide choke 250W | NOS | 103005G
22 | 18 | Metal halide choke | Metal halide choke 150W | NOS | 103006G
22 | 18 | Metal halide fitting | Metal halide fitting of 250 w | NOS | 103002G
22 | 18 | Metal halide lamp | Metal halide lamp 400W | NOS | 103007G
22 | 18 | Metal halide lamp | Metal halide lamp 150W | NOS | 103008G
22 | 18 | Metal halide lamp | Metal halide lamp 250W | NOS | 103009G
22 | 18 | Metal halide lamp | Metal halide lamp 70W | NOS | 103010G
22 | 18 | Metal halide lamp | Metal halide fitting 400W | NOS | 103013G
22 | 18 | Metal halide lamp | Metal halide lamp 150W, CDO-TT, Make: Philips | NOS | 106799G
22 | 18 | Outdoor Planter Light | Light fitting, outdoor planter light 12V/50W RL42 | NOS | 104595G
22 | 18 | Panel Indicator Lamp | Panel Indicator Lamp - RED | NOS | 111259G
22 | 18 | Panel Indicator Lamp | Panel Indicator Lamp - YELLOW | NOS | 111260G
22 | 18 | Panel Indicator Lamp | Panel Indicator Lamp - BLUE | NOS | 111261G
22 | 18 | Panel Indicator Lamp | Panel Indicator Lamp - GREEN | NOS | 111262G
22 | 18 | Panel Indicator Lamp | Panel Indicator Lamp - WHITE | NOS | 111263G
22 | 18 | Recessed ceiling light | Light fitting, Recessed ceiling light, 12W LED, Model: Matrix, Make: HPL | NOS | 107238G
22 | 18 | Revolving Search Light | Revolving Search Light with Remote Control | NOS | 105759G
22 | 18 | Side Holder | Side holder for tubelight | NOS | 103017G
22 | 18 | Street Lighting | Light fitting, Street Lighting, 44w LED light fitting, Model:SL1248-44-XXXXK, Ligman | NOS | 106708G
22 | 18 | Street Lighting | Light fitting, Street Lighting, 40w LED light fitting, Model: Teceo 1, Make: Schreder | NOS | 107671G
22 | 18 | Swimming pool light fitting | Lamp for Swimming pool light fitting 300w, Make: Astral Spain | NOS | 106770G
22 | 18 | Swimming pool light fitting | Lamp for Swimming pool light fitting 50w, Make: Astral Spain | NOS | 106771G
22 | 18 | Torch light | Torch light LED - Rechargeable Type | NOS | 102985G
22 | 18 | Tube Light | Tube Light 40w | NOS | 103015G
22 | 18 | Tube Light | Tubelight 36w fitting | NOS | 103019G
22 | 18 | Tube Light | Tubelight 36 W | NOS | 103020G
22 | 18 | Tube Light | Tube light fitting T5, 14W, 2 feet length | NOS | 104828G
22 | 18 | Tube Light | Light fitting, 2 feet tube Light 12W LED, Model: SSK-T5, Make: SYSKA | NOS | 107011G
22 | 18 | Tube Light | Light fitting, 4 feet tube Light 22W LED, Model: SSK-T5, Make: SYSKA | NOS | 107012G
22 | 18 | Tube Light | Light fitting, 2 feet tube light 9W LED, Model: Astra Line, Make: Philips | NOS | 109417G
22 | 18 | Tube Light | Light fitting, 4 feet tube light 18W LED, Model: Astra Line, Make: Philips | NOS | 109419G
22 | 18 | Tube Light Fitting | Tube light fitting T5, 28W, 4 feet length | NOS | 104882G
22 | 18 | Tube Light Lamp | Tube Light Lamp 28W 4' Length, T5 | NOS | 105543G
22 | 18 | Tube Light Lamp | Tube Light Lamp 14W 2' Length, T5 | NOS | 105544G
22 | 18 | Up Down light | Light fitting, Landscaping, Up Down light, LED 6w, Model: 7900, Make: K- Lite | NOS | 107691G
22 | 18 | Wall Light | Light fitting, Wall Light 6W LED, Model: ODL-0-0246, Make: EGLO | NOS | 107158G
22 | 66 | Bell Push | Bell Push -6A - One Way - SP - 1 Module | NOS | 101062G
22 | 66 | Float switch | Float switch for water level sensor | NOS | 100626G
22 | 66 | Front modular plate | Front plate 1 modular | NOS | 101046G
22 | 66 | Front modular plate | Front plate 2 modular | NOS | 101047G
22 | 66 | Front modular plate | Front plate 3 modular | NOS | 101048G
22 | 66 | Front modular plate | Front plate 4 modular | NOS | 101049G
22 | 66 | Front modular plate | Front plate 6 modular | NOS | 101051G
22 | 66 | Front modular plate | Front plate 8 modular | NOS | 101052G
22 | 66 | Indicator switches | Indicator switches | NOS | 101066G
22 | 66 | Plug top | Plug top 2 pin | NOS | 101073G
22 | 66 | Plug top | Plug top 3 pin | NOS | 101074G
22 | 66 | Push button | Push button | NOS | 101075G
22 | 66 | RJ 45 Computer Jack | RJ 45 Computer Jack | NOS | 101102G
22 | 66 | RJ 45 connector | RJ 45 connector | NOS | 101104G
22 | 66 | Round Plate sheet | Round Plate sheet | NOS | 100868G
22 | 66 | Single Phase Preventor | Single Phase Preventor | NOS | 100869G
22 | 66 | Socket | Socket 5amp 3pin | NOS | 101080G
22 | 66 | Socket Shuttered | Socket Shuttered -6A-2/3 Pin Combined - 2 Module | NOS | 101084G
22 | 66 | Socket Shuttered | Socket shuttered 25A, 3 pin | NOS | 101085G
22 | 66 | Socket Shuttered | Socket Shuttered 6A/ 16A-3 Pin Combined - 3 Module | NOS | 101086G
22 | 66 | Socket shuttered | Socket shuttered 6/16A 3 pin, 2 module | NOS | 104393G
22 | 66 | Step fan regulator | Step fan regulator | NOS | 101087G
22 | 66 | Switch | Switch - 6A-One Way- SP- 1 Module | NOS | 101056G
22 | 66 | Switch | Switch - 16A-One Way- SP- 1 Module | NOS | 101057G
22 | 66 | Switch | Switch - 6 A- Two Way - SP-1 Module | NOS | 101091G
22 | 66 | Switch | Switch 25 amps | NOS | 106406G
22 | 66 | Switch dummy | Switch dummy | NOS | 101089G
22 | 66 | Switch with indicator | Switch with indicator/locator-16A-Oneway SP-1 Mod | NOS | 101090G
22 | 66 | Telephone socket | Telephone socket - RJ11-Jack - 1 Module | NOS | 101099G
22 | 66 | Timer Switch | Timer Switch (Analog) for street lights | NOS | 100625G
22 | 66 | TV Socket | TV Socket Co-axial - 1 Module | NOS | 101100G
22 | 67 | Contactor | Contactor | NOS | 100794G
22 | 67 | Dummy plate | Dummy plate for MCB | NOS | 100994G
22 | 67 | ELCB | ELCB 40 Amps 2 pole | NOS | 106207G
22 | 67 | ELCB | ELCB 40 Amps 4 pole | NOS | 100986G
22 | 67 | ELCB | ELCB 63 Amps 4P | NOS | 100788G
22 | 67 | MCB | MCB 10amp SP | NOS | 100971G
22 | 67 | MCB | MCB 16 Amps 2 pole | NOS | 100796G
22 | 67 | MCB | MCB 16A SP | NOS | 100789G
22 | 67 | MCB | MCB 20amp SP | NOS | 100972G
22 | 67 | MCB | MCB 25 amps 1 pole | NOS | 100800G
22 | 67 | MCB | MCB 25 amps 2 pole | NOS | 100975G
22 | 67 | MCB | MCB 25 Amps 4 pole | NOS | 106208G
22 | 67 | MCB | MCB 32 amps 3 pole | NOS | 100976G
22 | 67 | MCB | MCB 32 amps 4 pole | NOS | 100793G
22 | 67 | MCB | MCB 40 amps 3 pole | NOS | 100977G
22 | 67 | MCB | MCB 63 amps 3 pole | NOS | 100790G
22 | 67 | MCB | MCB 63 amps 4 pole | NOS | 100980G
22 | 67 | MCB | MCB 6A SP | NOS | 100791G
22 | 67 | MCCB | MCCB 160 amps 3 pole | NOS | 100792G
22 | 67 | MCCB | MCCB 250 Amps 3 pole | NOS | 106987G
22 | 67 | RCCB | RCCB 40 amps 4 pole | NOS | 100799G
22 | 67 | RCCB | RCCB 63 amps 4 pole | NOS | 100984G
22 | 67 | MCB | MCB 40 amps 4 pole | NOS | 100803G
22 | 67 | RCBO | RCBO 40 amps 4P | NOS | 100987G
22 | 68 | Autochange over switch | Autochange over switch | NOS | 100854G
22 | 68 | HT Switch Fuse Unit | HT Switch Fuse Unit | NOS | 100855G