## Sheet1
Category | Sub Category | Item Name | Item Desc | UOM | Item Code | Browse
23 | 11 | CU 352 | Grundfos pump spare, CU 352, Part:98288809, Electrical panel | NOS | 105866G
23 | 11 | Shaft Seal | Grundfos pump spare, Shaft Seal, Part:96525458 | NOS | 105862G
23 | 11 | Air Vent kit | Grundfos pump spare, Air Vent kit, part:96511312 | NOS | 110570G
23 | 11 | Bearing chamber | Grundfos pump spare, Bearing chamber, Part: 96475767 | NOS | 108757G
23 | 11 | Bearing ring | Grundfos pump spare, Bearing ring, Part: 96482117 | NOS | 108758G
23 | 11 | Booster Pump | Fire Pump, Booster Pump, 12.5 Hp, electrically operated | NOS | 101534G
23 | 11 | Bore well submersible pump | Bore well submersible pump 10hp, multistage, 3 ph | NOS | 101506G
23 | 11 | Bore well submersible pump | Bore well Submersible pump 7.5 hp, multi stage, 3ph | NOS | 101512G
23 | 11 | Chamber Stack | Grundfos pump spare, Chamber Stack, Part:96416229 | NOS | 105861G
23 | 11 | Chamber Stack | Grundfos pump spare, Chamber Stack, Part:96416317 | NOS | 105865G
23 | 11 | Chamber Stack | Grundfos pump spare, Chamber Stack, part:96508408 | NOS | 110569G
23 | 11 | Control panel | Control panel for pump | NOS | 103328G
23 | 11 | Dewatering pump | Dewatering pump - Electrical, 10 HP | NOS | 103359G
23 | 11 | Dewatering pump | Dewatering pump - Electrical, 2HP | NOS | 105874G
23 | 11 | Dewatering pump | Dewatering pump - Electrical, 1HP | NOS | 105875G
23 | 11 | Dewatering Submersible | Dewatering Submersible Pump, 2.0 Hp | NOS | 107231G
23 | 11 | Dewatering Submersible | Dewatering Submersible Pump, 5.0 Hp | NOS | 107870G
23 | 11 | DOL relay | DOL relay MK1 range from 1.5A-2.5A | NOS | 108836G
23 | 11 | DOL Starter | DOL Starter 2.5A To 6A L & T Make | NOS | 101516G
23 | 11 | DOL Starter | DOL starter MB1 7.5kw with relay range 14 to 23Am | NOS | 101522G
23 | 11 | Dol Starter | Dol Starter MK 1 with Relay Range From 13 - 22 Amp | NOS | 106116G
23 | 11 | Dosing Pump | Dosing Pump - STP | NOS | 105233G
23 | 11 | Head Rubber Springs | Grundfos pump spare, Head Rubber Springs, Part:370796 | NOS | 105864G
23 | 11 | Head Rubber Springs | Grundfos Pump spare, Head Rubber Springs, Part: 96536032 | NOS | 107398G
23 | 11 | Hydropneumatic pump system | Hydropneumatic pump system - Municipal water for domestic purpose | SET | 106511G
23 | 11 | Hydropneumatic pump system | Hydropneumatic pump system - WSP treated water for domestic purpose | SET | 106513G
23 | 11 | Impeller | Grundfos Pump spare, Impeller, Part:97573770 | NOS | 107400G
23 | 11 | Impeller | Hydropneumatic pump, Impeller, Part No. 4050756, Wilo | NOS | 108459G
23 | 11 | Impeller | Grundfos pump spare, Impeller, Part: 96487817 | NOS | 108760G
23 | 11 | Intermediate chamber | Grundfos pump spare, Intermediate chamber, Part: 96538818 | NOS | 108759G
23 | 11 | IO 351 | Grundfos pump spare, IO 351, Part:95042368, Electrical panel | NOS | 105867G
23 | 11 | Lock Rings | Grundfos Pump spare, Lock Rings, Part:96536034 | NOS | 107402G
23 | 11 | Monoblock pump | Monoblock pump self priming (centrifugal) pump 0.5 HP | NOS | 107942G
23 | 11 | Monoblock pump | Monoblock pump self priming (centrifugal) pump 1 HP | NOS | 101535G
23 | 11 | Motor bearing kit | Grundfos pump spare - Motor bearing kit for model:CR 32-3 | NOS | 111598G
23 | 11 | Neck ring | Grundfos pump spare, Neck ring, Part: 96487401 | NOS | 108761G
23 | 11 | Neck ring retainer | Grundfos pump spare, Neck ring retainer, Part: 96487284 | NOS | 108762G
23 | 11 | O' Rings | Grundfos pump spare, O' Rings, Part:96405981 | NOS | 105863G
23 | 11 | O' Rings | Grundfos Pump spare, O' Rings, Part:96536142 | NOS | 107397G
23 | 11 | Open well submersible pump | Open well submersible pump 1 hp | NOS | 101538G
23 | 11 | Open well submersible pump | Open well Submersible pump 10 hp | NOS | 101539G
23 | 11 | Open well submersible pump | Open well Submersible pump 2 hp | NOS | 101541G
23 | 11 | Open well submersible pump | Open well Submersible pump 3 hp | NOS | 101545G
23 | 11 | Open well submersible pump | Open well Submersible pump 5 hp | NOS | 101547G
23 | 11 | Open well Submersible pump | Open well Submersible pump 12.5 hp | NOS | 105180G
23 | 11 | Pool-Recirculating Pumps | Swimming Pool-Recirculating Pumps, 2HP | NOS | 107637G
23 | 11 | Pool-Recirculating Pumps | Swimming Pool-Recirculating Pumps, 3HP | NOS | 107638G
23 | 11 | Pressure Transmitter | Grundfos pump spare, Pressure Transmitter, Part:96637453, Electrical panel | NOS | 105868G
23 | 11 | Pump accessories | Pump accessories | SET | 104854G
23 | 11 | Pump Head | Grundfos pump spare, Pump Head, Part:96547433 | NOS | 105878G
23 | 11 | R-Core Transformer | Grundfos pump spare, R-Core Transformer, Part:97636298, Electrical panel | NOS | 105869G
23 | 11 | Rotating Bearing Kit | Grundfos Pump spare, Rotating Bearing Kit, Part: 96536015 | NOS | 107399G
23 | 11 | Sensor & Controller Unit | Sensor & Controller Unit for dry run protection of borewell | NOS | 109894G
23 | 11 | Sewage Cutter Pump | Sewage Cutter Pump, 2.0 Hp | NOS | 107233G
23 | 11 | Shaft seal | Grundfos pump spare, Shaft seal, Part: 96487067 | NOS | 108755G
23 | 11 | Shaft seal | Grundfos pump spare, Shaft seal, Part: 96525458 | NOS | 108756G
23 | 11 | Shaft seal | Grundfos pump spare - Shaft seal for model:CR 32-3 | NOS | 111597G
23 | 11 | Sleeve Dia | Grundfos Pump spare, Sleeve Dia, Part:96536012 | NOS | 107401G
23 | 11 | Stage casing | Stage casing with RGV & bearing kit, Part No.4059945, Wilo pump | NOS | 104622G
23 | 11 | Stage kit | Stage kit, Part No.4059946, Wilo pump | NOS | 104624G
23 | 11 | Submersible pump | Submersible pump - Borewell | NOS | 103325G
23 | 11 | Timer Relay | Timer Relay ( 16 - 24 Amps ) - LRD 22 WTP | NOS | 111113G
23 | 11 | Variable Frequency Drive (VFD) | Hydropneumatic Pump-Variable Frequency Drive (VFD) 5.5KW | NOS | 109045G
23 | 11 | Wilo pump | Wilo pump, Mechanical seal kit, Part No.4027301 | NOS | 104617G
23 | 11 | Wilo pump | Wilo pump panel, PLC CPU FPSIGMA with software, Part No.2530297 | NOS | 104619G
23 | 11 | Dewatering Pump | Dewatering Pump - Gasket-10.039.01.0 6 HP | NOS | 105767G