## Complaint Report (2)
Aparna Sarovar Grande
Nallagandala, Gachibowli
Hyderabad - 500032
COMPLAINT REPORT from 01/04/2018 to 30/04/2018
Complaint Category | Previous Pending | Opened | Resolved | Total Outstanding | No Escalation | Escalated to L2 | Escalated to L3
Carpentery | 3 | 24 | 27 | - | 85.18% | 7.4% | 7.4%
Carpentry - Door Lock/Cylinder | - | 13 | 13 | - | 100% | - | -
Carpentry-Door Stopper/Latches | - | 13 | 12 | 1 | 100% | - | -
Carpentry-Drilling | - | 3 | 3 | - | 100% | - | -
Civil | - | 2 | 2 | - | 50% | - | 50%
Civil - Common area | - | 2 | 1 | 1 | 100% | - | -
Civil-ExpansionJointLeakage | - | - | - | - | - | - | -
Civil-Wall cracks | - | - | - | - | - | - | -
Civil/Project - Grouting | - | 2 | 2 | - | 100% | - | -
Civil/Project - Seepage | 2 | 2 | 3 | 1 | 100% | - | -
Civil/Project - Tiles | - | 1 | 1 | - | 100% | - | -
Civil/Project - Wall Cracks | 1 | - | 1 | - | 100% | - | -
Civil/Project - Wooden Floor | - | 1 | 1 | - | 100% | - | -
Civil/Project -Wash Room Slope | - | 1 | 1 | - | 100% | - | -
Civil/Project-ExpensionJoints | - | - | - | - | - | - | -
Civil/Project-FlaseCeiling | - | 2 | 2 | - | 100% | - | -
Civil/Project-Others | - | 2 | 2 | - | 100% | - | -
Civil/Project-Painting | - | - | - | - | - | - | -
Civil/Project-Railing | - | - | - | - | - | - | -
Civil/Project-WashRoomSlope | - | 1 | 1 | - | 100% | - | -
Club House | 9 | 8 | 14 | 3 | 78.57% | - | 21.42%
Common Areas | 8 | 5 | 8 | 5 | 87.5% | - | 12.5%
Electrical | 2 | 40 | 42 | - | 97.61% | 2.38% | -
Electrical - ELCB | - | 6 | 6 | - | 100% | - | -
Electrical - MCB | 1 | 7 | 8 | - | 100% | - | -
Electrical - Switch / Socket | - | 23 | 23 | - | 100% | - | -
Electrical -Common Area Lights | - | - | - | - | - | - | -
Electrical-DuctDoors | - | - | - | - | - | - | -
Electrical-Exhaust Fan | - | 4 | 4 | - | 100% | - | -
Electrical-Fan Fixing | - | 3 | 3 | - | 100% | - | -
Electrical-Light Fixing | - | 1 | 1 | - | 100% | - | -
Electrical-Lights | - | 2 | 2 | - | 100% | - | -
Electrical-Lights Hanging | - | 1 | 1 | - | 100% | - | -
Electrical-MeterCalibration | - | - | - | - | - | - | -
Electrical-MeterFixing | - | 1 | 1 | - | 100% | - | -
Electrical-SwitchBoardFixing | - | 4 | 4 | - | 100% | - | -
Electrical-Wiring | - | 4 | 4 | - | 100% | - | -
Fire & Safety | - | 1 | 1 | - | 100% | - | -
Fire & Safety - CP Hose Box | - | - | - | - | - | - | -
Fire & Safety - Extinguishers | - | - | - | - | - | - | -
Fire & Safety - Fire Alarm | - | - | - | - | - | - | -
Fire & Safety - Hydrant Leak | - | - | - | - | - | - | -
Fire & Safety - MCP Glass | - | - | - | - | - | - | -
Fire & Safety-Sprinkler Damage | - | - | - | - | - | - | -
Fire&Safety-SprinklerIsolation | - | - | - | - | - | - | -
Fire&Safety;-Barricade | - | - | - | - | - | - | -
Fire&Safety;-Detector | - | - | - | - | - | - | -
Fire&Safety;-DuctDoor | - | - | - | - | - | - | -
Fire&Safety;-PinHole | - | - | - | - | - | - | -
Fire&Safety;-Unsafe | - | - | - | - | - | - | -
Flushing water | - | 1 | 1 | - | - | - | 100%
General | 17 | 6 | 11 | 12 | 90.9% | - | 9.09%
Horticulture | 1 | - | 1 | - | 100% | - | -
Housekeeping | 7 | 6 | 11 | 2 | 100% | - | -
Internet | 2 | 3 | 5 | - | 100% | - | -
Lifts | 1 | 2 | 1 | 2 | 100% | - | -
Lifts-Alarm | - | - | - | - | - | - | -
Lifts-Announcement | - | - | - | - | - | - | -
Lifts-ARD Batteries | - | - | - | - | - | - | -
Lifts-Cleaning | - | - | - | - | - | - | -
Lifts-Display | - | - | - | - | - | - | -
Lifts-DoorProblem | - | - | - | - | - | - | -
Lifts-Emergency Lighting | - | - | - | - | - | - | -
Lifts-Fan/Blower | - | - | - | - | - | - | -
Lifts-HallCall Buttons | - | - | - | - | - | - | -
Lifts-Lighting | - | 1 | 1 | - | 100% | - | -
Lifts-ManTrap | - | - | - | - | - | - | -
Lifts-NotWorking | - | - | - | - | - | - | -
Lifts-Phone | - | - | - | - | - | - | -
Lifts-Vibrations | - | - | - | - | - | - | -
No Category | - | - | - | - | - | - | -
Painting | 1 | - | 1 | - | 100% | - | -
parking management | - | 1 | - | 1 | - | - | -
Pest control | 1 | 1 | 2 | - | 50% | - | 50%
Pets | 2 | - | 2 | - | 100% | - | -
Plumbing | - | 32 | 32 | - | 100% | - | -
Plumbing - Murky Water | - | - | - | - | - | - | -
Plumbing - AC Drain Problem | - | 4 | 4 | - | 100% | - | -
Plumbing - Drip | - | 3 | 3 | - | 100% | - | -
Plumbing - Flushing Water | 1 | 23 | 24 | - | 100% | - | -
Plumbing - Health Faucet | - | 6 | 6 | - | 100% | - | -
Plumbing - RO Fixing | - | - | - | - | - | - | -
Plumbing - Sink Blockage | - | 17 | 17 | - | 100% | - | -
Plumbing - Sink Leakage | - | 13 | 13 | - | 100% | - | -
Plumbing - Tap Leakage | - | 18 | 18 | - | 100% | - | -
Plumbing - Trap Chocking/Seals | - | - | - | - | - | - | -
Plumbing - Utility Blockage | - | 22 | 22 | - | 100% | - | -
Plumbing - Wash Basin Blockage | - | 9 | 9 | - | 100% | - | -
Plumbing - Wash Basin Leakage | - | 7 | 7 | - | 100% | - | -
Plumbing - Water Bodies | - | - | - | - | - | - | -
Plumbing - WC Leakage | - | 2 | 2 | - | 100% | - | -
Plumbing -Swimming Pool | - | - | - | - | - | - | -
Plumbing-BathroomDrainBlockage | - | 4 | 4 | - | 100% | - | -
Plumbing-CommonAreaBlockage | - | - | - | - | - | - | -
Plumbing-CommonAreaLeakage | - | 1 | 1 | - | 100% | - | -
Plumbing-Geyser | - | 6 | 6 | - | 100% | - | -
Plumbing-Irrigation/Sprinklers | - | - | - | - | - | - | -
Plumbing-PipelineDamage | - | - | - | - | - | - | -
Plumbing-ShowerWaterLeakage | - | 3 | 3 | - | 100% | - | -
Plumbing-SpoutWaterLeakage | - | - | - | - | - | - | -
Plumbing-WashingMachine | - | 2 | 2 | - | 100% | - | -
Plumbing-WaterLeakagePPR joint | - | - | - | - | - | - | -
ReticulatedGas-BallValve | - | - | - | - | - | - | -
ReticulatedGas-Brazing | - | 1 | 1 | - | 100% | - | -
ReticulatedGas-CardMissing | - | 1 | 1 | - | 100% | - | -
ReticulatedGas-Consumption | - | - | - | - | - | - | -
ReticulatedGas-Display | - | - | - | - | - | - | -
ReticulatedGas-Error | - | - | - | - | - | - | -
ReticulatedGas-HosePipe | - | 2 | 2 | - | 100% | - | -
ReticulatedGas-Isolation | - | - | - | - | - | - | -
ReticulatedGas-Leakage | - | - | - | - | - | - | -
ReticulatedGas-LowBattery | - | - | - | - | - | - | -
ReticulatedGas-MeterChecking | - | 12 | 12 | - | 100% | - | -
ReticulatedGas-MeterFixing | - | - | - | - | - | - | -
ReticulatedGas-Module Problem | - | 1 | 1 | - | 100% | - | -
ReticulatedGas-NewConnection | - | 16 | 16 | - | 100% | - | -
ReticulatedGas-PipeRusting | - | - | - | - | - | - | -
ReticulatedGas-PRS3 | - | 1 | 1 | - | 100% | - | -
ReticulatedGasSystem | 2 | 16 | 16 | 2 | 100% | - | -
Security | 9 | 3 | 10 | 2 | 70% | 10% | 20%
Security-CCTV | - | - | - | - | - | - | -
Security-ConvexMirror | - | - | - | - | - | - | -
Security-Lost&Found; | - | - | - | - | - | - | -
Security-MyGateAPP | - | - | - | - | - | - | -
Security-Parking | - | - | - | - | - | - | -
Security-Signage | - | - | - | - | - | - | -
Security-SolarFencing | - | - | - | - | - | - | -
Security-Theft | - | - | - | - | - | - | -
Security-TrafficManagement | - | - | - | - | - | - | -
seepage | - | 1 | 1 | - | - | - | 100%
Sugguestions | 2 | - | 2 | - | 50% | - | 50%
telephone | 1 | 33 | 33 | 1 | 100% | - | -
Tiles | - | - | - | - | - | - | -
UPVC - Rollers | - | - | - | - | - | - | -
UPVC - Slide door Handles | 1 | - | 1 | - | 100% | - | -
UPVC - Slide door lock | - | 1 | 1 | - | 100% | - | -
UPVC Doors & Windows | 2 | 3 | 4 | 1 | 100% | - | -
UPVC-Windows/Doors Alignment | - | 1 | 1 | - | 100% | - | -
Vendors | 1 | 1 | 2 | - | 100% | - | -
Violation | - | - | - | - | - | - | -
wall cracks | - | - | - | - | - | - | -
Water Blockage | - | - | - | - | - | - | -
Water Seepage | - | - | - | - | - | - | -
Water Supply | 1 | - | - | 1 | - | - | -
Wooden Flooring | - | 1 | 1 | - | 100% | - | -
Total | 78 | 466 | 509 | 35 | 96.46% | 0.78% | 2.75%