## SLA Adherence Tecnical
Gas Supply
Function | Standard Process/Frequency/Timeline | Complaint Resolution Time | 2019-04-01
|  |  | Achieved | not achieved
Ensuring uninterrupted gas supply Ensuring coordination with gas supply agency on all relevant matters including timely supply, submission of KYC forms of residents, ensuring timely accounting of subsidized gas to residents etc. | 99% of Time | One Hour | 100%
| As per timelines requirement of specific issues | One Day In Coordination and instructions of ASOWS | 100%
Accurate and timely metering, billing and collection | Within Due dates Meter readings will be taken on Availability of residents. Not responsible for door locked flats | One Day | 100%
Handling all metering issues. Wrong billing will be handled and meter calibration excluded | ASAP | One Week | 100%
Operation and Maintenance of reticulated gas supply System including spares. Up to PRS 2 under APMS. PRS 3, Meter, any pipe line work & painting in duct and inside the apartment at owner cost. | ASAP | Immediate | 100%
Gas Leakage identification and rectification. | Preventive maintenance as Required. | Immediate | 100%
Gas Leakage by residents in flats | Immediate | Immediate | 100%
· In the absence of gas technician during nights and early hours multi skilled technician will substitute the gas related Services.
WATER SUPPLY:
Function | Standard Process/Frequency/Timeline | Complaint Resolution Time | 2019-04-01
|  |  | Achieved | not achieved
Ensuring uninterrupted water supply | 99% of time(subject to availability of water) | One Hour | 100%
Quality of water to be tested every month with certified agency and circulating the report of same to MC | Within 10th of every month | One Week | 100%
Ensuring coordination with water supply agencies of the government to ensure timely supply as per the contract, any other Relevant purposes. Liaison charges excluded | As per the timelines requirement of specific issue | One Day (Subject to HMWSS rules) | 100%
Accurate and timely billing and collection of water charges from members | Within Due Dates | One Day | 100%
Operation and Maintenance of Hydro Pneumatic Water supply system including spares and consumables. Excluding PLC spares | Preventive maintenance as per specifications of manufacturer & best practices | Immediate | 100%
Water Leakage identification and rectification | ASAP | 15 Minutes | 100% | It was being delayed some times due to lack of availability and permission of residents
Operation and Maintenance of Water softening plant including spares and supplies. Excluding Media replacement and salt | Preventive maintenance as per specifications of manufacturer & best practices | Four Hours | 100%
CARPENTRY
Function | Standard Process/Frequency/Timeline | Complaint Resolution Time | 2019-04-01
|  |  | Achieved | not achieved
Resident Lockout At owners risk | Immediate (after verification of Identity)and in security Staff presence | Two Hours | 100%
Minor Carpentry Works like door stoppers, door/windows being frozen, frozen bolts etc.,at a coat | Two Days | One Day | 100%
Replacement of door stoppers, doors, windows, locks, bolts, etc., at a cost | As agreed with MC | One Week | 100%
Plumbing
Function | Standard Process/Frequency/Timeline | Complaint Resolution Time | 2019-04-01
|  |  | Achevied | not achived
Plumbing-Apartment :Critical | As per need | < Two Hours | 100%
Plumbing-Common Areas: Critical | As per need | < Two Hours | 100%
Plumbing-Apartment: Regular | In accordance with MC guidelines and sunlight | < Four Hours | 100%
Plumbing-Common Areas: Regular | As per need: Weekly twice preventive checks | < 8 hours | 100%
Drainage pipe cleaning: Regular | Once Every month | < half an hour | 100%
ELECTRICITY SUPPLY
Function | Standard Process/Frequency/Timeline | Complaint Resolution Time | 2019-04-01
|  |  | Achevied | not achived
Ensuring uninterrupted supply of electricity | 99% of time | 1 hour (Subject to type of break down) | 100%
Ensuring coordination with electricity supply agency on all relevant matters including supply and interruptions thereof, billing etc. liaison charges excluded | As per the timelines requirement of specific issue | One Day | 100%
Accurate and timely metering, billing and collection as per ASOWS guidelines | Within Due Dates | One Day | 100%
Handling all Metering issues Subject to wrong billing issues and Meter Calibration Excluded | ASAP | One Week
Operation and Maintenance of Electrical supply system including transformers (spares excluded), LT panel including spares and DG sets excluding Spares. Excluding Capital expenditure like breakers, CTs, PTs, Contactors, Bus bars, cables etc…. | preventive maintenance as per Schedule | < 8 Hours | 100%
Electrical leakage identification and rectification | ASAP | Immediate | 100%
Switching from main supply to DG power during power Outages | Forty Seconds 40 Sec | Immediate | 100%
Common areas including house, tennis and basketball courts – Adhering to guidelines of Management Committee | Establishment of proper process with identified persons being made responsible | 4 Hours | 100%
ELECTRICAL COMPLAINTS:
Function | Standard Process/Frequency/Timeline | Complaint Resolution Time | 2019-04-01
|  |  | Achieved | not achieved
Electrical-Apartment :URGENT (Subject to “no-change” made to load distribution by resident) | As per need, Within 30 minutes | Half Day | 100%
Electrical-Common Areas: URGENT | As per need, Within 30 minutes | Half Day | 100%
Electrical-Apartment: Regular (Subject to “no-change” made to load distribution by resident) | As per need, Within 4 Hours | Half Day
Electrical-Common Areas: Regular | As per need, Within 4 Hours | One Day | 100%
Replacement of light fittings and lamps in common areas Subject to availability of spares and consumables by ASOWS | As per need, Within 8 Hours | One Day | 100%
EGINEERING & MAINTENANCE OF EQUIPMENT / AMC SERVICES
Function | Standard Process/Frequency/Timeline | Complaint Resolution Time | 2019-04-01
Function | Standard Process/Frequency/Timeline | Complaint Resolution Time | Achieved | not achieved
Elevators | Monthly: Check functioning of all items | One Day | 100%
Diesel Generators | Monthly: Check Oil, Battery condition, starter, Auto Start etc., | 4 Hours | 100%
STP | Monthly: Check functioning & consumable levels Removal of Sludge/Grease | One Day | 100%
WTP | Monthly: Check functioning & consumable levels | One Day | 100%
Solar Fencing | Monthly: Check functioning | One Day | 100%
Storm Water Pumps | Monthly: Check functioning | One Day | 100%
Irrigation Pumps | Monthly: Check functioning | One Day | 100%
Electrical Systems Transformers VCB’s LT Panels Lightning Arrester | Monthly: Check functioning | 4 Hours | 100%
Fire Fighting Systems | Quarterly: Check functioning & consumable levels | One Day | 100%
Reticulated Gas System | Quarterly: Check functioning & consumable levels | One Hour | 100%
Hydro pneumatic pumps | Quarterly: Check functioning & consumable levels | One Hour | 100%
Carbon Exhaust Systems | Quarterly: Check functioning & consumable levels | One Day | 100%

## Sheet1
No. | Unit# | Description | Category | Escalation | Status | Aging
34693 | L - 14B2 | leak under wash basin | Plumbing - Water leakage | L1 | Open | 1 hour ,13 minutes
34692 | D - 1702 | There is a leakage in the pipe of hand shower. | Plumbing - Hand shower | L2 | Open | 3 hours ,19 minutes
34691 | L - 402 | water leakage in kitchen. This problem was raised 4 days back. plumber did all the work but it is st... | Plumbing - Water leakage | L1 | Open | 3 hours ,32 minutes
34690 | - | Please check and confirm if the swimming pool was cleaned on Monday (29 th Apr). On Tuesday, the poo... | Club House | L1 | Open | 3 hours ,57 minutes
34689 | - | Swimming pool water is very dirty today. | General | L1 | Open | 18 hours ,31 minutes
34688 | C - 404 | Tap blockage . | Plumbing | L1 | Closed | 15 minutes
34687 | A - 1902 | Kitchen tap leakage . | Plumbing-Tap Leakages | L1 | Closed | 55 minutes
34686 | L - 1904 | To be clean flush tank . | Plumbing-Flushing Water | L1 | Closed | 1 hour ,1 minute
34685 | A - 101 | Wash basin tap problem. | Plumbing | L1 | Closed | 1 hour ,8 minutes
34684 | A - 1504 | Tap leakage . | Plumbing-Tap Leakages | L1 | Closed | 1 hour ,7 minutes
34683 | H - 1002 | Utility door locked. | Carpentry-Door Lock / Cylinder | L1 | Closed | 56 minutes
34682 | A - 302 | To be cleaned flush tank. | Plumbing-Flushing Water | L1 | Closed | 55 minutes
34681 | G - 202 | To be fix health faucet . | Plumbing-Health Faucet | L1 | Closed | 54 minutes
34680 | C - 404 | To be fix tap handle. | Plumbing-Accessories fix | L1 | Closed | 58 minutes
34679 | G - 2003 | Health faucet leakage . | Plumbing-Health Faucet | L1 | Closed | 51 minutes
34678 | N - 14A2 | Tap leakage . | Plumbing-Tap Leakages | L1 | Closed | 52 minutes
34677 | A - 304 | Utility blockage . | Plumbing-Utility Blockage | L1 | Closed | 47 minutes
34676 | L - 2001 | Utility door locked. | Carpentry-Door Lock / Cylinder | L1 | Closed | 48 minutes
34675 | G - 102 | Final readings. | Electrical | L1 | Closed | 2 minutes
34674 | A - 1201 | There seems to be some issue and needs to be checked. | UPVC-Sliding Door Lock | L1 | Open | 1 day,2 hours
34673 | B - 1804 | I have opted out of real time notifications from this portal, however, I am receiving several mails ... | General | L1 | Open | 1 day,2 hours
34672 | C - 201 | To be fix health faucet pipe . | Plumbing-Health Faucet | L1 | Closed | 22 minutes
34671 | - | Dear Sir, Tile was broken near the lift shaft. Please find the attachment. Regards Srikanth | Lifts | L1 | Open | 1 day,19 hours
34670 | E - 14A4 | Fan not working,. | Electrical | L1 | Closed | 31 minutes
34669 | M - 14A2 | Switch problem . | Electrical - Socket/Switches | L1 | Closed | 33 minutes
34668 | E - 2001 | ELCB tripped. | Electrical-ELCB Tripping | L1 | Closed | 33 minutes
34667 | J - 1604 | Need a plumber. | Plumbing | L1 | Closed | 41 minutes
34666 | K - 804 | Wash basin tap blockage. | Plumbing-Wash Basin Blockage | L1 | Closed | 39 minutes
34665 | A - 1504 | Utility door locked. | Plumbing-Utility Blockage | L1 | Closed | 41 minutes
34664 | C - 502 | Need a plumber. | Plumbing | L1 | Closed | 44 minutes
34663 | I - 1702 | Wash basin blockage . | Plumbing-Wash Basin Blockage | L1 | Closed | 37 minutes
34662 | M - 1004 | Have to chainge health faucet . | Plumbing-Health Faucet | L1 | Closed | 38 minutes
34661 | H - 304 | Health faucet leakage . | Plumbing | L1 | Closed | 38 minutes
34660 | H - 1004 | To be fix health faucet . | Plumbing-Accessories fix | L1 | Closed | 39 minutes
34659 | K - 1204 | Hall AC drain pipe blockage,need to fix asap. | Plumbing | L2 | Open | 2 days,1 hour
34658 | G - 2003 | Washing machine leakage . | Plumbing - Washing machine | L1 | Closed | 1 hour ,32 minutes
34657 | I - 1703 | Need an electrician. | Electrical | L1 | Closed | 1 hour ,31 minutes
34656 | K - 1804 | Utility blockage . | Plumbing-Utility Blockage | L1 | Closed | 1 hour ,35 minutes
34655 | K - 2002 | Bee hive forming on outside window on window glass of kids room. The hive is just forming on the win... | Pest Control-community | L2 | Open | 2 days,2 hours
34654 | H - 1204 | W.C leakage . | Plumbing - Commode leakage | L1 | Closed | 11 minutes
34653 | H - 1002 | Socket problem. | Electrical - Socket/Switches | L1 | Closed | 10 minutes
34652 | M - 1103 | Need a gas technician. | Electrical | L1 | Closed | 2 minutes
34651 | H - 14A4 | Need a gas technician. | Gas-New Gas Connection | L1 | Closed | 17 minutes
34650 | I - 14A2 | Switch problem. | Electrical - Socket/Switches | L1 | Closed | 16 minutes
34649 | E - 2001 | To be replace tube light . | Electrical-Tube Light | L1 | Closed | 16 minutes
34648 | B - 1104 | To be replace tube light . | Electrical-Tube Light | L1 | Closed | 16 minutes
34647 | E - 501 | To be replace tube light. | Electrical-Tube Light | L1 | Closed | 14 minutes
34646 | H - 1004 | Tap leakage . | Plumbing | L1 | Closed | 28 minutes
34645 | C - 14B2 | Need a plumber . | Plumbing - Water valves close | L1 | Closed | 30 minutes
34644 | C - 1504 | Tap leakage. | Plumbing-Tap Leakages | L1 | Closed | 31 minutes
34643 | J - 101 | Need to replace tube light set. | Electrical-Tube Light | L1 | Closed | 55 minutes
34642 | F - 1502 | Tap leakage . | Plumbing-Tap Leakages | L1 | Closed | 55 minutes
34641 | F - 201 | Tube not working. | Electrical-Tube Light | L1 | Closed | 59 minutes
34640 | F - 902 | Utility blockage . | Plumbing-Utility Blockage | L1 | Closed | 58 minutes
34639 | K - 1501 | Kitchen sink blockage . | Plumbing-Sink Blockage/Leakage | L1 | Closed | 26 minutes
34638 | H - 1002 | MBR drain blockage . | Plumbing-Bath Room Drain Block | L1 | Closed | 27 minutes
34637 | A - 301 | ELCB tripped . | Electrical-ELCB Tripping | L1 | Closed | 26 minutes
34636 | K - 602 | Switch problem. | Electrical - Socket/Switches | L1 | Closed | 22 minutes
34635 | E - 1003 | Utility blockage . | Plumbing-Utility Blockage | L1 | Closed | 21 minutes
34634 | L - 402 | To be fix new tap . | Plumbing-Accessories fix | L1 | Closed | 22 minutes
34633 | D - 1803 | Utility blockage . | Plumbing-Utility Blockage | L1 | Closed | 23 minutes
34632 | L - 14B2 | water leak under wash basin. | Plumbing - Water leakage | L1 | Closed | 1 hour ,32 minutes
34631 | G - 303 | AC switch in duct jammed.. | Electrical-Switch Not Working | L3 | Closed | 3 hours ,19 minutes
34630 | L - 1004 | W.C leakage . | Plumbing - Commode leakage | L1 | Closed | 1 hour ,8 minutes
34629 | H - 1804 | Utility door locked. | Carpentry-Door Lock / Cylinder | L1 | Closed | 1 hour ,8 minutes
34628 | C - 1704 | Need a gas technician. | LPG Gas Refill / Repair | L1 | Closed | 1 hour ,19 minutes
34627 | L - 601 | Kitchen sink leakage . | Plumbing-Sink Blockage/Leakage | L1 | Closed | 1 hour ,23 minutes
34626 | M - 1202 | A.C pipe line blockage. | Plumbing | L1 | Closed | 1 hour ,23 minutes
34625 | A - 1102 | Wash basin blockage. | Plumbing-Wash Basin Blockage | L1 | Closed | 1 hour ,18 minutes
34624 | L - 1604 | Leakage in kitchen tap! | Common Areas-Plumbing | L1 | Closed | 55 minutes
34623 | A - 1802 | Need to replace tube light. | Electrical-Tube Light | L1 | Closed | 1 minute
34622 | I - 1004 | Need an electrician. | Electrical - Fan problem | L1 | Closed | 1 minute
34621 | B - 1104 | Need an electrician. | Electrical | L1 | Closed | 16 minutes
34620 | F - 801 | To be fix tube light. | Electrical-Tube Light | L1 | Closed | 15 minutes
34619 | L - 301 | Kitchen sink blockage. | Plumbing-Sink Blockage/Leakage | L1 | Closed | 16 minutes
34618 | E - 2003 | Drill work. | Carpentry-Drilling | L1 | Closed | 39 minutes
34617 | D - 1603 | Need a carpentery service. | Carpentery | L1 | Closed | 38 minutes
34616 | E - 503 | Final readings. | Electrical | L1 | Closed | 53 minutes
34615 | I - 702 | Need an electrician. | Electrical | L1 | Closed | 52 minutes
34614 | K - 2001 | Health faucet leakage. | Plumbing-Health Faucet | L1 | Closed | 51 minutes
34613 | A - 403 | Need a plumber. | Plumbing | L1 | Closed | 13 minutes
34612 | C - 304 | Utility blockage . | Plumbing-Utility Blockage | L1 | Closed | 12 minutes
34611 | E - 1003 | Utility drain blockage . | Plumbing-Bath Room Drain Block | L1 | Closed | 12 minutes
34610 | L - 1204 | Flush tank leakage . | Plumbing-Flushing Water | L1 | Closed | 13 minutes
34609 | A - 1002 | Need a gas technician | LPG Gas Refill / Repair | L1 | Closed | 14 minutes
34608 | I - 504 | Need a plumber. | Plumbing | L1 | Closed | 19 minutes
34607 | - | Guest room 3 and 4 set top boxes was not working. Regards Team-CH | Sritel (Internet, Landline) | L1 | Closed | 20 hours ,17 minutes
34606 | M - 14B4 | R.O leakage. | Plumbing | L1 | Closed | 54 minutes
34605 | B - 1502 | Utility drain pipe blockage. | Plumbing-Utility Blockage | L1 | Closed | 56 minutes
34604 | D - 1102 | Flush tank leakage . | Plumbing-Flushing Water | L1 | Closed | 57 minutes
34603 | M - 1004 | Wash basin tap leakage. | Plumbing-Tap Leakages | L1 | Closed | 55 minutes
34602 | D - 1803 | Need a carpentery service. | Carpentery | L1 | Closed | 55 minutes
34601 | K - 501 | Socket problem. | Electrical - Socket/Switches | L1 | Closed | 1 hour ,3 minutes
34600 | I - 504 | Need to replace tube light . | Electrical-Tube Light | L1 | Closed | 51 minutes
34599 | C - 803 | Final readings. | Electrical | L1 | Closed | 40 minutes
34598 | - | Water getting blocked and odd smell in utility area | Plumbing-Utility Blockage | L1 | Closed | 2 hours ,58 minutes
34597 | - | Water is accumulated due to slope issue | Civil/Project-Wash Room Slope | L1 | Open | 4 days
34596 | - | Rs.22970/- is lying in my account as credit balance due double payment of maintainance charges for 1... | Accounts | L1 | On hold | 4 days,1 hour
34595 | B - 1104 | Final readings. | Electrical | L1 | Closed | 1 hour ,28 minutes
34594 | L - 402 | water leakage in kitchen. Pl fix it urgently. | Plumbing - Water leakage | L1 | Closed | 1 hour ,23 minutes
34593 | N - 801 | need carpenter to drill and fix a curtain rod | Carpentry-Drilling | L1 | Closed | 4 hours ,42 minutes
34592 | G - 2003 | Need a carpentery service. | Carpentery | L1 | Closed | 15 minutes
34591 | G - 102 | To be fix cup board door screws. | Carpentery | L1 | Closed | 14 minutes
34590 | N - 1104 | Need a carpentery service. | Carpentery | L1 | Closed | 14 minutes
34589 | I - 14A3 | Tube light not working. | Electrical-Tube Light | L1 | Closed | 37 minutes
34588 | L - 403 | Switch problem. | Electrical - Socket/Switches | L1 | Closed | 36 minutes
34587 | H - 101 | Need to replace tube light. | Electrical-Tube Light | L1 | Closed | 37 minutes
34586 | H - 702 | Flush tank leakage . | Plumbing-Flushing Water | L1 | Closed | 7 minutes
34585 | K - 701 | R.O leaking. | Plumbing | L1 | Closed | 21 minutes
34584 | K - 1201 | Door locked. | Carpentry-Door Lock / Cylinder | L1 | Closed | 22 minutes
34583 | C - 1801 | Wash basin tap leakage . | Plumbing-Tap Leakages | L1 | Closed | 22 minutes
34582 | K - 1104 | Cup board problem. | Carpentery | L1 | Closed | 25 minutes
34581 | M - 1501 | MCB tripped. | Electrical-M C B Tripping | L1 | Closed | 21 minutes
34580 | M - 902 | Switch problem. | Electrical - Socket/Switches | L1 | Closed | 17 minutes
34579 | E - 1104 | Commode blockage. | Plumbing-Bath Room Drain Block | L1 | Closed | 17 minutes
34578 | D - 1002 | Drain pipe blockage. | Plumbing-Bath Room Drain Block | L1 | Closed | 15 minutes
34577 | M - 1101 | Utility drain pipe blockage. | Plumbing-Utility Blockage | L1 | Closed | 16 minutes
34576 | E - 202 | Need an electrician. | Electrical | L1 | Closed | 25 minutes
34575 | G - 14B2 | Flush tank leakage . | Plumbing-Flushing Water | L1 | Closed | 28 minutes
34574 | F - 1903 | Socket problem. | Electrical - Socket/Switches | L1 | Closed | 29 minutes
34573 | D - 1203 | Utility blockage . | Plumbing-Utility Blockage | L1 | Closed | 30 minutes
34572 | N - 1504 | A.C MCB tripped. | Electrical-M C B Tripping | L1 | Closed | 31 minutes
34571 | B - 1104 | Need an electrician. | Electrical | L1 | Closed | 16 minutes
34570 | B - 603 | Need a carpentey service. | Carpentry-Door Lock / Cylinder | L1 | Closed | 18 minutes
34569 | M - 1501 | Wash basin tap leakage . | Plumbing-Tap Leakages | L1 | Closed | 30 minutes
34568 | F - 503 | Faucet leakage. | Plumbing-Health Faucet | L1 | Closed | 20 minutes
34567 | F - 503 | Final readings. | Electrical | L1 | Closed | 7 minutes
34566 | K - 1004 | Hi, I have already paid the Maintenance (Rs 27600) and utility (Rs 1197) on 23/04/2019 . The status... | Accounts | L1 | Closed | 1 day,21 hours
34565 | E - 401 | need carpenter to fix broken cot and cupboard doors. | Carpentery | L1 | Closed | 2 hours ,0 minutes
34564 | K - 14B1 | Flush tank leaking. | Plumbing-Flushing Water | L1 | Closed | 24 minutes
34563 | N - 904 | Wash basin blockage. | Plumbing-Wash Basin Blockage | L1 | Closed | 24 minutes
34562 | K - 601 | Washing machine pipe leakage. | Plumbing - Washing machine | L1 | Closed | 24 minutes
34561 | - | The wiring in my house for broadband in the drawing room is done by wrong wire. As explained by ACT ... | Electrical | L3 | Closed | 1 day,21 hours
34560 | A - 1102 | Switch problem. | Electrical-Switch Not Working | L1 | Closed | Now
34559 | H - 403 | Need to replace tube. | Electrical-Tube Light | L1 | Closed | 35 minutes
34558 | J - 2003 | ELCB tripped. | Electrical-ELCB Tripping | L1 | Closed | 35 minutes
34557 | M - 1603 | Hi, Today I observed that someone has put a scratch on my parked vehicle. It could be caused by some... | parking management | L1 | Closed | 1 day,18 hours
34556 | N - 703 | Health faucet problem. | Plumbing-Health Faucet | L1 | Closed | 35 minutes
34555 | I - 1101 | Need a plumber. | Plumbing | L1 | Closed | 31 minutes
34554 | I - 14A2 | Wash basin blockage. | Plumbing-Wash Basin Blockage | L1 | Closed | 31 minutes
34553 | E - 604 | Need to replace tube light. | Electrical-Tube Light | L1 | Closed | 32 minutes
34552 | L - 1703 | Yesterday I received a gate entry notification for one Mr Raju from Dunzo (9705680157). I rejected i... | Security - Others | L1 | Closed | 1 hour ,51 minutes
34551 | H - 1204 | Flush tank leakage. | Plumbing-Flushing Water | L1 | Closed | 16 minutes
34550 | H - 1704 | Need an electrician. | Electrical - Socket/Switches | L1 | Closed | 25 minutes
34549 | A - 1501 | Need to replace tube light. | Electrical-Tube Light | L1 | Closed | 24 minutes
34548 | C - 1803 | Need to replace tube light. | Electrical-Tube Light | L1 | Closed | 54 minutes
34547 | F - 1903 | Soket problem. | Electrical - Socket/Switches | L1 | Closed | 1 hour ,0 minutes
34546 | B - 2004 | Need a carpentery service. | Carpentery | L1 | Closed | 1 hour ,1 minute
34545 | J - 501 | Need to screws fix. | Carpentery | L1 | Closed | 1 hour ,1 minute
34544 | J - 301 | Need a carpentery service. | Carpentery | L1 | Closed | 1 hour ,2 minutes
34543 | J - 301 | Kitchen sink leakage. | Plumbing-Sink Blockage/Leakage | L1 | Closed | 1 hour ,2 minutes
34542 | M - 903 | Health faucet leakage. | Plumbing-Health Faucet | L1 | Closed | 1 hour ,1 minute
34541 | G - 102 | Health faucet leakage. | Plumbing-Health Faucet | L1 | Closed | 43 minutes
34540 | G - 1801 | Dear Sir I see my tenant not paying the Electricity bills and other bills for for 3 months to 6 mo... | Accounts | L1 | Open | 6 days,22 hours
34539 | L - 1904 | Hi, Please clear the dismantled scaffolding lying in the tennis court asap. It has been there for la... | Electrical | L2 | Closed | 2 hours ,23 minutes
34538 | J - 501 | Please send plumber to remove sing blockage. Ask him to bring pipe wrench with him. | Plumbing | L1 | Closed | 2 hours ,32 minutes
34537 | - | Some lights are not working in Spa | Electrical | L2 | Closed | 2 hours ,41 minutes
34536 | B - 104 | After sorting out the TV cable package again i am not getting the channels. Looks like every month i... | Sritel (Internet, Landline) | L1 | Open | 7 days,3 hours
34535 | L - 402 | Pl fix the tube light. | Electrical-Tube Light | L1 | Closed | 5 hours ,39 minutes
34534 | E - 401 | Utility blockage . | Plumbing-Utility Blockage | L1 | Closed | 1 minute
34533 | B - 14A4 | Utility blockage. | Plumbing-Utility Blockage | L1 | Closed | 1 minute
34532 | H - 1904 | To be fix A..C stabilizer. | Electrical | L1 | Closed | 15 minutes
34531 | K - 904 | MBR switch problem . | Electrical - Socket/Switches | L1 | Closed | 15 minutes
34530 | K - 502 | Fall ceilling light cheked. | Electrical | L1 | Closed | 15 minutes
34529 | D - 1702 | A.C rout checked. | Electrical | L1 | Closed | 15 minutes
34528 | B - 1804 | Regulator have to change. | Electrical | L1 | Closed | 14 minutes
34527 | I - 904 | Fan switch problem. | Electrical - Socket/Switches | L1 | Closed | 13 minutes
34526 | E - 1601 | To e change tube light. | Electrical-Tube Light | L1 | Closed | 14 minutes
34525 | A - 703 | Fan problem. | Electrical - Fan problem | L1 | Closed | 16 minutes
34524 | I - 201 | Wash basin blockage. | Plumbing-Wash Basin Blockage | L1 | Closed | 14 minutes
34523 | L - 802 | Need a carpentery service. | Carpentery | L1 | Closed | 9 minutes
34522 | A - 801 | To be change health faucet . | Plumbing-Health Faucet | L1 | Closed | 9 minutes
34521 | N - 201 | Need a carpentery service. | Carpentry-Door Lock / Cylinder | L1 | Closed | 9 minutes
34520 | M - 1701 | Cup board has loose. | Carpentery | L1 | Closed | 7 minutes
34519 | J - 2001 | Kitchen sink leakage . | Plumbing-Sink Blockage/Leakage | L1 | Closed | 7 minutes
34518 | L - 204 | R.O leaking. | Plumbing | L1 | Closed | 8 minutes
34517 | C - 1201 | To be change health faucet . | Plumbing-Health Faucet | L1 | Closed | 12 minutes
34516 | J - 503 | Switch struck up. | Electrical - Socket/Switches | L1 | Closed | 13 minutes
34515 | K - 14A4 | Need a gas technician. | LPG Gas Refill / Repair | L1 | Closed | 14 minutes
34514 | K - 804 | To be lock fix. | Carpentry-Door Lock / Cylinder | L1 | Closed | 1 minute
34513 | E - 204 | Kitchen sink leakage. | Plumbing-Sink Blockage/Leakage | L1 | Closed | 16 minutes
34512 | A - 1203 | Tap leakage | Plumbing-Tap Leakages | L1 | Closed | 17 minutes
34511 | M - 1803 | Wash basin blockage . | Plumbing-Wash Basin Blockage | L1 | Closed | 21 minutes
34510 | H - 403 | Tap leakage. | Plumbing-Tap Leakages | L1 | Closed | 22 minutes
34509 | L - 1703 | I tried making payment but the system get hanged and not allowing me to make the payment. Please ca... | Accounts | L1 | Closed | 2 days,16 hours
34508 | - | Dear Sir, Gents wash room one of the hand wash bottle trap pipe was damage. Plumber came and instruc... | Plumbing - Bottle trap | L2 | Closed | 1 day,2 hours
34507 | N - 201 | Need a carpentery service. | Carpentery | L1 | Closed | 1 minute
34506 | B - 404 | To be fix health faucet . | Plumbing-Health Faucet | L1 | Closed | 2 minutes
34505 | A - 301 | Blockage. | Plumbing | L1 | Closed | 25 minutes
34504 | H - 14B3 | Need an electrician. | Electrical | L1 | Closed | 36 minutes
34503 | L - 204 | Need a plumber. | Plumbing | L1 | Closed | 36 minutes
34502 | L - 1101 | To be replace tube light. | Electrical-Tube Light | L1 | Closed | 37 minutes
34501 | F - 1204 | Corridor light have to fix. | Electrical - Corridor light | L1 | Closed | 32 minutes
34500 | J - 301 | Need an electrician. | Electrical | L1 | Closed | 43 minutes
34499 | N - 14A2 | Flush continuosly leaking. | Plumbing-Flushing Water | L1 | Closed | 15 minutes
34498 | M - 102 | Fan problem . | Electrical - Fan problem | L1 | Closed | 16 minutes
34497 | E - 902 | Health faucet pipe leakage . | Plumbing-Health Faucet | L1 | Closed | 20 minutes
34496 | J - 301 | Need a plumber. | Plumbing | L1 | Closed | 26 minutes
34495 | D - 804 | Need a carpentery service. | Carpentery | L1 | Closed | 22 minutes
34494 | D - 103 | T.V connection has loose. | Electrical | L1 | Closed | 22 minutes
34493 | J - 301 | Need a carpentery service. | Carpentery | L1 | Closed | 22 minutes
34492 | M - 1803 | A.C connection has loose. | Electrical | L1 | Closed | 24 minutes
34491 | L - 301 | Need an electrician. | Electrical | L1 | Closed | 24 minutes
34490 | B - 14B1 | Bed room locked. | Carpentry-Door Lock / Cylinder | L1 | Closed | 23 minutes
34489 | A - 903 | Geyser problem. | Plumbing-Geyser Fixing | L1 | Closed | 22 minutes
34488 | B - 703 | MCB tripped . | Electrical-M C B Tripping | L1 | Closed | 24 minutes
34487 | D - 1802 | Health faucet pipe damage. | Plumbing-Health Faucet | L1 | Closed | 22 minutes
34486 | C - 1601 | Smell problem. | Plumbing | L1 | Closed | 22 minutes
34485 | L - 1602 | Switch problem. | Electrical - Socket/Switches | L1 | Closed | 17 minutes
34484 | L - 403 | Trap blockage. | Plumbing-Trap Chocking / Seals | L1 | Closed | 17 minutes
34483 | - | Suction in Dust sweeping machine is not working. It is lifting dust in air. Please repair it. and im... | Housekeeping | L1 | Open | 9 days
34482 | L - 402 | tube light not working. Pl check. | Electrical-Tube Light | L1 | Closed | 2 hours ,34 minutes
34481 | J - 504 | Need a plumber. | Plumbing - Water valves close | L1 | Closed | 2 minutes
34480 | L - 1003 | Wash basin blockage . | Plumbing-Wash Basin Blockage | L1 | Closed | 13 minutes
34479 | D - 702 | Sink blockage. | Plumbing-Sink Blockage/Leakage | L1 | Closed | 13 minutes
34478 | A - 603 | Tap handle problem. | Plumbing | L1 | Closed | 13 minutes
34477 | N - 1104 | Faucet pipe leakage. | Plumbing-Health Faucet | L1 | Closed | 13 minutes
34476 | A - 14A3 | Flush tank leakage. | Plumbing-Flushing Water | L1 | Closed | 17 minutes
34475 | E - 204 | Have to change faucet pipe. | Plumbing-Health Faucet | L1 | Closed | 19 minutes
34474 | I - 1004 | To be fix health faucet pipe. | Plumbing-Health Faucet | L1 | Closed | 19 minutes
34473 | I - 1004 | Need to replace tube light. | Electrical-Tube Light | L1 | Closed | 20 minutes
34472 | H - 1904 | Need an electrician, | Electrical | L1 | Closed | 24 minutes
34471 | F - 303 | Light problem. | Electrical | L1 | Closed | 5 minutes
34470 | G - 701 | ELCB tripped. | Electrical-ELCB Tripping | L1 | Closed | 3 minutes
34469 | F - 303 | Need to replace tube . | Electrical-Tube Light | L1 | Closed | 12 minutes
34468 | J - 1701 | Wash basin blockage. | Plumbing-Wash Basin Blockage | L1 | Closed | 16 minutes
34467 | G - 703 | Kitchen sink blockage . | Plumbing-Sink Blockage/Leakage | L1 | Closed | 16 minutes
34466 | N - 2001 | Utility blockage . | Plumbing-Utility Blockage | L1 | Closed | 17 minutes
34465 | H - 1102 | To be fix connector pipe. | Plumbing-Accessories fix | L1 | Closed | 15 minutes
34464 | E - 1604 | Hi Our living room tiles are started breaking all of a sudden today in the morning . Please send so... | Civil/Project-Tiles | L1 | Open | 9 days,23 hours
34463 | B - 502 | Final readings . | Electrical | L1 | Closed | 1 hour ,57 minutes
34462 | F - 304 | Final readings. | Electrical | L1 | Closed | 1 hour ,55 minutes
34461 | H - 1704 | Need to replace light. | Electrical | L1 | Closed | 18 minutes
34460 | K - 804 | Switch problem. | Electrical - Socket/Switches | L1 | Closed | 21 minutes
34459 | M - 1702 | Have to change health faucet pipe. | Plumbing-Health Faucet | L1 | Closed | 23 minutes
34458 | E - 504 | Need an electrician. | Electrical | L1 | Closed | 23 minutes
34457 | J - 1103 | Flush continuously leaking. | Plumbing-Flushing Water | L1 | Closed | 26 minutes
34456 | B - 502 | To be disconnect washing machine. | Plumbing - Washing machine | L1 | Closed | 25 minutes
34455 | B - 904 | Kitchen sink tap leakage . | Plumbing-Tap Leakages | L1 | Closed | 33 minutes
34454 | D - 1603 | Utility blockage . | Plumbing-Utility Blockage | L1 | Closed | 35 minutes
34453 | C - 14A1 | Water logging in one area of the washroom. Kindly assist. PS: post 12 pm only. Thanks. | Civil/Project-Wash Room Slope | L1 | On hold | 10 days,1 hour
34452 | C - 14A1 | Kitchen sink tap pressure turned low. Please assist. PS: after 12 pm any day only. Thanks. | Plumbing | L1 | Closed | 4 hours ,6 minutes
34451 | B - 1701 | Since yesterday the Internet connection of Sritel is intermittently down. Please direct them to rec... | Sritel (Internet, Landline) | L1 | Open | 10 days,6 hours
34450 | I - 604 | Hi Need electrician to repair the switch Could you please send Thank you | Electrical - Socket/Switches | L1 | Closed | 16 hours ,4 minutes
34449 | K - 604 | Need an electrician. | Electrical | L1 | Closed | 2 minutes
34448 | M - 1602 | Light problem. | Electrical | L1 | Closed | 9 minutes
34447 | A - 1704 | Fan not working. | Electrical - Fan problem | L1 | Closed | 8 minutes
34446 | K - 703 | To be replace tube. | Electrical-Tube Light | L1 | Closed | 5 minutes
34445 | B - 203 | Have to close MCB. | Electrical | L1 | Closed | 6 minutes
34444 | I - 1703 | Need an electrician. | Electrical | L1 | Closed | 6 minutes
34443 | B - 203 | Have to close water &Gas; valves. | Plumbing - Water valves close | L1 | Closed | 14 minutes
34442 | C - 1201 | Faucet pipe leakage . | Plumbing-Health Faucet | L1 | Closed | 14 minutes
34441 | M - 103 | Seat cover has loose. | Plumbing - Seat cover | L1 | Closed | 29 minutes
34440 | D - 14B3 | Tap blockage. | Plumbing | L1 | Closed | 28 minutes
34439 | G - 2003 | Switch problem. | Electrical - Socket/Switches | L1 | Closed | 29 minutes
34438 | E - 203 | Socket problem. | Electrical - Socket/Switches | L1 | Closed | 31 minutes
34437 | H - 201 | Kitchen sink tap leakage. | Plumbing-Tap Leakages | L1 | Closed | 31 minutes
34436 | G - 1804 | Kitchen sink blockage. | Plumbing-Sink Blockage/Leakage | L1 | Closed | 31 minutes
34435 | K - 1802 | Flush tank leakage . | Plumbing-Flushing Water | L1 | Closed | 32 minutes
34434 | J - 1102 | Kitchen sink leakage. | Plumbing-Sink Blockage/Leakage | L1 | Closed | 32 minutes
34433 | M - 903 | Utility blockage. | Plumbing-Utility Blockage | L1 | Closed | 31 minutes
34432 | J - 1001 | To be fix AC stabilizer. | Electrical | L1 | Closed | 29 minutes
34431 | J - 1001 | Have to change health faucet. | Plumbing-Health Faucet | L1 | Closed | 30 minutes
34430 | I - 1504 | Tube not working. | Electrical-Tube Light | L1 | Closed | 11 minutes
34429 | D - 1902 | To be fix gas pipe . | LPG Gas Refill / Repair | L1 | Closed | 12 minutes
34428 | E - 203 | To be remove gas pipe. | LPG Gas Refill / Repair | L1 | Closed | 13 minutes
34427 | M - 14B4 | Wash basin blockage. | Plumbing-Wash Basin Blockage | L1 | Closed | 15 minutes
34426 | H - 1503 | To be shift distribution box. | Electrical | L1 | Closed | 28 minutes
34425 | H - 14A4 | Tap leakage . | Plumbing-Tap Leakages | L1 | Closed | 29 minutes
34424 | K - 602 | Need a plumber. | Plumbing | L1 | Closed | 29 minutes
34423 | D - 904 | Flush leakage . | Plumbing-Flushing Water | L1 | Closed | 30 minutes
34422 | L - 402 | Kitchen balcony door stopper is stuck. Door is neither opening nor closing. This is urgent, pl send ... | Carpentry-Door Stopper / Latch | L1 | Closed | 1 hour ,24 minutes
34421 | J - 502 | Floor trap leakage form J-602. | Plumbing | L1 | Closed | 3 days,7 hours
34420 | H - 1002 | Commode leakage. | Plumbing - Commode leakage | L1 | Closed | 22 minutes
34419 | L - 802 | Kitchen sink leakage. | Plumbing | L1 | Closed | 25 minutes
34418 | D - 603 | Washing machine problem. | Plumbing - Washing machine | L1 | Closed | 23 minutes
34417 | D - 1602 | Need drill work. | Carpentry-Drilling | L1 | Closed | 24 minutes
34416 | F - 902 | Need drill work. | Carpentry-Drilling | L1 | Closed | 24 minutes
34415 | N - 703 | Wash basin blockage. | Plumbing-Wash Basin Blockage | L1 | Closed | 24 minutes
34414 | G - 1502 | Need to replace faucet pipe. | Plumbing-Health Faucet | L1 | Closed | 24 minutes
34413 | L - 904 | Wash basin blockage. | Plumbing-Wash Basin Blockage | L1 | Closed | 23 minutes
34412 | M - 1601 | MCB tripped. | Electrical-M C B Tripping | L1 | Closed | 22 minutes
34411 | K - 904 | Switch problem. | Electrical - Socket/Switches | L1 | Closed | 17 minutes
34410 | E - 1502 | Fan problem. | Electrical - Fan problem | L1 | Closed | 16 minutes
34409 | B - 404 | Utility blockage . | Plumbing-Utility Blockage | L1 | Closed | 16 minutes
34408 | B - 1502 | Washing machine pipe leakage. | Plumbing - Washing machine | L1 | Closed | 17 minutes
34407 | F - 1102 | Switch problem. | Electrical - Socket/Switches | L1 | Closed | 16 minutes
34406 | K - 604 | Kitchen sink blockage. | Plumbing-Sink Blockage/Leakage | L1 | Closed | 16 minutes
34405 | I - 2004 | Need drill work. | Carpentry-Drilling | L1 | Closed | 18 minutes
34404 | M - 301 | To be cleaned flush tank. | Plumbing-Flushing Water | L1 | Closed | 17 minutes
34403 | E - 704 | To be chainge health faucet | Plumbing-Health Faucet | L1 | Closed | 19 minutes
34402 | G - 502 | Need a plumber. | Plumbing | L1 | Closed | 20 minutes
34401 | J - 2004 | Need a gas technician. | LPG Gas Refill / Repair | L1 | Closed | 21 minutes
34400 | H - 1001 | Need to remove gas pipe. | LPG Gas Refill / Repair | L1 | Closed | 23 minutes
34399 | M - 1202 | Need a carpentery service. | Carpentery | L1 | Closed | 31 minutes
34398 | D - 604 | Flush tank leakage. | Plumbing-Flushing Water | L1 | Closed | 31 minutes
34397 | L - 14B4 | Tap leakage . | Plumbing-Tap Leakages | L1 | Closed | 3 hours ,8 minutes
34396 | M - 1202 | Switch problem. | Electrical - Socket/Switches | L1 | Closed | 3 hours ,8 minutes
34395 | E - 604 | Need to replace tube light. | Electrical-Tube Light | L1 | Closed | 3 hours ,9 minutes
34394 | L - 502 | Kitchen sink blockage. | Plumbing-Sink Blockage/Leakage | L1 | Closed | 3 hours ,11 minutes
34393 | K - 1703 | Need to fix tube light | Electrical | L1 | Closed | 29 minutes
34392 | L - 503 | Need to fix gas pipe | LPG Gas Refill / Repair | L1 | Closed | 29 minutes
34391 | G - 2003 | Have to check bathroom | Plumbing | L1 | Closed | 29 minutes
34390 | J - 503 | Need a electrician | Electrical | L1 | Closed | 29 minutes
34389 | K - 404 | Kitchen sink tap pipe problem | Plumbing | L1 | Closed | 27 minutes
34388 | J - 1004 | WC water continuity | Plumbing | L1 | Closed | 27 minutes
34387 | J - 804 | Kitchen sink blockage | Plumbing | L1 | Closed | 31 minutes
34386 | H - 2002 | Door lock | Carpentery | L1 | Closed | 32 minutes
34385 | H - 1503 | Flush not working | Plumbing | L1 | Closed | 31 minutes
34384 | F - 502 | Flush tank leakage | Plumbing | L1 | Closed | 31 minutes
34383 | - | There is no fire extinguisher in 1st Floor of J Block. This is on the side of J103 and J104. Pleas... | Fire & Safety | L1 | Closed | 1 hour ,4 minutes
34382 | - | L Block Water Court, APMS is not switching on Motor. Due to this, water is stagnant and becoming mo... | General | L1 | Closed | 5 hours ,7 minutes
34381 | - | Water leakage in 3 Alstonia tree planters due to leakage in drip lines near cricket court, Need to... | Horticulture | L1 | Closed | 8 hours ,9 minutes
34380 | - | Water logging in irrigation sub line behind club house, need to fixed immediately. | Horticulture | L1 | Closed | 8 hours ,13 minutes
34379 | - | Water logging in two tree planters behind club house due to leakage in drip tube, need to be fixed i... | Horticulture | L1 | On hold | 13 days,2 hours
34378 | - | K block irrigation main line got damage | Plumbing | L3 | Open | 13 days,2 hours
34377 | - | There are Broken Roads and Potholes within Sarovar almost infront of Every block and around Blocks.... | Civil | L1 | Open | 13 days,10 hours
34376 | - | Dear Team, This is to inform you that A&J block security land phones are not working. Pls look into ... | telephone | L1 | Open | 13 days,20 hours
34375 | K - 501 | Need to fix washing machine angle cock | Plumbing | L1 | Closed | 22 minutes
34374 | D - 14B2 | Need to fix kitchen door screws | Carpentery | L1 | Closed | 23 minutes
34373 | H - 503 | Washing machine pipe leakage | Plumbing - Washing machine | L1 | Closed | 25 minutes
34372 | M - 1701 | Need to adjust the draw channel set | Carpentery | L1 | Closed | 29 minutes
34371 | A - 1701 | Need to adjust draw channel set | Carpentery | L1 | Cancelled | 13 days,21 hours
34370 | I - 14B4 | Need a carpenter | Carpentery | L1 | Closed | 31 minutes
34369 | C - 1104 | Need a plumber | Plumbing | L1 | Closed | 31 minutes
34368 | F - 601 | Utility blockage | Plumbing-Utility Blockage | L1 | Closed | 32 minutes
34367 | L - 1904 | Kitchen sink blockage | Plumbing-Sink Blockage/Leakage | L1 | Closed | 33 minutes
34366 | N - 1603 | Kitchen sink tap lose | Plumbing | L1 | Closed | 34 minutes
34365 | E - 702 | Switch board problem | Electrical | L1 | Closed | 30 minutes
34364 | E - 1903 | Flush tank leakage | Plumbing-Flushing Water | L1 | Closed | 28 minutes
34363 | - | the flush is not working | Plumbing-Flushing Water | L1 | Closed | 35 minutes
34362 | M - 1802 | Need to fix main door stopper | Carpentery | L1 | Closed | 36 minutes
34361 | G - 2003 | Dear Ravi Teja, There is external seepage impacting in flat # G-2003, Please take it forward. | Seepage / Civil Works | L1 | Closed | 2 days,1 hour
34360 | - | There are various patches on the ORR and the sections of the areas outside the block entries where t... | Civil | L1 | Open | 14 days,3 hours
34359 | I - 603 | Send plumber immediately | Plumbing-Sink Blockage/Leakage | L3 | Closed | 13 hours ,56 minutes
34358 | A - 302 | To be fix seat cover screws. | Plumbing - Seat cover screw | L2 | Closed | 2 hours ,31 minutes
34357 | N - 403 | To be flush tank cleaned. | Plumbing-Flushing Water | L1 | Closed | 10 minutes
34356 | K - 501 | Tap leakage . | Plumbing-Tap Leakages | L1 | Closed | 11 minutes
34355 | M - 1902 | Calling bell not working. | Electrical | L1 | Closed | 39 minutes
34354 | N - 403 | Need an electrician. | Electrical | L1 | Closed | 40 minutes
34353 | A - 1202 | To be fix door magnet. | Carpentery | L1 | Closed | 42 minutes
34352 | C - 903 | Need a carpentery service. | Carpentery | L1 | Closed | 45 minutes
34351 | D - 1704 | To be fix gas pipe. | LPG Gas Refill / Repair | L1 | Closed | 24 minutes
34350 | G - 1101 | Smell problem. | Plumbing | L1 | Closed | 20 minutes
34349 | K - 803 | Tap blockage . | Plumbing | L1 | Closed | 20 minutes
34348 | B - 104 | One of the tubelights is not working. Can we have someone check and fix it please | Electrical-Tube Light | L1 | Closed | 1 hour ,12 minutes
34347 | M - 203 | M203- My maintenance paid through online on 8th April is not reflected and I haven't received acknow... | Accounts | L1 | Closed | 42 minutes
34346 | J - 501 | In J Block, ground floor, 1 fire extinguisher is missing for many many days. Can you explain ?. and ... | Fire & safety-Extinguishers | L1 | Closed | 4 hours ,21 minutes
34345 | - | we gave ten clothes for ironing on Saturday to ironing person on c -1 . we are in B 1804. it was pro... | Lost & Found | L1 | Closed | 10 hours ,49 minutes
34344 | I - 1201 | Need a carpentery service. | Carpentery | L1 | Closed | 3 minutes
34343 | H - 1104 | Sink blockage . | Plumbing-Sink Blockage/Leakage | L1 | Closed | 17 minutes
34342 | H - 901 | Need to chainge faucet pipe. | Plumbing-Health Faucet | L1 | Closed | 23 minutes
34341 | D - 801 | Drill work . | Carpentry-Drilling | L1 | Closed | 1 minute
34340 | C - 503 | Need a plumber. | Plumbing | L1 | Closed | 20 minutes
34339 | C - 1001 | Tube light problem. | Electrical-Tube Light | L1 | Closed | 20 minutes
34338 | C - 503 | Need a carpentery service. | Carpentery | L1 | Closed | 19 minutes
34337 | M - 1202 | Need a carpentery service. | Carpentery | L1 | Closed | 19 minutes
34336 | L - 1904 | Bottle trap leakage . | Plumbing - Bottle trap | L1 | Closed | 20 minutes
34335 | M - 14B2 | Tube not working. | Electrical-Tube Light | L1 | Closed | 20 minutes
34334 | G - 1201 | Wash basin blockage. | Plumbing-Wash Basin Blockage | L1 | Closed | 20 minutes
34333 | K - 904 | Switch problem. | Electrical - Socket/Switches | L1 | Closed | 20 minutes
34332 | D - 801 | Wash basin blockage. | Plumbing-Wash Basin Blockage | L1 | Closed | 21 minutes
34331 | G - 802 | Kitchen sink tap leakage. | Plumbing-Tap Leakages | L1 | Closed | 21 minutes
34330 | M - 304 | To be fix health faucet pipe . | Plumbing-Accessories fix | L1 | Closed | 21 minutes
34329 | G - 603 | Wash basin blockage . | Plumbing-Wash Basin Blockage | L1 | Closed | 22 minutes
34328 | D - 1502 | Dirty water getting. | Plumbing-Murky Water | L1 | Closed | 22 minutes
34327 | I - 14A3 | Washing machine pipe leaking. | Plumbing - Washing machine | L1 | Closed | 25 minutes
34326 | K - 1702 | Wash room blockage . | Plumbing-Bath Room Drain Block | L1 | Closed | 22 minutes
34325 | D - 14A3 | hand shower leakage | Plumbing - Water leakage | L1 | Closed | 1 hour ,18 minutes
34324 | G - 703 | Bed room door locked. | Carpentry-Door Lock / Cylinder | L1 | Closed | 1 hour ,33 minutes
34323 | D - 14A3 | We had 2 separate incidents with a driver Mahesh driving a Fortuner car (for the house D-1102). 1) A... | Security - Others | L1 | Closed | 34 minutes
34322 | H - 2001 | Water is not getting. | Plumbing | L1 | Closed | 37 minutes
34321 | F - 801 | Need a plumber. | Plumbing | L1 | Closed | 36 minutes
34320 | B - 1702 | Utility blockage . | Plumbing-Utility Blockage | L1 | Closed | 31 minutes
34319 | C - 1702 | Kitchen sink blockage . | Plumbing-Sink Blockage/Leakage | L1 | Closed | 31 minutes
34318 | D - 1504 | Tap leakage. | Plumbing-Tap Leakages | L1 | Closed | 30 minutes
34317 | H - 901 | Kitchen sink blockage . | Plumbing-Sink Blockage/Leakage | L1 | Closed | 32 minutes
34316 | M - 1602 | Kitchen sink blockage . | Plumbing-Sink Blockage/Leakage | L1 | Closed | 34 minutes
34315 | - | I need for a few Drilling | Carpentry-Drilling | L1 | Closed | 3 hours ,30 minutes
34314 | L - 1901 | Gym needs attention . - Leg extension/ curl machines are out of order for almost a month due to brok... | Club House | L3 | In progress | 16 days,13 hours
34313 | I - 903 | Tap leakage . | Plumbing-Tap Leakages | L1 | Closed | 23 minutes
34312 | K - 804 | Switch problem. | Electrical - Socket/Switches | L1 | Closed | 23 minutes
34311 | J - 402 | Fan sound problem. | Electrical - Fan problem | L1 | Closed | 23 minutes
34310 | D - 14A1 | Flush water smell problem. | Plumbing-Flushing Water | L1 | Closed | 53 minutes
34309 | K - 1201 | Kitchen sink blockage. | Plumbing-Sink Blockage/Leakage | L1 | Closed | 52 minutes
34308 | A - 1602 | Tap leakage . | Plumbing-Tap Leakages | L1 | Closed | 52 minutes
34307 | A - 1501 | Need aplumber. | Plumbing | L1 | Closed | 51 minutes
34306 | C - 14B3 | To be fix tap. | Plumbing | L1 | Closed | 51 minutes
34305 | N - 1503 | Tap leakage. | Plumbing | L1 | Closed | 52 minutes
34304 | N - 2001 | Utility blockage. | Plumbing-Utility Blockage | L1 | Closed | 54 minutes
34303 | L - 501 | To be fix R.O pipe. | Plumbing | L1 | Closed | 55 minutes
34302 | I - 903 | To be fix gas pipe. | Gas-New Gas Connection | L1 | Closed | 56 minutes
34301 | M - 304 | Faucet leakage . | Plumbing-Health Faucet | L1 | Closed | 57 minutes
34300 | J - 1202 | Kitchen sink blockage. | Plumbing-Sink Blockage/Leakage | L1 | Closed | 19 minutes
34299 | K - 1503 | To be fix hwealth faucet stand | Plumbing-Accessories fix | L1 | Closed | 19 minutes
34298 | I - 302 | Utility blockage. | Plumbing-Utility Blockage | L1 | Closed | 43 minutes
34297 | E - 401 | Utility blockage . | Plumbing-Utility Blockage | L1 | Closed | 42 minutes
34296 | G - 401 | To be fix tap . | Plumbing | L1 | Closed | 50 minutes
34295 | - | The corridor light at lift door is not working for the last 3 weeks. Complained twice earlier. No re... | Electrical - Corridor light | L1 | Closed | 23 hours ,47 minutes
34294 | L - 403 | To be cleane flush tank. | Plumbing-Flushing Water | L1 | Closed | 7 minutes
34293 | B - 14B2 | Tap blockage . | Plumbing | L1 | Closed | 7 minutes
34292 | D - 1203 | Pipe leakage . | Plumbing | L1 | Closed | 5 minutes
34291 | L - 1204 | To be fix bottle trap . | Plumbing - Bottle trap | L1 | Closed | 5 minutes
34290 | D - 1803 | Need a carpentery service. | Carpentery | L1 | Closed | 27 minutes
34289 | A - 1901 | Drill work. | Carpentry-Drilling | L1 | Closed | 27 minutes
34288 | C - 14A2 | Need an electrician. | Electrical | L1 | Closed | 4 minutes
34287 | M - 202 | Need a gas technician. | LPG Gas Refill / Repair | L1 | Closed | 3 minutes
34286 | I - 1004 | Need to replace tube . | Electrical | L1 | Closed | 4 minutes
34285 | A - 14A1 | Need an electrician. | Electrical | L1 | Closed | 4 minutes
34284 | A - 502 | Need to replace tube light. | Electrical-Tube Light | L1 | Closed | 24 minutes
34283 | D - 403 | Foul smell coming from child bathroom drain. Please check and address issue. | Plumbing | L1 | Closed | 1 hour ,24 minutes
34282 | D - 1702 | there is a seepage in th roof and wall in our master bedroom. Based on the assesment of an independe... | Seepage / Civil Works | L1 | Open | 17 days,20 hours
34281 | L - 1204 | Need to fix tube light . | Electrical-Tube Light | L1 | Closed | 11 minutes
34280 | - | The Intercom headset is broken, Could you replace it | telephone | L1 | Open | 17 days,21 hours
34279 | J - 1202 | Need to replace tube. | Electrical-Tube Light | L1 | Closed | 10 minutes
34278 | M - 102 | Need an electrician. | Electrical | L1 | Closed | 3 minutes
34277 | - | Need to get a few Drilling Fix | Carpentry-Drilling | L1 | Closed | 1 hour ,37 minutes
34276 | - | To Fix a Tube light.. Please bring ladder | Electrical-Tube Light | L1 | Closed | 2 hours ,6 minutes
34275 | B - 1901 | Need a carpentery service. | Carpentery | L1 | Closed | 10 minutes
34274 | N - 2001 | Need a carpentery service. | Carpentery | L1 | Closed | 18 minutes
34273 | F - 1503 | New gas connection. | Gas-New Gas Connection | L1 | Closed | 9 minutes
34272 | L - 1103 | Tap blockage . | Plumbing | L1 | Closed | 33 minutes
34271 | G - 401 | To be fix shower. | Plumbing - Hand shower | L1 | Closed | 33 minutes
34270 | L - 502 | Wash basin blockage. | Plumbing-Wash Basin Blockage | L1 | Closed | 33 minutes
34269 | B - 1904 | Tap leakage . | Plumbing-Tap Leakages | L1 | Closed | 19 minutes
34268 | D - 1502 | Utility blockage . | Plumbing-Utility Blockage | L1 | Closed | 19 minutes
34267 | C - 1904 | As usual, garbage from C-1904 was kept out before 0900 hrs yesterday, the 12th April. It wasn't coll... | Housekeeping | L1 | Closed | 46 minutes
34266 | L - 1503 | Utility blockage has been cleared. | Plumbing-Utility Blockage | L1 | Closed | Now
34265 | K - 403 | Utility blockage . | Plumbing-Utility Blockage | L1 | Closed | 20 minutes
34264 | E - 601 | Wash basin blockage. | Plumbing-Wash Basin Blockage | L1 | Closed | 20 minutes
34263 | F - 201 | To be fix A.C Stabilizer. | Electrical | L1 | Closed | 21 minutes
34262 | F - 404 | Need an electrician. | Electrical-Tube Light | L1 | Closed | 20 minutes
34261 | L - 804 | Fan problem. | Electrical - Fan problem | L1 | Closed | 21 minutes
34260 | L - 1902 | Tube light problem. | Electrical-Tube Light | L1 | Closed | 22 minutes
34259 | G - 602 | Water leaking from above floor. | Plumbing - Water leakage | L1 | On hold | 18 days,19 hours
34258 | K - 14B1 | This is the leakage K14B1 near electric bulb and it's due to leakage from K 1501 please attend it as... | Civil | L1 | Open | 18 days,20 hours
34257 | B - 1503 | Wash basin blockage. | Plumbing-Wash Basin Blockage | L1 | Closed | 27 minutes
34256 | L - 1204 | Wash basin blockage. | Plumbing-Wash Basin Blockage | L1 | Closed | 26 minutes
34255 | G - 801 | To be fix shower . | Plumbing - Hand shower | L1 | Closed | 47 minutes
34254 | N - 103 | ELCB tripped. | Electrical-ELCB Tripping | L1 | Closed | 54 minutes
34253 | G - 201 | MCB tripped, | Electrical-ELCB Tripping | L1 | Closed | 54 minutes
34252 | A - 1502 | Switch problem. | Electrical - Socket/Switches | L1 | Closed | 1 hour ,4 minutes
34251 | G - 1801 | To be fix door stopper. | Carpentery | L1 | Closed | 50 minutes
34250 | L - 14B3 | Need an electrician. | Electrical | L1 | Closed | 51 minutes
34249 | M - 302 | Health faucet gun leaking. | Electrical | L1 | Closed | 3 hours ,26 minutes
34248 | J - 1704 | To be fix gas pipe. | LPG Gas Refill / Repair | L1 | Closed | 56 minutes
34247 | B - 501 | Health faucet pipe leaking. | Plumbing-Health Faucet | L1 | Closed | 57 minutes
34246 | G - 301 | There is a bee hive on the entrance of G block since last 3 weeks or so. I have raised the complaint... | General | L1 | On hold | 19 days,2 hours
34245 | - | Our flat K1603 was locked and closed and water electricity and piped gas were disconnected on my req... | Accounts | L1 | Closed | 1 hour ,44 minutes
34244 | L - 404 | The sliding door lock handle came off. Can you please send somebody to fix it? | UPVC-Sliding Door Lock | L1 | Closed | 19 hours ,17 minutes
34243 | I - 603 | Need electrician | Electrical - Fan problem | L1 | Closed | 3 hours ,32 minutes
34242 | I - 603 | Need plumber | Plumbing-Utility Blockage | L1 | Closed | 3 hours ,5 minutes
34241 | H - 803 | Replace tube light | Electrical-Tube Light | L1 | Closed | 4 hours ,22 minutes
34240 | L - 14B2 | leakage in master bedroom. | Plumbing - Leakage on Ceiling | L2 | On hold | 20 days,14 hours
34239 | M - 1201 | The average consumption for Gas has been 4-5 kgs every month. However March bill shows 16 kgs as con... | Gas-Meter Problem | L1 | Closed | 17 days,20 hours
34238 | H - 14B2 | I see outstanding utility bill as 2135 but it has been paid by me on 25th March. below is the confir... | Accounts | L1 | Closed | 7 hours ,59 minutes
34237 | K - 1504 | Flush tank leakage from above floor | Plumbing | L1 | Closed | 1 hour ,13 minutes
34236 | B - 1701 | Dear, Sritel landline is not functional. No response on internal phone. Please direct them to rest... | Sritel (Internet, Landline) | L1 | Open | 20 days,18 hours
34235 | F - 103 | Need to replace socket in kitchen | Electrical | L1 | Closed | 35 minutes
34234 | M - 1203 | MBR bathroom blockage | Plumbing | L1 | Closed | 33 minutes
34233 | N - 804 | Switch problem | Electrical | L1 | Closed | 35 minutes
34232 | M - 903 | Sink blockage | Plumbing-Sink Blockage/Leakage | L1 | Closed | 35 minutes
34231 | E - 1104 | Utility blockage | Electrical | L1 | Closed | 34 minutes
34230 | B - 14A2 | Kitchen bottle trap blockage | Plumbing - Bottle trap | L1 | Closed | 32 minutes
34229 | L - 804 | Need a electrician | Electrical - Fan problem | L1 | Closed | 37 minutes
34228 | D - 403 | Kitchen light switch faulty. Unable to work. | Electrical - Socket/Switches | L1 | Closed | 1 hour ,13 minutes
34227 | D - 1702 | Some tubelights not working. | Electrical-Tube Light | L1 | Closed | 2 hours ,7 minutes
34226 | D - 1702 | Holes for cable passage in tv cabinet. | Carpentry-Drilling | L1 | Closed | 2 hours ,22 minutes
34225 | I - 14B4 | To be replace tube light . | Electrical-Tube Light | L1 | Closed | 3 minutes
34224 | G - 1504 | Need a carpentery service. | Carpentery | L1 | Closed | 34 minutes
34223 | K - 14A4 | Need an electrician. | Electrical - Socket/Switches | L1 | Closed | 1 hour ,43 minutes
34222 | H - 1704 | Need an electrician. | Electrical - Socket/Switches | L1 | Closed | 15 minutes
34221 | E - 203 | Need to replace tube . | Electrical-Tube Light | L1 | Closed | 10 minutes
34220 | H - 1704 | Kitchen sink blockage . | Plumbing-Sink Blockage/Leakage | L1 | Closed | 15 minutes
34219 | K - 14A4 | AC out let information. | Plumbing | L1 | Closed | 10 minutes
34218 | I - 702 | Kitchen sink blockage . | Plumbing-Sink Blockage/Leakage | L1 | Closed | 11 minutes
34217 | G - 1504 | Flush continuously problem. | Plumbing-Flushing Water | L1 | Closed | 13 minutes
34216 | F - 1502 | Fan problem. | Electrical - Fan problem | L1 | Closed | 16 minutes
34215 | F - 1001 | Need a gas technician. | LPG Gas Refill / Repair | L1 | Closed | 13 minutes
34214 | F - 1004 | A.C drain pipe line blockage. | Civil | L1 | Open | 22 days
34213 | H - 304 | Health faucet pipe leakage. | Plumbing-Health Faucet | L1 | Closed | 20 minutes
34212 | I - 1201 | Need an electrician. | Electrical | L1 | Closed | 21 minutes
34211 | G - 1204 | Switch problem. | Electrical - Socket/Switches | L1 | Closed | 19 minutes
34210 | M - 14B4 | Wash basin blockage . | Plumbing-Wash Basin Blockage | L1 | Closed | 52 minutes
34209 | M - 14B3 | To be fix seat cover . | Plumbing - Seat cover | L2 | Closed | 4 hours ,8 minutes
34208 | A - 404 | Utility blockage . | Plumbing-Utility Blockage | L1 | Closed | 54 minutes
34207 | I - 1502 | A.C problem. | Electrical | L1 | Closed | 59 minutes
34206 | L - 804 | Fan not working. | Electrical - Fan problem | L1 | Closed | 1 hour ,0 minutes
34205 | K - 1004 | ELCB tripped. | Electrical-ELCB Tripping | L1 | Closed | 1 hour ,3 minutes
34204 | J - 402 | Fix lights asap | Electrical - Corridor light | L1 | Closed | 7 hours ,28 minutes
34203 | A - 1901 | Need an electrician. | Electrical | L1 | Closed | Now
34202 | D - 501 | Faucet leakage. | Plumbing-Health Faucet | L1 | Closed | 27 minutes
34201 | K - 14B1 | Faucet leakage. | Plumbing-Health Faucet | L1 | Closed | 30 minutes
34200 | E - 204 | Trap blockage. | Plumbing | L1 | Closed | 31 minutes
34199 | J - 14B3 | Door locked. | Carpentry-Door Lock / Cylinder | L1 | Closed | 30 minutes
34198 | I - 1802 | Have to check tube light. | Electrical-Tube Light | L1 | Closed | 57 minutes
34197 | M - 402 | Sink blockage. | Plumbing-Sink Blockage/Leakage | L1 | Closed | 57 minutes
34196 | L - 1101 | Need an electrician. | Electrical | L1 | Closed | 56 minutes
34195 | F - 1204 | Water leakage . | Plumbing - Water leakage | L1 | Closed | 52 minutes
34194 | F - 1503 | Flat entering ,EB &gas; readings. | Electrical | L1 | Closed | 1 hour ,13 minutes
34193 | F - 1503 | To be fix washing machine. | Plumbing - Washing machine | L1 | Closed | 56 minutes
34192 | M - 102 | Need an electrician. | Electrical - Fan problem | L1 | Closed | 55 minutes
34191 | C - 1002 | Sink blockage. | Plumbing-Sink Blockage/Leakage | L1 | Closed | 54 minutes
34190 | N - 204 | Need a carpentery service. | Carpentery | L1 | Closed | 53 minutes
34189 | N - 204 | Switch problem. | Electrical - Socket/Switches | L1 | Closed | 49 minutes
34188 | - | Hi, MCB tripping again today, and the electricity supply to flat is not working. Please get this ch... | Electrical-M C B Tripping | L2 | Closed | 2 hours ,48 minutes
34187 | H - 1704 | New gas connection . | Gas-New Gas Connection | L1 | Closed | 1 hour ,8 minutes
34186 | M - 201 | Hand shower leakage. | Plumbing - Hand shower | L1 | Closed | 1 hour ,9 minutes
34185 | D - 1502 | To be fix health faucet stand. | Plumbing-Health Faucet | L1 | Closed | 1 hour ,4 minutes
34184 | B - 803 | Need a carpentery service. | Carpentry-Door Lock / Cylinder | L1 | Closed | 23 minutes
34183 | K - 804 | Need to fix screws. | Carpentery | L1 | Closed | 24 minutes
34182 | K - 1503 | Need drill work. | Carpentry-Drilling | L1 | Closed | 26 minutes
34181 | F - 14B2 | Need a carpentery service. | Carpentry-Door Lock / Cylinder | L1 | Closed | 26 minutes
34180 | J - 502 | One of the switches is stuck. Please send an electrician to look into it. | Electrical - Socket/Switches | L1 | Closed | 1 hour ,11 minutes
34179 | G - 604 | Switch not working. | Electrical-Switch Not Working | L1 | Closed | 28 minutes
34178 | D - 904 | Need an electrician. | Electrical | L1 | Closed | 28 minutes
34177 | B - 104 | The sitting area opposite F block (open area with trees) is very dirty. Please clean the same. Thank... | Housekeeping | L1 | Closed | 12 hours ,17 minutes
34176 | H - 803 | Replace tube light in bedroom | Electrical-Tube Light | L1 | Closed | 59 minutes
34175 | K - 504 | Need to replace tube set . | Electrical-Tube Light | L1 | Closed | 7 minutes
34174 | E - 201 | Hand shower leakage . | Plumbing - Hand shower | L1 | Closed | 12 minutes
34173 | C - 1802 | Need an electrician, | Electrical | L1 | Closed | 13 minutes
34172 | E - 1101 | Need to check exhaust fan. | Electrical-Exhaust Fan | L1 | Closed | 13 minutes
34171 | F - 103 | Need an electrician. | Electrical | L1 | Closed | 13 minutes
34170 | A - 603 | Need a plumber. | Plumbing | L1 | Closed | 12 minutes
34169 | J - 503 | Kitchen sink blockage. | Plumbing-Sink Blockage/Leakage | L1 | Closed | 15 minutes
34168 | K - 1902 | Kitchen sink blockage. | Plumbing-Sink Blockage/Leakage | L1 | Closed | 15 minutes
34167 | B - 102 | Flush tank leakage. | Plumbing-Flushing Water | L1 | Closed | 16 minutes
34166 | E - 201 | Need a carpentery service. | Carpentery | L1 | Closed | 14 minutes
34165 | J - 1003 | Wash room door locked. | Carpentry-Door Lock / Cylinder | L1 | Closed | 14 minutes
34164 | H - 1804 | Need an electrician. | Electrical | L1 | Closed | 11 minutes
34163 | M - 804 | Washroom door locked. | Carpentry-Door Lock / Cylinder | L1 | Closed | 11 minutes
34162 | A - 1202 | Need to replace fallceilling light . | Electrical | L1 | Closed | 7 minutes
34161 | B - 14B4 | Need a carpentery service. | Carpentery | L1 | Closed | 7 minutes
34160 | J - 2002 | Kitchen tap leakage . | Plumbing-Tap Leakages | L1 | Closed | 9 minutes
34159 | F - 14A2 | To be fix acquagaurd . | Plumbing-Accessories fix | L1 | Closed | 9 minutes
34158 | G - 304 | Flush leakage . | Plumbing-Flushing Water | L1 | Closed | 18 minutes
34157 | L - 1104 | Balcony door locked. | Carpentery | L1 | Closed | 18 minutes
34156 | I - 14A3 | Need an electrician. | Electrical | L1 | Closed | 16 minutes
34155 | H - 1604 | New gas connection. | Gas-New Gas Connection | L1 | Closed | 17 minutes
34154 | C - 1901 | Acqua gaurd problem. | Plumbing | L1 | Closed | 18 minutes
34153 | N - 14B4 | Need to remove clothes hanger. | Carpentery | L1 | Closed | 16 minutes
34152 | I - 1103 | Need an electrician. | Electrical | L1 | Closed | 36 minutes
34151 | N - 14B4 | Final readings . | Electrical | L1 | Closed | 43 minutes
34150 | H - 402 | Need an electrician. | Electrical | L1 | Closed | 32 minutes
34149 | A - 1102 | Need to replace tube set . | Electrical-Tube Light | L1 | Closed | 32 minutes
34148 | K - 403 | New gas connection. | Gas-New Gas Connection | L1 | Closed | 33 minutes
34147 | H - 1703 | Fan problem. | Electrical - Fan problem | L1 | Closed | 39 minutes
34146 | I - 203 | To be chainge faucet pipe . | Plumbing-Health Faucet | L1 | Closed | 41 minutes
34145 | H - 1602 | Balcony spot painting white colour | Civil | L1 | Cancelled | 24 days,5 hours
34144 | - | emergency stop switch of passenger lift in L block is missing. Pl fix it. | Lifts | L3 | Closed | 24 days,4 hours
34143 | I - 904 | Two cycles have been stolen / are missing . they were parked in front of I-904 (my apartment). they ... | Security - Others | L1 | Closed | 6 hours ,10 minutes
34142 | - | Hi, Electric supply is not available in my flat I-1503, the MCB keeps tripping. please check urgen... | Electrical-M C B Tripping | L2 | Closed | 10 hours ,35 minutes
34141 | L - 903 | To be fix hand shower pipe. | Plumbing - Hand shower | L1 | Closed | 2 minutes
34140 | B - 1804 | Health faucet leakage. | Plumbing-Health Faucet | L1 | Closed | 3 minutes
34139 | H - 1704 | Geyser leakage . | Plumbing-Geyser Fixing | L1 | Closed | 17 minutes
34138 | N - 1901 | Sink blockage . | Plumbing-Sink Blockage/Leakage | L1 | Closed | 17 minutes
34137 | C - 1802 | R.O problem. | Plumbing | L1 | Closed | 17 minutes
34136 | G - 1901 | ELCB tripped. | Electrical-ELCB Tripping | L1 | Closed | 5 minutes
34135 | J - 804 | Switch problem. | Electrical - Socket/Switches | L1 | Closed | 21 minutes
34134 | C - 1703 | To be replace tube. | Electrical-Tube Light | L1 | Closed | 22 minutes
34133 | G - 902 | Need an electrician. | Electrical | L1 | Closed | 24 minutes
34132 | C - 601 | To be clean flush tank. | Plumbing-Flushing Water | L1 | Closed | 25 minutes
34131 | H - 1704 | Need an electrician. | Electrical | L1 | Closed | 26 minutes
34130 | L - 204 | Switch problem. | Electrical - Socket/Switches | L1 | Closed | 1 hour ,5 minutes
34129 | - | Hi, Intercom # 9999 is not working since yesterday. Please rectify immediately. Narasimhan | telephone | L1 | Open | 25 days,23 hours
34128 | - | please send the plumber | Plumbing-Health Faucet | L1 | Closed | 1 hour ,39 minutes
34127 | A - 603 | Draw channel have to remove. | Carpentery | L1 | Closed | 14 minutes
34126 | I - 604 | Switch is damaged. Need help in getting a new switch and fixing it | Electrical - Socket/Switches | L1 | Closed | 2 hours ,16 minutes
34125 | L - 14B4 | Need to fix door stopper. | Carpentry-Door Stopper / Latch | L1 | Closed | 40 minutes
34124 | J - 1701 | Switch not working. | Electrical-Switch Not Working | L1 | Closed | 43 minutes
34123 | L - 703 | Blockage. | Plumbing-Sink Blockage/Leakage | L1 | Closed | 43 minutes
34122 | E - 301 | To be replace tube light. | Electrical-Tube Light | L1 | Closed | 42 minutes
34121 | I - 604 | Bathroom commode leakage | Plumbing - Commode leakage | L1 | Closed | 1 hour ,12 minutes
34120 | I - 1503 | Voltage fluctuations in I block- 1503 Some equipment got damaged. | Electrical-M C B Tripping | L3 | Closed | 10 hours ,38 minutes
34119 | B - 1002 | Need a plumber again Tap problem again in kitchen sink | Plumbing | L1 | Closed | 14 hours ,49 minutes
34118 | - | There is a lot debris near I block parking, close to foyer window. That has now become a common plac... | Vehicle Parking | L1 | On hold | 26 days,16 hours
34117 | E - 1904 | Need to fix gas pipe . | Gas-New Gas Connection | L1 | Closed | 1 minute
34116 | J - 402 | Lights not working in corridor for J402, please fix it asap. | Electrical-Tube Light | L1 | Closed | 2 hours ,28 minutes
34115 | M - 202 | Flush leakage . | Plumbing-Flushing Water | L1 | Closed | 30 minutes
34114 | D - 14B1 | Wash basin blockage. | Plumbing-Wash Basin Blockage | L1 | Closed | 30 minutes
34113 | D - 604 | Need an electrician, | Electrical | L1 | Closed | 21 minutes
34112 | J - 502 | Sochet problem. | Electrical - Socket/Switches | L1 | Closed | 22 minutes
34111 | B - 1002 | No water in kitchen sink - pls send plumber | Plumbing-Trap Chocking / Seals | L1 | Closed | 1 hour ,12 minutes
34110 | B - 1801 | Have to check geyser. | Plumbing | L1 | Closed | 31 minutes
34109 | B - 803 | Flush leakage. | Plumbing-Flushing Water | L1 | Closed | 32 minutes
34108 | F - 601 | Need a plumber. | Plumbing | L1 | Closed | 32 minutes
34107 | F - 704 | Elcb tripped. | Electrical-ELCB Tripping | L1 | Closed | 27 minutes
34106 | L - 1503 | To be chainge faucet gun. | Plumbing-Health Faucet | L1 | Closed | 1 hour ,21 minutes
34105 | H - 1001 | Utility blockage. | Plumbing-Utility Blockage | L1 | Closed | 1 hour ,32 minutes
34104 | G - 1803 | Wash basin blockage. | Plumbing-Wash Basin Blockage | L1 | Closed | 1 hour ,27 minutes
34103 | A - 202 | To be fix washing machine pipe. | Plumbing - Washing machine | L1 | Closed | 1 hour ,31 minutes
34102 | G - 14B2 | Need a carpentery service. | Carpentery | L1 | Closed | 8 minutes
34101 | N - 102 | New gas connection. | Gas-New Gas Connection | L1 | Closed | 5 minutes
34100 | L - 604 | Need a carpentery service. | Carpentery | L1 | Closed | 6 minutes
34099 | B - 1002 | Intercom is Not working and we have been contacting Sritel office last 2/3 days in person | Sritel (Internet, Landline) | L1 | Open | 27 days
34098 | I - 404 | Sochet problem. | Electrical | L1 | Closed | 12 minutes
34097 | H - 102 | Need an electrician. | Electrical | L1 | Closed | 23 minutes
34096 | H - 1704 | Final readings. | Electrical | L1 | Closed | 35 minutes
34095 | L - 604 | To be replace tube set . | Electrical-Tube Light | L1 | Closed | 1 hour ,8 minutes
34094 | - | J block 6th floor corridor light for J 603 and 604 not working | Electrical - Corridor light | L1 | Closed | 10 hours ,8 minutes
34093 | I - 1702 | Need a electrician | Electrical | L1 | Closed | 15 minutes
34092 | L - 14B4 | Need a plumber | Plumbing | L1 | Closed | 17 minutes
34091 | C - 2001 | Need to replace tube light | Electrical | L1 | Closed | 16 minutes
34090 | H - 1204 | Need to fill utility gap | Plumbing | L1 | Closed | 16 minutes
34089 | E - 1104 | Need a electrician to explain AC routing | Electrical | L1 | Closed | 17 minutes
34088 | I - 502 | Kitchen tube light problem | Electrical | L1 | Closed | 17 minutes
34087 | L - 203 | Tube light problem | Electrical | L1 | Closed | 17 minutes
34086 | I - 402 | Fan switch problem | Electrical | L1 | Closed | 20 minutes
34085 | K - 403 | Need a carpenter | Carpentery | L1 | Closed | 19 minutes
34084 | N - 401 | Need to adjust pressure | Plumbing | L1 | Closed | 20 minutes
34083 | G - 1104 | Need to fix door stopper | Carpentery | L1 | Closed | 20 minutes
34082 | J - 503 | Need a electrician to explain AC routing | Electrical | L1 | Closed | 20 minutes
34081 | A - 202 | Washing machine pipe problem | Plumbing | L1 | Closed | 21 minutes
34080 | M - 503 | Washing machine tap leakage | Plumbing | L1 | Closed | 21 minutes
34079 | G - 604 | Kitchen tap problem | Plumbing | L1 | Closed | 21 minutes
34078 | I - 901 | Utility blockage | Plumbing | L1 | Closed | 21 minutes
34077 | A - 902 | Need to check all bathrooms | Plumbing | L1 | Closed | 23 minutes
34076 | F - 601 | Need a plumber | Plumbing | L1 | Closed | 22 minutes
34075 | L - 601 | Need a electrician | Electrical | L1 | Closed | 23 minutes
34074 | M - 603 | Kitchen sink tap leakage | Plumbing-Tap Leakages | L1 | Closed | 22 minutes
34073 | M - 2003 | Our intercom is not working. Please resolve. | telephone | L1 | Open | 28 days
34072 | G - 14A2 | I moved into G14A2 only 3 weeks back. The house was empty from December for 3 months. But I see ecle... | Civil/Project-Seepage | L1 | Closed | 8 hours ,15 minutes
34071 | J - 1003 | To be fix gas pipe. | Gas-New Gas Connection | L1 | Closed | 10 minutes
34070 | E - 1201 | Utility blockage . | Plumbing-Utility Blockage | L1 | Closed | 1 minute
34069 | D - 301 | Sink blockage. | Plumbing-Sink Blockage/Leakage | L1 | Closed | 3 minutes
34068 | J - 402 | Wash basin blckage. | Plumbing-Wash Basin Blockage | L1 | Closed | 2 hours ,2 minutes
34067 | B - 14B1 | Sink blockage. | Plumbing-Sink Blockage/Leakage | L1 | Closed | 2 hours ,3 minutes
34066 | A - 2001 | Tap leakage. | Plumbing-Tap Leakages | L1 | Closed | 2 hours ,3 minutes
34065 | M - 14B3 | Water leakage. | Plumbing | L1 | Closed | 2 hours ,6 minutes
34064 | H - 802 | Tube light not working. | Electrical-Tube Light | L1 | Closed | 2 hours ,9 minutes
34063 | F - 502 | Need a carpentery service. | Carpentery | L1 | Closed | 2 hours ,8 minutes
34062 | L - 203 | Tube not working. | Electrical-Tube Light | L1 | Closed | 1 hour ,22 minutes
34061 | D - 103 | Tap leakage. | Plumbing-Tap Leakages | L1 | Closed | 1 hour ,21 minutes
34060 | I - 1804 | Door strucked. | Carpentery | L1 | Closed | 1 hour ,17 minutes
34059 | M - 703 | Have to drill work. | Carpentry-Drilling | L1 | Closed | 1 hour ,17 minutes
34058 | E - 1203 | Kitchen sink blockage. | Plumbing-Sink Blockage/Leakage | L1 | Closed | 1 hour ,17 minutes
34057 | I - 14B3 | T o be fix bottle trap. | Plumbing - Bottle trap | L1 | Closed | 1 hour ,15 minutes
34056 | H - 201 | Health faucet pipe leakage. | Plumbing-Health Faucet | L1 | Closed | 1 hour ,4 minutes
34055 | G - 1104 | Need a plumber. | Plumbing - Bottle trap | L1 | Closed | 54 minutes
34054 | - | I am not getting has in my apartment.pl act immediately | Gas-Brazing Leakage | L1 | Closed | 41 minutes
34053 | E - 1201 | Need to check calling bell. | Electrical | L1 | Closed | 42 minutes
34052 | E - 403 | Need an electrician. | Electrical | L1 | Closed | 38 minutes
34051 | C - 1003 | Need a carpentery service. | Carpentry-Door Stopper / Latch | L1 | Closed | 38 minutes
34050 | G - 1104 | Need to check exhaust fan. | Electrical-Exhaust Fan | L1 | Closed | 43 minutes
34049 | N - 14A3 | New gas connecion. | Gas-New Gas Connection | L1 | Closed | 43 minutes
34048 | E - 904 | Final readings. | Electrical | L1 | Closed | 3 minutes
34047 | - | Hi, The person who came to fix asked for a new valve. I have brought and fixed it. The gas is s... | Gas-New Gas Connection | L1 | Closed | 1 hour ,23 minutes
34046 | E - 803 | The water pressure is too low in MBR bathroom and the water is not filling in the flush tank. Please... | Plumbing | L1 | Closed | 5 hours ,27 minutes
34045 | K - 14A4 | Wash basin blockage . | Plumbing-Wash Basin Blockage | L1 | Closed | 20 minutes
34044 | H - 601 | Wash basin blockage. | Plumbing-Wash Basin Blockage | L1 | Closed | 19 minutes
34043 | I - 803 | A.C mcb tripped. | Electrical-M C B Tripping | L1 | Closed | 17 minutes
34042 | E - 1002 | Washing machine problem. | Plumbing - Washing machine | L1 | Closed | 18 minutes
34041 | B - 2004 | Tube light problem. | Electrical | L1 | Closed | 14 minutes
34040 | F - 401 | To be fix light. | Electrical | L1 | Closed | 13 minutes
34039 | F - 2003 | Blockage. | Plumbing-Sink Blockage/Leakage | L1 | Closed | 13 minutes
34038 | L - 1704 | Mcb tripped. | Electrical-M C B Tripping | L1 | Closed | 37 minutes
34037 | C - 1802 | Need an electrician. | Electrical | L1 | Closed | 36 minutes
34036 | E - 103 | Water leakage. | Plumbing-Sink Blockage/Leakage | L1 | Closed | 37 minutes
34035 | A - 302 | New gas connection. | Gas-New Gas Connection | L1 | Closed | 38 minutes
34034 | M - 102 | MCB tripped. | Electrical-M C B Tripping | L1 | Closed | 39 minutes
34033 | M - 102 | To be fix connector pipe. | Plumbing-Accessories fix | L1 | Closed | 39 minutes
34032 | D - 1102 | Kitchen sink blockage. | Plumbing-Sink Blockage/Leakage | L1 | Closed | 39 minutes
34031 | H - 202 | Wash basin blockage. | Plumbing-Wash Basin Blockage | L1 | Closed | 39 minutes
34030 | L - 1101 | Tube problem. | Electrical-Tube Light | L1 | Closed | 39 minutes
34029 | L - 701 | Need an electrician. | Electrical | L1 | Closed | 39 minutes
34028 | B - 904 | Kitchen sink bottle trap leakage. | Plumbing - Bottle trap | L1 | Closed | 38 minutes
34027 | M - 301 | Need a carpentery service. | Carpentery | L1 | Closed | 38 minutes
34026 | D - 103 | Tube light not working. | Electrical-Tube Light | L1 | Closed | 39 minutes
34025 | H - 104 | Utility blockage. | Plumbing-Utility Blockage | L1 | Closed | 38 minutes
34024 | G - 502 | Water pressure problem. | Plumbing | L1 | Closed | 40 minutes
34023 | M - 1802 | Kitchen sink blockage. | Plumbing-Sink Blockage/Leakage | L1 | Closed | 41 minutes
34022 | B - 402 | Need a plumber. | Plumbing | L1 | Closed | 39 minutes
34021 | F - 1001 | Flush tank leakage. | Plumbing-Flushing Water | L1 | Closed | 25 minutes
34020 | C - 104 | Fan not working. | Electrical - Fan problem | L1 | Closed | 23 minutes
34019 | A - 1603 | To be clean flush tank | Plumbing-Flushing Water | L1 | Closed | 42 minutes
34018 | J - 602 | Need a carpenery service. | Carpentery | L1 | Closed | 44 minutes
34017 | A - 904 | Kitchen sink blockage. | Plumbing-Sink Blockage/Leakage | L1 | Closed | 41 minutes
34016 | - | Please provide Transformer BDV Testing reports. | Electrical | L1 | Open | 30 days,1 hour
34015 | - | In the GYM, the seat for stationay cycle is loose/almost broken. Can you get some cycle repair shop ... | Club House | L3 | In progress | 30 days,1 hour
34014 | - | The soil under the tiles has completely eroded near the swing/play area close to I bock. This is pot... | Play Area / Courts | L3 | Open | 30 days,2 hours
34013 | N - 104 | The treated water supplied to toilet flush is coloured and so smelly that it appears that this is in... | Water Supply | L1 | Closed | 2 days,2 hours
34012 | - | I’m from G14A2. Moved into Aparna 3 weeks back. I have a BMW X1. There is seepage leakage correctl... | seepage | L1 | Closed | 4 days,10 hours