## SLA
Gas Supply
Function | Standard Process/Frequency/Timeline | Complaint Resolution Time | 2018-01-01
|  |  | Achieved | not achieved
Ensuring uninterrupted gas supply Ensuring coordination with gas supply agency on all relevant matters including timely supply, submission of KYC forms of residents, ensuring timely accounting of subsidized gas to residents etc. | 99% of Time | One Hour | 100%
| As per timelines requirement of specific issues | One Day In Coordination and instructions of ASOWS | 100%
Accurate and timely metering, billing and collection | Within Due dates Meter readings will be taken on Availability of residents. Not responsible for door locked flats | One Day | 100%
Handling all metering issues. Wrong billing will be handled and meter calibration excluded | ASAP | One Week | 100%
Operation and Maintenance of reticulated gas supply System including spares. Up to PRS 2 under APMS. PRS 3, Meter, any pipe line work & painting in duct and inside the apartment at owner cost. | ASAP | Immediate | 100%
Gas Leakage identification and rectification. | Preventive maintenance as Required. | Immediate | 100%
Gas Leakage by residents in flats | Immediate | Immediate | 100%
· In the absence of gas technician during nights and early hours multi skilled technician will substitute the gas related Services.
WATER SUPPLY:
Function | Standard Process/Frequency/Timeline | Complaint Resolution Time | 2018-01-01
|  |  | Achieved | not achieved
Ensuring uninterrupted water supply | 99% of time(subject to availability of water) | One Hour | 100%
Quality of water to be tested every month with certified agency and circulating the report of same to MC | Within 10th of every month | One Week | 100%
Ensuring coordination with water supply agencies of the government to ensure timely supply as per the contract, any other Relevant purposes. Liaison charges excluded | As per the timelines requirement of specific issue | One Day (Subject to HMWSS rules) | 100%
Accurate and timely billing and collection of water charges from members | Within Due Dates | One Day | 100%
Operation and Maintenance of Hydro Pneumatic Water supply system including spares and consumables. Excluding PLC spares | Preventive maintenance as per specifications of manufacturer & best practices | Immediate | 100%
Water Leakage identification and rectification | ASAP | 15 Minutes | 100% | It was being delayed some times due to lack of availability and permission of residents
Operation and Maintenance of Water softening plant including spares and supplies. Excluding Media replacement and salt | Preventive maintenance as per specifications of manufacturer & best practices | Four Hours | 100%
CARPENTRY
Function | Standard Process/Frequency/Timeline | Complaint Resolution Time | 2018-01-01
|  |  | Achieved | not achieved
Resident Lockout At owners risk | Immediate (after verification of Identity)and in security Staff presence | Two Hours | 100%
Minor Carpentry Works like door stoppers, door/windows being frozen, frozen bolts etc.,at a coat | Two Days | One Day | 100%
Replacement of door stoppers, doors, windows, locks, bolts, etc., at a cost | As agreed with MC | One Week | 100%
Plumbing
Function | Standard Process/Frequency/Timeline | Complaint Resolution Time | 2018-01-01
|  |  | Achevied | not achived
Plumbing-Apartment :Critical | As per need | < Two Hours | 100%
Plumbing-Common Areas: Critical | As per need | < Two Hours | 100%
Plumbing-Apartment: Regular | In accordance with MC guidelines and sunlight | < Four Hours | 100%
Plumbing-Common Areas: Regular | As per need: Weekly twice preventive checks | < 8 hours | 100%
Drainage pipe cleaning: Regular | Once Every month | < half an hour | 100%
ELECTRICITY SUPPLY
Function | Standard Process/Frequency/Timeline | Complaint Resolution Time | 2018-01-01
|  |  | Achevied | not achived
Ensuring uninterrupted supply of electricity | 99% of time | 1 hour (Subject to type of break down) | 100%
Ensuring coordination with electricity supply agency on all relevant matters including supply and interruptions thereof, billing etc. liaison charges excluded | As per the timelines requirement of specific issue | One Day | 100%
Accurate and timely metering, billing and collection as per ASOWS guidelines | Within Due Dates | One Day | 100%
Handling all Metering issues Subject to wrong billing issues and Meter Calibration Excluded | ASAP | One Week
Operation and Maintenance of Electrical supply system including transformers (spares excluded), LT panel including spares and DG sets excluding Spares. Excluding Capital expenditure like breakers, CTs, PTs, Contactors, Bus bars, cables etc…. | preventive maintenance as per Schedule | < 8 Hours | 100%
Electrical leakage identification and rectification | ASAP | Immediate | 100%
Switching from main supply to DG power during power Outages | Forty Seconds 40 Sec | Immediate | 100%
Common areas including house, tennis and basketball courts – Adhering to guidelines of Management Committee | Establishment of proper process with identified persons being made responsible | 4 Hours | 100%
ELECTRICAL COMPLAINTS:
Function | Standard Process/Frequency/Timeline | Complaint Resolution Time | 2018-01-01
|  |  | Achieved | not achieved
Electrical-Apartment :URGENT (Subject to “no-change” made to load distribution by resident) | As per need, Within 30 minutes | Half Day | 100%
Electrical-Common Areas: URGENT | As per need, Within 30 minutes | Half Day | 100%
Electrical-Apartment: Regular (Subject to “no-change” made to load distribution by resident) | As per need, Within 4 Hours | Half Day
Electrical-Common Areas: Regular | As per need, Within 4 Hours | One Day | 100%
Replacement of light fittings and lamps in common areas Subject to availability of spares and consumables by ASOWS | As per need, Within 8 Hours | One Day | 100%
EGINEERING & MAINTENANCE OF EQUIPMENT / AMC SERVICES
Function | Standard Process/Frequency/Timeline | Complaint Resolution Time | 2018-01-01
Function | Standard Process/Frequency/Timeline | Complaint Resolution Time | Achieved | not achieved
Elevators | Monthly: Check functioning of all items | One Day | 100%
Diesel Generators | Monthly: Check Oil, Battery condition, starter, Auto Start etc., | 4 Hours | 100%
STP | Monthly: Check functioning & consumable levels Removal of Sludge/Grease | One Day | 100%
WTP | Monthly: Check functioning & consumable levels | One Day | 100%
Solar Fencing | Monthly: Check functioning | One Day | 100%
Storm Water Pumps | Monthly: Check functioning | One Day | 100%
Irrigation Pumps | Monthly: Check functioning | One Day | 100%
Electrical Systems Transformers VCB’s LT Panels Lightning Arrester | Monthly: Check functioning | 4 Hours | 100%
Fire Fighting Systems | Quarterly: Check functioning & consumable levels | One Day | 100%
Reticulated Gas System | Quarterly: Check functioning & consumable levels | One Hour | 100%
Hydro pneumatic pumps | Quarterly: Check functioning & consumable levels | One Hour | 100%
Carbon Exhaust Systems | Quarterly: Check functioning & consumable levels | One Day | 100%