## VCB Panels-1
Aparna Property Management Services Pvt Ltd
Preventive Maintenance Report - VCB Panels
Equipment Name |  |  |  | Date:
Location |  |  |  | Start Time:
PM Frequency |  | Next PM : |  | Completed Time:
Work Carried out by:
Job No | Job Operations |  |  |  |  | Remarks
1 | Switch off the Power supply at mains and ensure the power supply is go OFF
2 | Rack out the breaker and ground the terminal for trouble free operation
3 | Check the cleanliness of the breaker
4 | Check the I/C and O/G contacts condition if necessary clean with CTC.
5 | Check the moving parts and apply the grease if required
6 | Check the manual operation of the breaker at test mode
7 | Check the Earth connection before put the breaker in service mode
8 | Check the all relay's and control circuit
9 | Check the panel gas kut and if any opening in the panel
10 | Check all indication lamps and if required to be replaced
11 | Check the Breaker incoming and outgoing cable kit condition
12 | Check the CT and PT connections and status
13 | Note down the megger values of cable
14 | Check the space heaters working condition
15 | Charge the breaker and note down the voltage & current details
Note : Please write the abnormalities, spares used if any & improvements :
Engineer- Facilities |  |  | Supervisor |  | Reviewed By