## Sheet1
APMS Electro Mechanical Assets - Sarovar 03.09.2018
S.No | Asset Name | Asset Code | Asset Specification | Vendor | O & M MANUAL | Maintenance Checklist/Report | Location | Asset Status | Asset DOC
1 | CTPT | SAR/MG/ELE/CTPT/01 | 33KV | - | Ok | Ok | Main Gate | Working | -
2 | 3 - Panel | SAR/MG/ELE/LBS/01 | Megawin |  | Ok | Ok | Main Gate | Working | -
3 | 5 - Panel | SAR/AC/ELE/LBS/02 |  |  | Ok | Ok | Arrival Court | Working | -
4 | VCB | SAR/ELE/VCB/01 |  |  | Ok | Ok | 5 Panel | Working | -
5 | VCB | SAR/ELE/VCB/02 |  |  | Ok | Ok | 5 Panel | Working | -
6 | VCB | SAR/ELE/VCB/03 |  |  | Ok | Ok | 5 Panel | Working | -
7 | VCB | SAR/ELE/VCB/04 |  |  | Ok | Ok | 5 Panel | Not Working | -
8 | VCB | SAR/ELE/VCB/05 |  |  | Ok | Ok | 5 Panel | Working | -
9 | VCB | SAR/ELE/VCB/06 |  |  | Ok | Ok | 5 Panel | Working | -
10 | VCB | SAR/ELE/VCB/07 |  |  | Ok | Ok | 3 Panel | Working | -
11 | VCB | SAR/ELE/VCB/08 |  |  | Ok | Ok | 3 Panel | Working | -
12 | VCB | SAR/ELE/VCB/09 |  |  | Ok | Ok | 3 Panel | Working | -
13 | VCB | SAR/ELE/VCB/10 |  |  | Ok | Ok | ABCD block Podium | Working | -
14 | VCB | SAR/ELE/VCB/11 |  |  | Ok | Ok | EFGH block Podium | Working | -
15 | VCB | SAR/ELE/VCB/12 |  |  | Ok | Ok | IJKL block Podium | Working | -
16 | VCB | SAR/ELE/VCB/13 |  |  | Ok | Ok | MNCH block Podium | Working | -
17 | Transformer | SAR/EP/ELE/TF/01 | 1250KVA | PETE | Ok | Ok | ABCD block Podium | Working | -
18 | Transformer | SAR/EP/ELE/TF/02 |  |  | Ok | Ok | EFGH block Podium | Working | -
19 | Transformer | SAR/EP/ELE/TF/03 |  |  | Ok | Ok | IJKL block Podium | Working | -
20 | Transformer | SAR/EP/ELE/TF/04 |  |  | Ok | Ok | MNCH block Podium | Working | -
21 | ACB | SAR/EP/ELE/ACB/01 | Tejha Power | ABB | Ok | Ok | Block Cellar | Working | -
22 | ACB | SAR/EC/ELE/ACB/02 |  |  | Ok | Ok | Block Cellar | Working | -
23 | ACB | SAR/EC/ELE/ACB/03 |  |  | Ok | Ok | Block Cellar | Working | -
24 | ACB | SAR/EC/ELE/ACB/04 |  |  | Ok | Ok | Block Cellar | Working | -
25 | Main PCC Panel | SAR/AB/ELE/MPCC/01 |  | TEJHA POWER CONTROL AND FABRICATORS | Ok | Ok | Block Cellar | Working | -
26 | Main PCC Panel | SAR/CD/ELE/MPCC/02 |  |  | Ok | Ok | Block Cellar | Working | -
27 | Main PCC Panel | SAR/EF/ELE/MPCC/03 |  |  | Ok | Ok | Block Cellar | Working | -
28 | Main PCC Panel | SAR/GH/ELE/MPCC/04 |  |  | Ok | Ok | Block Cellar | Working | -
29 | Main PCC Panel | SAR/IJ/ELE/MPCC/05 |  |  | Ok | Ok | Block Cellar | Working | -
30 | Main PCC Panel | SAR/KL/ELE/MPCC/06 |  |  | Ok | Ok | Block Cellar | Working | -
31 | Main PCC Panel | SAR/MN/ELE/MPCC/07 |  |  | Ok | Ok | Block Cellar | Working | -
32 | Main PCC Panel | SAR/CH/ELE/MPCC/08 |  |  | Ok | Ok | Block Cellar | Working | -
33 | APFCR Panel | SAR/ABCD/ELE/APFCR/01 |  |  | Ok | Ok | Block Cellar | Working | -
34 | APFCR Panel | SAR/EFGH/ELE/APFCR/02 |  |  | Ok | Ok | Block Cellar | Working | -
35 | APFCR Panel | SAR/IJKL/ELE/APFCR/03 |  |  | Ok | Ok | Block Cellar | Working | -
36 | APFCR Panel | SAR/MNCH/ELE/APFCR/04 |  |  | Ok | Ok | Block Cellar | Working | -
37 | Bus Duct Riser | SAR/ELC/BD/1-28 |  |  | Ok | Ok | Block Cellar | Working | -
38 | CSP Panel - AB | SAR/AB/ELE/CSP/01 |  |  | Ok | Ok | Block Cellar | Working | -
39 | CSP Panel - CD | SAR/CD/ELE/CSP/02 |  |  | Ok | Ok | Block Cellar | Working | -
40 | CSP Panel - EF | SAR/EF/ELE/CSP/03 |  |  | Ok | Ok | Block Cellar | Working | -
41 | CSP Panel - GH | SAR/GH/ELE/CSP/04 |  |  | Ok | Ok | Block Cellar | Working | -
42 | CSP Panel - IJ | SAR/IJ/ELE/CSP/05 |  |  | Ok | Ok | Block Cellar | Working | -
43 | CSP Panel - KL | SAR/KL/ELE/CSP/06 |  |  | Ok | Ok | Block Cellar | Working | -
44 | CSP Panel - MN | SAR/MN/ELE/CSP/07 |  |  | Ok | Ok | Block Cellar | Working | -
45 | Club house Panel | SAR/ELE/CH/1-2 |  |  | Ok | Ok | Block Cellar | Working | -
46 | Lighting Arrestor | SAR/ELE/LA/1-7 |  |  | - | Ok | Terrace | Working | -
47 | Distribution boards | SAR/ELE/DB/1-29 |  |  | - | Ok | Clubhouse and all blocks common Areas | Working | -
48 | Land Scape Lighting Panels | SAR/ELE/LSLP/1-7 | - | - | - | Ok | Podium | Working | -
49 | Street Lights | SAR/ELE/SL/1-79 | Havells, 150W | - | - | Ok | Beside road and Landscaping | Working | -
50 | Bollard lights | SAR/ELE/BL/1-214 | Havells | - | - | Ok | Beside road and Landscaping | Working | -
51 | Post top lights | SAR/ELE/PL/1-50 | Havells, 23W | - | - | Ok | Beside road and Landscaping | Working | -
52 | Cellar and sub cellar lights | SAR/ELE/CL/1-990 | 18W | - | - | Ok | Cellar and sub cellar | Working | -
53 | All blocks corridor and stair case lights | SAR/ELE/CR-L/1-2016 | 18W | - | - | Ok | All blocks corridor and stair case lights | Working | -
54 | Diesel Generator | SAR/A/ELE/DG1/01 | Kirloskar, 250 KVA | Bhagya Nagar Diesels | OK | Ok | Block Cellar | Working | -
55 | Diesel Generator | SAR/B/ELE/DG2/02 |  |  | OK | Ok | Block Cellar | Working | -
56 | Diesel Generator | SAR/C/ELE/DG1/03 |  |  | OK | Ok | Block Cellar | Working | -
57 | Diesel Generator | SAR/D/ELE/DG2/04 |  |  | OK | Ok | Block Cellar | Working | -
58 | Diesel Generator | SAR/E/ELE/DG1/05 |  |  | OK | Ok | Block Cellar | Working | -
59 | Diesel Generator | SAR/F/ELE/DG2/06 |  |  | OK | Ok | Block Cellar | Working | -
60 | Diesel Generator | SAR/G/ELE/DG1/07 |  |  | OK | Ok | Block Cellar | Working | -
61 | Diesel Generator | SAR/H/ELE/DG2/08 |  |  | OK | Ok | Block Cellar | Working | -
62 | Diesel Generator | SAR/I/ELE/DG1/09 |  |  | OK | Ok | Block Cellar | Working | -
63 | Diesel Generator | SAR/J/ELE/DG2/10 |  |  | OK | Ok | Block Cellar | Working | -
64 | Diesel Generator | SAR/K/ELE/DG1/11 |  |  | OK | Ok | Block Cellar | Working | -
65 | Diesel Generator | SAR/L/ELE/DG2/12 |  |  | OK | Ok | Block Cellar | Working | -
66 | Diesel Generator | SAR/M/ELE/DG1/13 |  |  | OK | Ok | Block Cellar | Working | -
67 | Diesel Generator | SAR/N/ELE/DG2/14 |  |  | OK | Ok | Block Cellar | Working | -
68 | Diesel Generator | SAR/CH/ELE/DG1/15 |  |  | OK | Ok | Block Cellar | Working | -
69 | Diesel Generator | SAR/CH/ELE/DG2/16 |  |  | OK | Ok | Block Cellar | Working | -
70 | Hydro Pneumatic Pump | SAR/Sub Cellar/WSP/HNP/01 | Grundfos,30HP | - | OK | Ok | WSP Sub Cellar | Working | -
71 | Hydro Pneumatic Pump | SAR/Sub Cellar/WSP/HNP/02 | Grundfos,30HP |  | OK | Ok | WSP Sub Cellar | Working | -
72 | Hydro Pneumatic Pump | SAR/Sub Cellar/WSP/HNP/03 | Grundfos,30HP |  | OK | Ok | WSP Sub Cellar | Working | -
73 | Hydro Pneumatic Pump | SAR/Sub Cellar/WSP/HNP/04 | Grundfos,30HP |  | OK | Ok | WSP Sub Cellar | Working | -
74 | Salt Tank | SAR/Sub Cellar/WSP/ST/01 | - |  | - | Ok | WSP Sub Cellar | Working | -
75 | Filter Feed Pump | SAR/Sub Cellar/WSP/FFP/01 | Grundfos,10HP |  | ok | Ok | WSP Sub Cellar | Working | -
76 | Filter Feed Pump | SAR/Sub Cellar/WSP/FFP/02 | Grundfos,10HP |  | ok | Ok | WSP Sub Cellar | Working | -
77 | Filter Feed Pump | SAR/Sub Cellar/WSP/FFP/03 | Grundfos,10HP |  | ok | Ok | WSP Sub Cellar | Working | -
78 | Dewatering Pump | SAR/Sub Cellar/WSP/DWP/01 | Grundfos,2HP |  | ok | Ok | WSP Sub Cellar | Working | -
79 | Sand Filter | SAR/Sub Cellar/WSP/SF/01 | - |  | OK | Ok | WSP Sub Cellar | Working | -
80 | Softner Filter | SAR/Sub cellar/WSP/SF/01 | - |  | OK | Ok | WSP Sub Cellar | Working | -
81 | STP Hydro Pneumatic Pump | SAR/Sub cellar/STP/HNP/01 | Grundfos,25HP |  | OK | Ok | STP Sub Cellar | Working | -
82 | STP Hydro Pneumatic Pump | SAR/Sub cellar/STP/HNP/02 | Grundfos,25HP |  | OK | Ok | STP Sub Cellar | Working | -
83 | STP Hydro Pneumatic Pump | SAR/Sub cellar/STP/HNP/03 | Grundfos,25HP |  | OK | Ok | STP Sub Cellar | Working | -
84 | STP Hydro Pneumatic Pump | SAR/Sub cellar/STP/HNP/04 | Grundfos,25HP |  | OK | Ok | STP Sub Cellar | Working | -
85 | Filter Feed Pump | SAR/Sub Cellar/STP/FFP/01 | Kirloskar, 5HP |  | OK | Ok | STP Sub Cellar | Working | -
86 | Filter Feed Pump | SAR/Sub Cellar/STP/FFP/02 | Kirloskar, 5HP |  | OK | Ok | STP Sub Cellar | Working | -
87 | Filter Feed Pump | SAR/Sub Cellar/STP/FFP/03 | Kirloskar, 5HP |  | OK | Ok | STP Sub Cellar | Working | -
88 | Filter Feed Pump | SAR/Sub Cellar/STP/FFP/04 | Kirloskar, 5HP |  | OK | Ok | STP Sub Cellar | Working | -
89 | Dewatering Pump | SAR/Sub Cellar/STP/DWP/02 | Grundfos,2HP |  | OK | Ok | STP Sub Cellar | Working | -
90 | Chlorine Dosing Pump | SAR/Sub Cellar/STP/CDP/02 | - |  | OK | Ok | STP Sub Cellar | Working | -
91 | Centrifuge Feed Pump-1 | SAR/Sub Cellar/STP/CNP/01 | Grundfos 2.5HP |  | OK | Ok | STP Sub Cellar | Working | -
92 | Centrifuge Feed Pump-2 | SAR/Sub Cellar/STP/CNP/02 | Grundfos 2.5HP |  | OK | Ok | STP Sub Cellar | Working | -
93 | Centrifuge | SAR/Sub Cellar/STP/CNF/01 | HILLER 25HP |  | OK | Ok | STP Sub Cellar | Working | -
94 | Air Blower-1 | SAR/Cellar/STP/ARB/01 | EVEREST 30HP |  | OK | Ok | STP Sub Cellar | Working | -
95 | Air Blower-2 | SAR/Cellar/STP/ARB/02 | EVEREST 30HP |  | OK | Ok | STP Sub Cellar | Working | -
96 | Air Blower-3 | SAR/Cellar/STP/ARB/03 | EVEREST 30HP |  | OK | Ok | STP Sub Cellar | Working | -
97 | Raw Sewage Pump-1 | SAR/Sub Cellar/STP/RSP/01 | Grundfos 3HP |  | OK | Ok | STP Sub Cellar | Working | -
98 | Raw Sewage Pump-2 | SAR/Sub Cellar/STP/RSP/02 | Grundfos 3HP |  | OK | Ok | STP Sub Cellar | Working | -
99 | Return Sludge Pump-1 | SAR/Sub Cellar/STP/RSP/01 | Johnson 5HP |  | OK | Ok | STP Sub Cellar | Working | -
100 | Return Sludge Pump-2 | SAR/Sub Cellar/STP/RSP/02 | SPX, 5 HP |  | OK | Ok | STP Sub Cellar | Working | -
101 | Sand Filter-1 | SAR/Sub Cellar/STP/SF/01 | - |  | OK | Ok | STP Sub Cellar | Working | -
102 | Sand Filter-2 | SAR/Sub Cellar/STP/SF/02 | - |  | OK | Ok | STP Sub Cellar | Working | -
103 | Carbon Filter-1 | SAR/Sub Cellar/STP/CF/01 | - |  | OK | Ok | STP Sub Cellar | Working | -
104 | Carbon Filter-2 | SAR/Sub Cellar/STP/CF/02 | - |  | OK | Ok | STP Sub Cellar | Working | -
105 | Air Handling Unit | SAR/Sub Cellar/STP/AHU/01 | 11KW / 15000 CFM | WITT INDIA | OK | Ok | STP Sub Cellar | Working | -
106 | Filtration Motor | SAR/SPC/EM/FM/01 | Kirloskar, 2HP | Clear Water Pool | Ok | Ok | Swimming Pool Cellar | Working | -
107 | Filtration Motor | SAR/SPC/EM/FM/02 | Kirloskar, 2HP |  | Ok | Ok | Swimming Pool Cellar | Working | -
108 | Filters | SAR/SPC/EM/FL/01 | ASTRALPOOL, 3HP |  | Ok | Ok | Swimming Pool Cellar | Working | -
109 | Filters | SAR/SPC/EM/FL/02 | ASTRALPOOL, 3HP |  | Ok | Ok | Swimming Pool Cellar | Working | -
110 | Filters | SAR/SPC/EM/FL/03 | ASTRALPOOL, 3HP |  | Ok | Ok | Swimming Pool Cellar | Working | -
111 | Filters | SAR/SPC/EM/FL/04 | ASTRALPOOL, 3HP |  | Ok | Ok | Swimming Pool Cellar | Working | -
112 | Motor | SAR/HI/EM/M/01 | Kirloskar,5HP | - | Ok | Ok | HI Water Body | Working | -
113 | Filter | SAR/HI/EM/M/02 | CERTIKIN |  | Ok | Ok | HI Water Body | Working | -
114 | Motor | SAR/L/EM/FM/01 | Kirloskar,10HP |  | Ok | Ok | L Block Water Bosy | Working | -
115 | Filter | SAR/L/EM/FM/02 | CERTIKIN |  | Ok | Ok | L Block Water Bosy | Working | -
116 | Borewell Pump | SAR/EM/BWP/02 | Falcon, 10HP | - | - | Ok | Subcellar STP | Not Working | -
117 | Borewell Pump | SAR/EM/BWP/03 | Flowtech, 10HP |  | - | Ok | Cellar STP | Not Working | -
118 | Borewell Pump | SAR/EM/BWP/04 | Flowtech, 10HP |  | - | Ok | Near Mist fountain Pump Room | Not Working | -
119 | Borewell Pump | SAR/EM/BWP/05 | Flowtech, 10HP |  | - | Ok | H Block Car Wash | Not Working | -
120 | Borewell Pump | SAR/EM/BWP/06 | Flowtech, 10HP |  | - | Ok | Center Podium Cellar | Working | -
121 | Borewell Pump | SAR/EM/BWP/07 | Flowtech, 10HP |  | - | Ok | Center Podium Cellar | Working | -
122 | Borewell Pump | SAR/EM/BWP/08 | Flowtech, 10HP |  | - | Ok | Subcellar WASP | Working | -
123 | Borewell Pump | SAR/EM/BWP/10 | Flowtech, 10HP |  | - | Ok | L Block Ramp | Working | -
124 | Borewell Pump | SAR/EM/BWP/10A | Flowtech, 10HP |  |  | Ok | M Block Cellar | Not Working | -
125 | Borewell Pump | SAR/EM/BWP/11 | Falcon, 10HP |  | - | Ok | North East Corner L Block Cellar | Working | -
126 | Borewell Pump | SAR/EM/BWP/12 | Falcon, 10HP |  | - | Ok | Beside F Block Exit Ramp | Working | -
127 | Borewell Pump | SAR/EM/BWP/14 | Flowtech, 10HP |  | - | Ok | Center Podium Cellar | Working | -
128 | Borewell Pump | SAR/EM/BWP/16 | Flowtech, 10HP |  | - | Ok | Beside D Block Gas Bank | Working | -
129 | Borewell Pump | SAR/EM/BWP/13 | KSB |  | - | Ok | North side of S block Cellar | Working | -
130 | Storm water Pump | SAR/EM/SWP/01 | 2 Hp | - | - | Ok | A block | Working | -
131 | Storm water Pump | SAR/EM/SWP/02 | 2 Hp |  | - | Ok | B block | Working | -
132 | Storm water Pump | SAR/EM/SWP/03 | 2 Hp |  | - | Ok | C block | Working | -
133 | Storm water Pump | SAR/EM/SWP/04 | 2 Hp |  | - | Ok | D block | Working | -
134 | Storm water Pump | SAR/EM/SWP/05 | 2 Hp |  | - | Ok | E block | Working | -
135 | Storm water Pump | SAR/EM/SWP/06 | 2 Hp |  | - | Ok | F block | Working | -
136 | Storm water Pump | SAR/EM/SWP/07 | 2 Hp |  | - | Ok | G block | Working | -
137 | Storm water Pump | SAR/EM/SWP/08 | 2 Hp |  | - | Ok | H block | Working | -
138 | Storm water Pump | SAR/EM/SWP/09 | 2 Hp |  | - | Ok | I block | Working | -
139 | Storm water Pump | SAR/EM/SWP/10 | 2 Hp |  | - | Ok | J block | Working | -
140 | Storm water Pump | SAR/EM/SWP/11 | 2 Hp |  | - | Ok | K block | Working | -
141 | Storm water Pump | SAR/EM/SWP/12 | 2 Hp |  | - | Ok | L block | Working | -
| Storm water Pump | SAR/EM/SWP/13 | 2 Hp |  | - | Ok | M block | Working | -
| Storm water Pump | SAR/EM/SWP/14 | 2 Hp |  | - | Ok | N block | Working | -
142 | Rain water Pump | SAR/WSP/EM/RWP/1 | Kirloskar,5HP |  | - | Ok | WSP | Working | -
143 | PC for Boom Barrier Software | SAR/MG/EC/PSBB/1 | - | - | OK | Ok | Main Gate Entry | Not Working | -
144 | Boom Barriers | SAR/MG/EC/BB/01 | - | - | OK | Ok | Main Gate Entry | Not Working | -
145 | Boom Barriers | SAR/MG/EC/BB/02 | - |  | OK | Ok | Main Gate Entry | Not Working | -
146 | Boom Barriers | SAR/MG/EC/BB/03 | - |  | OK | Ok | Main Gate Entry | Not Working | -
147 | Boom Barriers | SAR/MG/EC/BB/04 | - |  | OK | Ok | Main Gate Entry | Not Working | -
148 | Boom Barriers | SAR/MG/EC/BB/05 | - |  | OK | Ok | Main Gate Entry | Not Working | -
149 | Boom Barriers | SAR/MG/EC/BB/06 | - |  | OK | Ok | Main Gate Entry | Not Working | -
150 | Passenger Lift | SAR/A/EM/PL/01 | Johnson (10 Persons,680 Kgs) | Johnson Lifts | OK | Ok | A Block | Working | -
151 | Passenger Lift | SAR/A/EM/PL/02 | Johnson (10 Persons,680 Kgs) |  | OK | Ok | A Block | Working | -
152 | Passenger Lift | SAR/B/EM/PL/03 | Johnson (10 Persons,680 Kgs) |  | OK | Ok | B Block | Working | -
153 | Passenger Lift | SAR/B/EM/PL/03 | Johnson (10 Persons,680 Kgs) |  | OK | Ok | B Block | Working | -
154 | Passenger Lift | SAR/C/EM/PL/05 | Johnson (10 Persons,680 Kgs) |  | OK | Ok | C Block | Working | -
155 | Passenger Lift | SAR/C/EM/PL/05 | Johnson (10 Persons,680 Kgs) |  | OK | Ok | C Block | Working | -
156 | Passenger Lift | SAR/D/EM/PL/07 | Johnson (10 Persons,680 Kgs) |  | OK | Ok | D Block | Working | -
157 | Passenger Lift | SAR/D/EM/PL/07 | Johnson (10 Persons,680 Kgs) |  | OK | Ok | D Block | Working | -
158 | Passenger Lift | SAR/E/EM/PL/09 | Johnson (10 Persons,680 Kgs) |  | OK | Ok | E Block | Working | -
159 | Passenger Lift | SAR/E/EM/PL/09 | Johnson (10 Persons,680 Kgs) |  | OK | Ok | E Block | Working | -
160 | Passenger Lift | SAR/F/EM/PL/11 | Johnson (10 Persons,680 Kgs) |  | OK | Ok | F Block | Working | -
161 | Passenger Lift | SAR/F/EM/PL/11 | Johnson (10 Persons,680 Kgs) |  | OK | Ok | F Block | Working | -
162 | Passenger Lift | SAR/G/EM/PL/13 | Johnson (10 Persons,680 Kgs) |  | OK | Ok | G Block | Working | -
163 | Passenger Lift | SAR/G/EM/PL/13 | Johnson (10 Persons,680 Kgs) |  | OK | Ok | G Block | Working | -
164 | Passenger Lift | SAR/H/EM/PL/15 | Johnson (10 Persons,680 Kgs) |  | OK | Ok | H Block | Working | -
165 | Passenger Lift | SAR/H/EM/PL/15 | Johnson (10 Persons,680 Kgs) |  | OK | Ok | H Block | Working | -
166 | Passenger Lift | SAR/I/EM/PL/17 | Johnson (10 Persons,680 Kgs) |  | OK | Ok | I Block | Working | -
167 | Passenger Lift | SAR/I/EM/PL/17 | Johnson (10 Persons,680 Kgs) |  | OK | Ok | I Block | Working | -
168 | Passenger Lift | SAR/J/EM/PL/19 | Johnson (10 Persons,680 Kgs) |  | OK | Ok | J Block | Working | -
169 | Passenger Lift | SAR/J/EM/PL/19 | Johnson (10 Persons,680 Kgs) |  | OK | Ok | J Block | Working | -
170 | Passenger Lift | SAR/K/EM/PL/21 | Johnson (10 Persons,680 Kgs) |  | OK | Ok | K block | Working | -
171 | Passenger Lift | SAR/K/EM/PL/21 | Johnson (10 Persons,680 Kgs) |  | OK | Ok | K block | Working | -
172 | Passenger Lift | SAR/L/EM/PL/23 | Johnson (10 Persons,680 Kgs) |  | OK | Ok | L block | Working | -
173 | Passenger Lift | SAR/L/EM/PL/24 | Johnson (10 Persons,680 Kgs) |  | OK | Ok | L block | Working | -
174 | Passenger Lift | SAR/M/EM/PL/25 | Johnson (10 Persons,680 Kgs) |  | OK | Ok | M block | Working | -
175 | Passenger Lift | SAR/M/EM/PL/26 | Johnson (10 Persons,680 Kgs) |  | OK | Ok | M block | Working | -
176 | Passenger Lift | SAR/N/EM/PL/27 | Johnson (10 Persons,680 Kgs) |  | OK | Ok | N block | Working | -
177 | Passenger Lift | SAR/N/EM/PL/28 | Johnson (10 Persons,680 Kgs) |  | OK | Ok | N block | Working | -
178 | Passenger Lift | SAR/CH/EM/PL/29 | Johnson (10 Persons,680 Kgs) |  | OK | Ok | Club House | Working | -
179 | Goods Lift | SAR/A/EM/GL/01 | Johnson (16 Persons,1088 Kgs) |  | OK | Ok | A block | Working | -
180 | Goods Lift | SAR/B/EM/GL/02 | Johnson (16 Persons,1088 Kgs) |  | OK | Ok | B block | Working | -
181 | Goods Lift | SAR/C/EM/GL/03 | Johnson (16 Persons,1088 Kgs) |  | OK | Ok | C block | Working | -
182 | Goods Lift | SAR/D/EM/GL/04 | Johnson (16 Persons,1088 Kgs) |  | OK | Ok | D block | Working | -
183 | Goods Lift | SAR/E/EM/GL/05 | Johnson (16 Persons,1088 Kgs) |  | OK | Ok | E block | Working | -
184 | Goods Lift | SAR/F/EM/GL/06 | Johnson (16 Persons,1088 Kgs) |  | OK | Ok | F block | Working | -
185 | Goods Lift | SAR/G/EM/GL/07 | Johnson (16 Persons,1088 Kgs) |  | OK | Ok | G block | Working | -
186 | Goods Lift | SAR/H/EM/GL/08 | Johnson (16 Persons,1088 Kgs) |  | OK | Ok | H block | Working | -
187 | Goods Lift | SAR/I/EM/GL/09 | Johnson (16 Persons,1088 Kgs) |  | OK | Ok | I block | Working | -
188 | Goods Lift | SAR/J/EM/GL/10 | Johnson (16 Persons,1088 Kgs) |  | OK | Ok | J block | Working | -
189 | Goods Lift | SAR/K/EM/GL/11 | Johnson (16 Persons,1088 Kgs) |  | OK | Ok | K block | Working | -
190 | Goods Lift | SAR/L/EM/GL/12 | Johnson (16 Persons,1088 Kgs) |  | OK | Ok | L block | Working | -
191 | Goods Lift | SAR/M/EM/GL/13 | Johnson (16 Persons,1088 Kgs) |  | OK | Ok | M block | Working | -
192 | Goods Lift | SAR/N/EM/GL/14 | Johnson (16 Persons,1088 Kgs) |  | OK | Ok | N block | Working | -
193 | solar power fencing | SAR/MGSCR/SEC/SPF/1 | Alliance | Alliance Security System | Ok | Ok | Main Gate Security Control Room | Working | -
194 | solar power fencing | SAR/MGSCR/SEC/SPF/2 | Alliance |  | Ok | Ok | Main Gate Security Control Room | Working | -
195 | solar power fencing | SAR/MGSCR/SEC/SPF/3 | Alliance |  | Ok | Ok | Main Gate Security Control Room | Working | -
196 | solar power fencing | SAR/MGSCR/SEC/SPF/4 | Alliance |  | Ok | Ok | Main Gate Security Control Room | Working | -
197 | PC for CCTV | SAR/MG/PCCTV/3 | - | - | OK | Ok | I Block | Working | -
198 | DVR | SAR/DVR/01-2 | - |  | Ok | Ok | All Blocks And common Areas | Working | -
199 | CCTV | SAR/CCTV/01-90 | - |  | Ok | Ok | All Blocks And common Areas | Working | -
200 | Fire - Jockey Pump | SAR/ A / FS / JP/ 1 | Grundfos,7.5HP | Revolve Engineering | Ok | Ok | A Block | Working | -
201 | Fire - Jockey Pump | SAR/ B / FS / JP/ 2 | Grundfos,7.5HP |  | Ok | Ok | B Block | Working | -
202 | Fire - Jockey Pump | SAR/ C / FS / JP/ 3 | Grundfos,7.5HP |  | Ok | Ok | C Block | Working | -
203 | Fire - Jockey Pump | SAR/ D / FS / JP/ 4 | Grundfos,7.5HP |  | Ok | Ok | D Block | Working | -
204 | Fire - Jockey Pump | SAR/ E / FS / JP/ 5 | Grundfos,7.5HP |  | Ok | Ok | E Block | Working | -
205 | Fire - Jockey Pump | SAR/ F / FS / JP/ 6 | Grundfos,7.5HP |  | Ok | Ok | F Block | Working | -
206 | Fire - Jockey Pump | SAR/ G / FS / JP/ 7 | Grundfos,7.5HP |  | Ok | Ok | G Block | Working | -
207 | Fire - Jockey Pump | SAR/ H / FS / JP/ 8 | Grundfos,7.5HP |  | Ok | Ok | H Block | Working | -
208 | Fire - Jockey Pump | SAR/ I / FS / JP/ 9 | Grundfos,7.5HP |  | Ok | Ok | I Block | Working | -
209 | Fire - Jockey Pump | SAR/ J / FS / JP/ 10 | Grundfos,7.5HP |  | Ok | Ok | J Block | Working | -
210 | Fire - Jockey Pump | SAR/ K / FS / JP/ 11 | Grundfos,7.5HP |  | Ok | Ok | K Block | Working | -
211 | Fire - Jockey Pump | SAR/ L / FS / JP/ 12 | Grundfos,7.5HP |  | Ok | Ok | L Block | Working | -
212 | Fire - Jockey Pump | SAR/ M / FS / JP/ 13 | Grundfos,7.5HP |  | Ok | Ok | M Block | Working | -
213 | Fire - Jockey Pump | SAR/ N / FS / JP/ 14 | Grundfos,7.5HP |  | Ok | Ok | N Block | Working | -
214 | Fire - Main Pump | SAR/ A / FS / MP/ 1 | Kirloskar,100HP | - | Ok | Ok | A Block | Working | -
215 | Fire - Main Pump | SAR/ B / FS / MP/ 2 | Kirloskar,100HP |  | Ok | Ok | B Block | Working | -
216 | Fire - Main Pump | SAR/ C / FS / MP/ 3 | Kirloskar,100HP |  | Ok | Ok | C Block | Working | -
217 | Fire - Main Pump | SAR/ D / FS / MP/ 4 | Kirloskar,100HP |  | Ok | Ok | D Block | Working | -
218 | Fire - Main Pump | SAR/ E / FS / MP/ 5 | Kirloskar,100HP |  | Ok | Ok | E Block | Working | -
219 | Fire - Main Pump | SAR/ F / FS / MP/ 6 | Kirloskar,100HP |  | Ok | Ok | F Block | Working | -
220 | Fire - Main Pump | SAR/ G / FS / MP/ 7 | Kirloskar,100HP |  | Ok | Ok | G Block | Working | -
221 | Fire - Main Pump | SAR/ H / FS / MP/ 8 | Kirloskar,100HP |  | Ok | Ok | H Block | Working | -
222 | Fire - Main Pump | SAR/ I / FS / MP/ 9 | Kirloskar,100HP |  | Ok | Ok | I Block | Working | -
223 | Fire - Main Pump | SAR/ J / FS / MP/ 10 | Kirloskar,100HP |  | Ok | Ok | J Block | Working | -
224 | Fire - Main Pump | SAR/ K / FS / MP/ 11 | Kirloskar,100HP |  | Ok | Ok | K Block | Working | -
225 | Fire - Main Pump | SAR/ L / FS / MP/ 12 | Kirloskar,100HP |  | Ok | Ok | L Block | Working | -
226 | Fire - Main Pump | SAR/ M / FS / MP/ 13 | Kirloskar,100HP |  | Ok | Ok | M Block | Working | -
227 | Fire - Main Pump | SAR/ N / FS / MP/ 14 | Kirloskar,100HP |  | Ok | Ok | N Block | Working | -
228 | Fire - DG Pump | SAR/ A / FS / DG/ 14 | Kirloskar,100HP | Bhagya Nagar Diesels | Ok | Ok | A Block | Working | -
229 | Fire - DG Pump | SAR/ B / FS / DG/ 2 | Kirloskar,100HP |  | Ok | Ok | B Block | Working | -
230 | Fire - DG Pump | SAR/ C / FS / DG/ 3 | Kirloskar,100HP |  | Ok | Ok | C Block | Working | -
231 | Fire - DG Pump | SAR/ D / FS / DG/ 4 | Kirloskar,100HP |  | Ok | Ok | D Block | Working | -
232 | Fire - DG Pump | SAR/ E / FS / DG/ 5 | Kirloskar,100HP |  | Ok | Ok | E Block | Working | -
233 | Fire - DG Pump | SAR/ F / FS / DG/ 6 | Kirloskar,100HP |  | Ok | Ok | F Block | Working | -
234 | Fire - DG Pump | SAR/ G / FS / DG/ 7 | Kirloskar,100HP |  | Ok | Ok | G Block | Working | -
235 | Fire - DG Pump | SAR/ H / FS / DG/ 8 | Kirloskar,100HP |  | Ok | Ok | H Block | Working | -
236 | Fire - DG Pump | SAR/ I / FS / DG/ 9 | Kirloskar,100HP |  | Ok | Ok | I Block | Working | -
237 | Fire - DG Pump | SAR/ J / FS / DG/ 10 | Kirloskar,100HP |  | Ok | Ok | J Block | Working | -
238 | Fire - DG Pump | SAR/ K / FS / DG/ 11 | Kirloskar,100HP |  | Ok | Ok | K Block | Working | -
239 | Fire - DG Pump | SAR/ L / FS / DG/ 12 | Kirloskar,100HP |  | Ok | Ok | L Block | Working | -
240 | Fire - DG Pump | SAR/ M / FS / DG/ 13 | Kirloskar,100HP |  | Ok | Ok | M Block | Working | -
241 | Fire - DG Pump | SAR/ N / FS / DG/ 14 | Kirloskar,100HP |  | Ok | Ok | N Block | Working | -
242 | FIRE ALARM | SAR/ A/ FS/ FA/ 1 | AGNI | - | Ok | Ok | A Block cellar | Working | -
243 | FIRE ALARM | SAR/ B/ FS/ FA/ 2 | AGNI |  | Ok | Ok | B Block Cellar | Working | -
244 | FIRE ALARM | SAR/ C/ FS/ FA/ 3 | AGNI |  | Ok | Ok | C Block cellar | Working | -
245 | FIRE ALARM | SAR/ D/ FS/ FA/ 4 | Ravel |  | Ok | Ok | D Block cellar | Working | -
246 | FIRE ALARM | SAR/ E/ FS/ FA/ 5 | Ravel |  | Ok | Ok | E Block cellar | Working | -
247 | FIRE ALARM | SAR/ F/ FS/ FA/ 6 | Ravel |  | Ok | Ok | F Block cellar | Working | -
248 | FIRE ALARM | SAR/ G/ FS/ FA/ 7 | Ravel |  | Ok | Ok | G Block cellar | Working | -
249 | FIRE ALARM | SAR/ H/ FS/ FA/ 8 | AGNI |  | Ok | Ok | H Block cellar | Working | -
250 | FIRE ALARM | SAR/ I/ FS/ FA/ 9 | AGNI |  | Ok | Ok | I Block cellar | Working | -
251 | FIRE ALARM | SAR/ J/ FS/ FA/ 10 | RAVEL |  | Ok | Ok | J Block cellar | Working | -
252 | FIRE ALARM | SAR/ K/ FS/ FA/ 11 | RAVEL |  | Ok | Ok | K Block cellar | Working | -
253 | FIRE ALARM | SAR/ L/ FS/ FA/ 12 | AGNI |  | Ok | Ok | L Block cellar | Working | -
254 | FIRE ALARM | SAR/ M/ FS/ FA/ 13 | Ravel |  | Ok | Ok | M Block cellar | Working | -
255 | FIRE ALARM | SAR/ N/ FS/ FA/ 14 | Ravel |  | Ok | Ok | N Block cellar | Working | -
256 | FIRE ALARM | SAR/ CH/ FS/ FA/ 15 | Ravel |  | Ok | Ok | Club House | Working | -
257 | REPEATED PANEL | SAR/MG/FS/RP/1 | RAVEL | - | Ok | Ok | MAIN GATE | Not Working | -
258 | Public address system | SAR/ A/ FS/ PA/ 1 | AHUJA | - | Ok | Ok | A Block | Working | -
259 | Public address system | SAR/ B/ FS/ PA/ 2 | AHUJA |  | Ok | Ok | B Block | Working | -
260 | Public address system | SAR/ C/ FS/ PA/ 3 | AHUJA |  | Ok | Ok | C Block | Working | -
261 | Public address system | SAR/ D/ FS/ PA/ 4 | AHUJA |  | Ok | Ok | D Block | Working | -
262 | Public address system | SAR/ E/ FS/ PA/ 5 | AHUJA |  | Ok | Ok | E Block | Working | -
263 | Public address system | SAR/ F/ FS/ PA/ 6 | AHUJA |  | Ok | Ok | F Block | Working | -
264 | Public address system | SAR/ G/ FS/ PA/ 7 | AHUJA |  | Ok | Ok | G Block | Working | -
265 | Public address system | SAR/ H/ FS/ PA/ 8 | AHUJA |  | Ok | Ok | H Block | Working | -
266 | Public address system | SAR/ I/ FS/ PA/ 9 | AHUJA |  | Ok | Ok | I Block | Working | -
267 | Public address system | SAR/ J/ FS/ PA/ 10 | AHUJA |  | Ok | Ok | J Block | Working | -
268 | Public address system | SAR/ K/ FS/ PA/ 11 | AHUJA |  | Ok | Ok | K Block | Working | -
269 | Public address system | SAR/ L/ FS/ PA/ 12 | AHUJA |  | Ok | Ok | L Block | Working | -
270 | Public address system | SAR/ M/ FS/ PA/ 13 | AHUJA |  | Ok | Ok | M Block | Working | -
271 | Public address system | SAR/ N/ FS/ PA/ 14 | AHUJA |  | Ok | Ok | N Block | Working | -
272 | Public address system | SAR/ CH/ FS/ PA/ 15 | AHUJA |  | Ok | Ok | Club House | Working | -
273 | FIRE EXTINGUISHER | SAR/ ACB/ FS/ FE/ 1-388 | KANEX | - | Ok | Ok | All Blocks And common Areas | Working | -
274 | FIRE EXTINGUISHER | SAR/ CO2/ FS/ FE/ 1-346 | GLOBAL |  | Ok | Ok | All Blocks And common Areas | Working | -
275 | FHP | SAR/ FS/ FHP/ 1-479 | - | - | Ok | Ok | All Blocks And common Areas | Working | -
276 | CP Hoses | SAR/ FS/ CPH/ 1-677 | - |  | Ok | Ok | All Blocks And common Areas | Working | -
277 | FIRE HOSE BOX | SAR/ FS/ FHB/ 1-136 | - | - | Ok | Ok | All Blocks And common Areas | Working | -
278 | MCP & HOOTER | SAR/ FS/ MCPH/ 1-570 | AGNI | - | Ok | Ok | All Blocks | Working | -
279 | Ventilation System | SAR/ Sub Cellar/EM/ VS/ 1-10 | WITT INDIA | WITT INDIA | Ok | Ok | SUB CELLAR | Working | -
280 | AXIAL FAN | SAR/Sub Cellar/EM/AF/1 - 86 | WITT INDIA |  | Ok | Ok | SUB CELLAR | Working | -
281 | IRRIGATION SYSTEM | SAR/IRG/16 | RAIN BIRD | - | OK | Ok | All podium area | Working | -