## Asset DATA
Aparna Property Management Services Pvt Ltd
List Of Assets @ kanopy Date : 01.012017
Asset No | Asset Name | Quantity | Asset Location | Asset DOC | Asset Specifications | Warranty | Status | Remarks
1 | Transformers 500KVA | 3 | G & K Block Switch yard | 03.01.2011 | 500 KVA, 11 KV (Vijay Electricals) | No | Working
3 | VCB Incomer | 1 | G & K Block Switch yard | 03.01.2011 | 11 KV,800 A, 50 Hz(Pentagon) | No | Working
| LBS | 1 | G Block Switch Yard | 03.01.2011 | 11kv,630A Pentagon | No | Working
| LBS | 1 | G Block Switch Yard | 03.01.2011 | 11kv,630A Pentagon | No | Working
| LBS | 3 | K Block Switch Yard | 03.01.2011 | 11kv,630A Pentagon | No | Working
| MCCB | 3 | G & K Block Switch yard | 03.01.2011 | 800A | No | Working
10 | Main PCC Panel - G | 1 | G Block Stilt | 03.01.2011 | Tejha Power | No | Working
11 | Main PCC Panel - J | 1 | J Block stilt | 03.01.2011 | Tejha Power | No | Working
| Main PCC Panel - K | 1 | K Block stilt | 03.01.2011 | Tejha Power | No | Working
12 | CSP Panel -G | 1 | G Block Stilt | 03.01.2011 | Tejha Power | No | Working
13 | CSP Panel -J Block | 1 | J Block Stilt | 03.01.2011 | Tejha Power | No | Working
14 | CSP Panel -K Block | 1 | K Block Stilt | 03.01.2011 | Tejha Power | No | Working
19 | Lightning Aresters | 1 | H Block Terrace | 29.05.2013 | FOREND ESE EU, Adapter at 60 micro sec | No | Working
20 | Lightning Aresters | 1 | K Block Terrace | 29.05.2013 | FOREND ESE EU, Adapter at 60 micro sec | No | Working
22 | STP Hydro pneumatic Panel | 1 | STP | 15-5-2014 | Revolve Engineers | No | Working
23 | WSP Hydro pnuematic Panel | 1 | WSP | 04.08.2011 | Revolve Engineers | No | Working
24 | Club House Panel | 1 | Club House Entrance | 03.01.2011 | Tejha Power | No | Working
25 | Disturbution Board - G Block | 2 | G Block lighting Room | 03.01.2011 | ABB MCBs | No | Working
26 | Disturbution Boards - H Block | 2 | H Block lighting Room | 03.01.2011 | ABB MCBs | No | Working
27 | Disturbution Boards - I Block | 2 | I Block lighting Room | 03.01.2011 | ABB MCBs | No | Working
28 | Disturbution Boards - J Block | 2 | J Block lighting Room | 03.01.2011 | ABB MCBs | No | Working
29 | Disturbution Boards - K Block | 2 | K Block lighting Room | 03.01.2011 | ABB MCBs | No | Working
30 | Disturbution Boards - LBlock | 2 | L Block lighting Room | 03.01.2011 | ABB MCBs | No | Working
37 | Disturbution Boards | 1 | Near - Basket ball court | 03.01.2011 | Tejha Power | No | Working
42 | Fire Pump House Panel - G | 2 | G Dg Room | 27.12.2012 | sujay fire fighting securities | No | Working
43 | Fire Pump House Panel - J | 2 | J Block Bms Room | 27.12.2012 | sujay fire fighting securities | No | Working
44 | Fire Pump House Panel - K | 2 | K Block panel Room | 27.12.2012 | sujay fire fighting securities | No | Working
| Fire Booster pump | 1 | G Block Terrace | 27.12.2012 | 11 kw (sujay fire fighting securities) | No | Working
| Fire Booster pump | 1 | Hblock Terrace | 27.12.2012 | 11 kw (sujay fire fighting securities) | No | Working
| Fire Booster pump | 1 | I Block Terrace | 27.12.2012 | 11 kw (sujay fire fighting securities) | No | Working
| Fire Booster pump | 1 | J Block Terrace | 27.12.2012 | 11 kw (sujay fire fighting securities) | No | Working
| Fire Booster pump | 1 | Kblock Terrace | 27.12.2012 | 11 kw (sujay fire fighting securities) | No | Working
| Fire Booster pump | 1 | L Block Terrace | 27.12.2012 | 11 kw (sujay fire fighting securities) | No | Working
| Fire Extinguishers | 51 | All Blocks | 27.12.2012 | 51(All Blocks) | No | Working
| Fire Hydrants | 72 | Stilt,, corridors | 04.08.2014 | 72(All Blocks) | No | Working
48 | DG Set | 1 | G block DG Room | 03.11.2011 | Kirloskar, 180 KVA | No | Working
51 | Street Lights | 45 | Around Compound Wall | 4.2.2013 | 70watts, powerone | No | Working
52 | Post top Lights | 23 | Around Compound Wall | 4.2.2013 | 70watts, powerone | No | Working | 3 are not working
53 | Bollards | 7 | Around Compound Wall | 4.2.2013 | 12 Watts, CFL, philips | No | Working
56 | Staircase Lighting - 378 | 378 | G- , H-62, I- 62, J-58, K -58, L- 58, | 25.1.2013 | 36 watts, tube lights(T5), CG | No | Working
57 | Corridor Lighting - 527 Nos | 527 | G- 60, H-62, I- 62, J-58, K -58, L- 58, | 25.1.2013 | 36 watts, CFL CG make | No | Working | 23 are not woking,
| Bulkhead Lightig | 84 | G- 60, H-62, I- 62, J-58, K -58, L- 58, | 25.1.2013 | 12 Watts, CFL | NO
| High mass Lights | 12 | Tennies court-12, Basket ball court-4 | 25.1.2013 | 400 watts | NO | Working | 2 Not working
59 | STP Hydropneumatic pumps | 2 | STP | 15-5-2014 | Grundfos, 7.5 Hp | No | Working
62 | STP Air Blowers | 1 | STP | 15-5-2014 | CVT Make, Model : SGRK 116, 300 cum / hr, 12.5 Hp | No | Working
63 | STP Air Blowers | 2 | STP | 15-5-2014 | CVT Make, Model : SGRK 116, 300 cum / hr, 12.5 Hp | No | Working
66 | STP Filter Feed Pumps | 2 | STP | 15-5-2014 | Johnson Make, KGE 16- 6 ,7.5 Hp X 3000 RPM | No | Working
68 | STP Raw Sewage Pumps | 4 | STP | 15-5-2014 | KSB Make, 2 HP, Grundfos | No | Working
| STP Sludge Return Pumps | 2 | STP | 15-5-2014 | KSB Make, 2 HP,
70 | STP Sludge Tranfer Pumps | 2 | STP | 15-5-2014 | KSB Make, 2 HP, | No | Working
72 | STP Pressue Sand Filter | 2 | STP | 15-5-2014 | 1800 mm dia, Pressure 5 Kg / Sqcm, Sand | No | Working
73 | STP Activated Carbon Filter | 1 | STP | 15-5-2014 | 1500 mm dia, 5 Kg /Sqcm, Carbon: GS 500 E 6 X16 | No | Working
74 | UV System | 1 | STP | 15-5-2014 |  | No | Working
75 | STP De-watering Pumps | 1 | STP | 15-5-2014 | KSB, 2 HP | No | Working
78 | Domestice Hydropneumatic pumps | 2 | WSP | 04.08.2011 | Grundfos, 7.5 Hp | No | Working
81 | MCH Hydropneumatic pumps | 2 | WSP | 04.08.2011 | 3 Hp | yes | Working
84 | WSP Sand Filter | 1 | WSP | 04.08.2011 | Revolve Eng pvt ,710 LTR | No | Working
85 | WSP Softener | 1 | WSP | 04.08.2011 | Revolve, Ion Exchange 225NA | No | Working
86 | WSP Filter Feed Pumps | 2 | WSP | 04.08.2011 | 5 HP | No | Working
89 | Borewell | 2 | Lawn Area |  | Falcon, 7.5 Hp | yes | Working
118 | Elevator - LF 4221 | 2 | G Block-1 | 30.3.2012 | Kone , 8Persons, 544 Kgs | No | Working
|  |  | G Block-2 | 30.3.2012
119 | Elevator - LF 4222 | 2 | H Block -1 | 30.3.2012 | Kone , 8Persons, 544 Kgs | No | Working
|  |  | H Block -2 | 30.3.2012
120 | Elevator - LF 4229 | 2 | I Block -1 | 30.3.2012 | Kone , 8Persons, 544 Kgs | No | Working
|  |  | I Block -2 | 30.3.2012
121 | Elevator - LF 4223 | 2 | J Block -1 | 30.3.2012 | Kone , 8Persons, 544 Kgs | No | Working
|  |  | J Block -2 | 30.3.2012
122 | Elevator - LF 4224 | 2 | K Block -1 | 30.3.2012 | Kone , 8Persons, 544 Kgs | No | Working
|  |  | K Block -2 | 30.3.2012
123 | Elevator - LF 4230 | 2 | L Block -1 | 30.3.2012 | Kone , 8Persons, 544 Kgs | No | Working
| Elevator - LF 4230 |  | L Block -2 | 30.3.2012
124 | Elevator - LF 4225 | 2 | Club House | 30.3.2012 | Kone , 8Persons, 544 Kgs | No | Working
134 | Solar Fencing |  | Around Compound Wall | 15-5-2014 | Allience security system,700 mtrs | No | Working
141 | CC Cameras | 1 | Main Gate Entry | 15-5-2014 | CP Plus, IR dome, Range- 20 Mtrs, 650 TVL | No | Working
142 | CC Cameras | 1 | Children play Area | 15-5-2014 | CP Plus, IR dome, Range- 20 Mtrs, 650 TVL | No | Working
143 | CC Cameras | 1 | G block exit gate | 15-5-2014 | CP Plus, IR dome, Range- 20 Mtrs, 650 TVL | No | Working
144 | CC Cameras | 1 | CLUb House Entrance | 15-5-2014 | CP Plus, IR dome, Range- 20 Mtrs, 650 TVL | No | Working
178 | Swimming Pool & Pumps | 3 | Club House | 15-5-2014 | Clear water Pools | No | Working
| Swimming Pool & lights | 9 | Club House | 15-5-2014 | Clear water Pools | no | Working
179 | Air Conditioning | 30 | Club House | 15-5-2014 | Logicool | No | Working
| Gas cylinders | 98 | G & I ,L Block | 15-5-2014 | HP Gas | No | Working
| chldren play Eqipments | 5 | H Block opposite | 15-5-2014 | kochie play system | No | Working