## weekly checklist
APARNA PROPERTY MANAGEMENT SERVICE PVT. LTD.
MONTH: |  |  | WEEKLY FIRE FIGHTING EQUIPMENT CHECKLIST | [6 empty] | BLOCK: |  | DATE:
Floor | Duct Glass | HR Drum | MCP | Hooter | Speakers | Panic Bar | Lock Holder | CP HOSE | viewinggalss | CO2 | ABC | Remarks
20th
19th
18th
17th
16th
15th
14th
13th
12th
11th
10th
9th
8th
7th
6th
5th
4th
3rd
2nd
1st
Cellar
S Cellar
Technician | [5 empty] | Supervisor |  |  |  |  | Facilities manager/Engineer

## cellar checklist
APARNA PROPERTY MANAGEMENT SERVICE PVT. LTD.
CHECKLIST OF FIRE HYDRENT Date:
S.NO | LOCATION OF HYDRANT | HOSE BOX CONDITION | VALVE CONDITION | WHEEL | COUPLING | WASHERS | NO.OF HOSES | LUGS | REMARKS
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
Technician |  |  | Supervisor |  |  |  |  | Facilities manager/Engineer

## Sheet1
APARNA PROPERTY MANAGEMENT SERVICES PVT.LTD. | [15 empty] | APARNA PROPERTY MANAGEMENT SERVICES PVT.LTD.
Block: |  | Fire Pump Rooms Daily Mechanical Check List | [10 empty] | Month: |  |  | Block: |  | Fire Pump Rooms Daily Mechanical Check List | [10 empty] | Month:
Date | Jockey pump Auto/Manual/Off | Main Pump Auto/manual/Off | Battery Charge&Voltage | Battery Charger On/Off | Diesel Engine Control Auto/Manual/Off | Diesel Level | Priming Tank Level | Engine oil Level | Water Preassure | Foot Valves | 4 Nos Gate Valves | Pressure Switch | Pr guage | Remarks | Signature | Date | Jockey pump Auto/Manual/Off | Main Pump Auto/manual/Off | Battery Charge&Voltage | Battery Charger On/Off | Diesel Engine Control Auto/Manual/Off | Diesel Level | Priming Tank Level | Engine oil Level | Water Preassure | Foot Valves | 5 Nos Gate Valves | Pressure Switch | Pr guage | Remarks | Signature
1 | [15 empty] | 1
2 | [15 empty] | 2
3 | [15 empty] | 3
4 | [15 empty] | 4
5 | [15 empty] | 5
6 | [15 empty] | 6
7 | [15 empty] | 7
8 | [15 empty] | 8
9 | [15 empty] | 9
10 | [15 empty] | 10
11 | [15 empty] | 11
12 | [15 empty] | 12
13 | [15 empty] | 13
14 | [15 empty] | 14
15 | [15 empty] | 15
16 | [15 empty] | 16
17 | [15 empty] | 17
18 | [15 empty] | 18
19 | [15 empty] | 19
20 | [15 empty] | 20
21 | [15 empty] | 21
22 | [15 empty] | 22
23 | [15 empty] | 23
24 | [15 empty] | 24
25 | [15 empty] | 25
26 | [15 empty] | 26
27 | [15 empty] | 27
28 | [15 empty] | 28
29 | [15 empty] | 29
30 | [15 empty] | 30
31 | [15 empty] | 31
[7 empty] | Supervisor | [5 empty] | Facilities manager/Engineer | [9 empty] | Supervisor | [5 empty] | Facilities manager/Engineer

## Sheet2
APARNA PROPERTY MANAGEMENT SERVICES PVT.LTD.
Block: |  | Fire Pump Rooms Electrical Panel Daily Check List | [10 empty] | Month:
Date | Main Incomer On/Off | Jockey Pump |  |  | Main Pump |  |  | Diesel Emgine Pump
|  | MCCB On/Off | Auto/Manual Statues | Control MCB On/Off | MCCB On/Off | Auto/Manual Statues | Control MCB On/Off | Ind lamp AC supply | Ind lamp DC supply | DC Voltage | AC supply ON/OFF | Battery Charger Trickle/Boost | System Seclection Auto/manual | DC supply ON/OFF | Remarks | Signature
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
[10 empty] | Supervisor |  |  | Facilities manager/Engineer