## Front side
Fire Safety Equipment Daily Status
Date |  | Status @ 9:00 AM |  |  | Status @ 6:00 PM
S.No | Description | Sarovar |  | Fire pumps Status A / M / O | Sarovar |  | Fire pumps Status A / M / O
|  | Total | Not Working |  | Total | Not Working
1 | Jockey Pump | 14 |  |  | 14
2 | Main Pump | 14 |  |  | 14
3 | DG Pump | 14 |  |  | 14
4 | Wet Raisers | 28 |  |  | 28
5 | Sprinklers Charged (floor wise) | 301 |  |  | 301
6 | Yard Hydrant Points | 84 |  |  | 84
7 | Cellar Hydrant Points | 33 |  |  | 33
8 | Sub Cellar Hydrant Points | 14 |  |  | 14
9 | Fire Hose Reel Drums | 301 |  |  | 301
10 | Fire Alarm System | 15 |  |  | 15
11 | Public Addressing System | 15 |  |  | 15
12 | Fire Extinguishers | 710 |  |  | 710
13 | Carbon Emission System | 10 |  |  | 10
14 | Flow Meter Panels - Fire Sprinkler | 14 |  |  | 14
15 | CP Hoses | 677 |  |  | 677
16 | Repeater Panels | 1 |  |  | 1
17 | No. of False Alarms
Remarks :

## Back Side
Not Working Data
Date | Status @ 9:00AM | Status @ 6:00PM
Category
S.No
Description of Issue
Root Cause
Action Required / Planned
Pending From Days
Responsibility
Notified to the concerned