## WTP Pum Room checklist
Aparna Property Management Services Pvt Ltd.
Motor's Load Particulars Date:
WSP
S.No | Motor | Range |  | Relay Setting | Voltage |  |  | Currrent(A)
|  | HP | KW |  | RY | YB | BR | R | Y | B
1 | Hydropneumatic Pump | 30 | 22 | 22
2 | Hydropneumatic Pump | 30 | 22 | 22
3 | Hydropneumatic Pump | 30 | 22 | 22
4 | Hydropneumatic Pump | 30 | 22 | 22
5 | Filter Feed Pump | 10 | 7.5 | 15
6 | Filter Feed Pump | 10 | 7.5 | 15
7 | Filter Feed Pump | 10 | 7.5 | 15
8 | Rain Water Pump | 5 | 3.7 | 8
9 | Storm Water Pump | 2 | 1.5 | 3
| Electrician |  |  | Supervisor |  |  |  | Engineer Facilities