## comparision chart
Aparna Property Management Service Pvt Ltd
S.no | Site Name | Flats / Villas | Built-up Area (Sft.) | Maintananing Since | Man power (Nos.) |  |  | EB - CMD in KVA |  | EB - RMD in KVA |  | Municipal Water CMD (KLD) | Bore wells | Transformer |  |  |  |  | Diesel Generator | [5 empty] | STP |  |  |  | WSP |  |  |  | Lifts / Elevator |  |  |  | Swimming Pool |  |  |  | Fire Booster Pump |  |  |  | Fire Jockey Pump |  |  |  | Fire Main Pump |  |  |  | Fire DG Pump |  |  |  | AHU |  |  |  |  | Sumps / Tanks Capacities | [17 empty] | Domestic Water - Hydro Pneumatic System |  |  |  | Municipal Water - Hydro Pneumatic System |  |  |  | Flush Water - Hydro Pneumatic System |  |  |  | Mechanical Ventilation |  |  |  | Solar Fencing
[5 empty] | Direct | Out Sourced | Total | Total | Per Flat | Total | Per Flat |  |  | Make | Capacity (KVA) | Nos | Total Capacity (KVA) | Per Flat | Make | Capacity (KVA) | No's | Total Capacity (KVA) | Per Flat | Back Up % | Make | Technology | No's | Total Capacity (KLD) | Make | Capacity | No's | Total Capacity (KLD) | Make | No's | Capacity (KGs) | Speed (M/sec) | Make | Capacity (KL) | No's | Total Capacity (KL) | Make | Capacity | No's | Total Capacity | Make | Capacity (HP) | No's | Total Capacity (HP) | Make | Capacity (HP) | No's | Total Capacity (HP) | Make | Capacity (HP) | No's | Total Capacity (HP) | Make | Capacity (HP) | CFM | No's | Total Capacity (HP) | Domestic-Raw Water (KL) | Nos. | Domestic Treated Water (KL) | Nos. | Municipal Water (Kl) | Nos. | Rain Water Tank (KL) | Nos. | Flush Water (KL) | Nos. | Irrigation Water (KL) | Nos. | Fire Sump (KL) | Nos. | OH Tank (KL) | Nos. | Strom Water (KL) | Nos. | Make | Capacity (HP) | No's | Total Capacity (HP) | Make | Capacity (HP) | No's | Total Capacity (HP) | Make | Capacity (HP) | No's | Total Capacity (HP) | Make | Capacity (HP) | No's | Total Capacity (HP) | Make | No. of Zones | Length Mts.
1 | Sarovar | 1120 | 2016000 | 2011-04-01 | 192 | 7 | 199 | 2500 | 2.23 | 2210 | 2.07 | 570 | 13 | PETE | 1250 | 4 | 5000 | 4.46 | Koel | 250 | 16 | 4000 | 3.57 | 100% | Aqua Tech | ASP | 1 | 1000 | Ion Exchange | 380 | 1 | 380 | Johnson | 43 | 1088*16+680*10 | 1.75+1.25 | Clear Water Pools | 300+150+18 | 2 | 468 | - | - | - | - | Grundfos | 7.5 | 14 | 105 | Kirloskar | 100 | 14 | 1400 | Kirloskar | 97 | 14 | 1358 | Witt son | 14.75 | 15000 | 1 | 14.75 | 500 | 2 | 500 | 2 | - | - | 250 | 1 | 1000 | 2 | 350 | 14 | 1050 | 7 | 280 | 14 | 300 | 12 | Grundfos | 29.5 | 4 | 118 | - | - | - | - | Grundfos | 24.8 | 4 | 99.2 | WITT&SOHN | 10 | 10 | 100 | Alliance | 4 | 1132
2 | Grande | 720 | 1598630 | 2016-07-01 | 143 | 12 | 155 | 1600 | 2.22 | 832.5 | 1.59 | 360 | 6 | PETE | 1250+1000*2 | 3 | 3250 | 2.22 | Koel | 500+400 | 6 | 2600 | 3.61 | 100% | Revolve | SBR | 1 | 750 | Caron India | 360 | 1 | 360 | Mitsubishi+ Johnson | 29 | 1088*9 + 680*18 | 1.75+1.5 | Clear Water Pools | 400 | 1 | 400 | Kirloskar | 15 | 1 | 15 | Grundfos | 7.5 | 9 | 67.5 | Grundfos | 100 | 10 | 1000 | Greaves | 107 | 9 | 963 | WITT INDIA | 10 | 10000 | 2 | 20 | 300 | 2 | 300 | 2 | 300 | 1 | 178 | 2 | 200 | 1 | 90 | 5 | 716 | 9 | 250 | 10 | 20 | 4 | Grundfos | 25 | 3 | 75 | Grundfos | 15 | 2 | 30 | Grundfos | 15 | 4 | 60 | Witt India | 10 | 9 | 90 | Alliance | 2 | 750
3 | Lakebreeze | 943 | 1495765 | 2016-06-01 | 176 | 14 | 190 | 1800 | 1.91 | 995.6 | 1.15 | 472 | 4 | PETE | 1500 | 2 | 3000 | 3.18 | Koel | 600+725 | 2 | 1375 | 1.46 | 500W | Revolve | SBR | 1 | 935 | Revolve | 530 | 1 | 530 | Johnson | 24 |  | 1.75 | Living Pool | 220+150 | 2 | 370 | - | - | - | - | Grundfos | 7.5*9+5.5*4 | 11 | 89.5 | Grundfos | 60 | 11 | 660 | Greaves | 70 | 11 | 770 | Prabavathi | 5 | 20000 | 2 | 10 | 660 | 2 | 705 | 2 | 235 | 1 | 150 | 1 | 475 | 1 | 165 | 11 | 825 | 11 | 275 | 11 | - | - | Grundfos | 30 | 3 | 90 | Grundfos | 25 | 5 | 50 | Grundfos | 30 | 2 | 60 | HOWDEN SOLYVENT | 10 | 5 | 50 | Alliance | 2 | 1050
4 | Cyber Zon | 1529 | 2277530 | 2016-07-01 | 227 | 17 | 244 | 1800 | 1.17 | 1460 | 1.21 | 765 | 13 | PETE | 1600 | 3 | 4800 | 3.13 | Koel | 400 | 6 | 2400 | 1.56 | 500W | Revolve | SBR | 2 | 1500 | Caron India | 750 | 2 | 750 | Johnson | 49 |  | 1.25 | Clear Water Pools | 400 | 1 | 400 | Grundfos | 15 | 20 | 315 | - | - | - | - | - | - | - | - | - | - | - | - | ABB + Barthbijilynt | 30+10 |  | 2 | 40 |  | 3 |  | 3 |  | 2 | 185 | 3 | 400 | 1 | - | - | - | - | 500 | 20 | 100 | 5 | Grundfos | 15 | 6 | 90 | Grundfos | 10 | 3 | 30 | Grundfos | 10 | 6 | 60 | Witt India | 10 | 6 | 60 | Alliance | 2
5 | Cyber Life | 903 | 1594985 | 2018-07-01 |  |  | 0 | 1650 | 1.83 | 314 | 0.95 | 452 | 4 | ESSNAR | 1600 | 2 | 3200 | 3.54 | Caterpillar | 600 | 2 | 1200 | 1.33 | 100% | Revolve | SBR | 2 | 900 | Ever sure Aqua Services | 247*2 | 2 | 576 | Johnson | 23 | 680*11+ 1088*11+ 408*1 | 1.75+1.2 | Green India Aqua Solutions | 420 | 1 | 420 | - | - | - | - | Grundfos | 5.5*6+4 | 7 | 37 | ABB | 100*6+1 | 7 | 700 | Greaves | 110*3+70 | 4 | 400 | Prabavathi | 11 | 1450 | 2 | 22 | 661 | 2 | 655 | 2 | 643 | 3 | 150 | 2 | 630 | 2 | 45 | 3 | 450 | 6 | 265 | 11 | 45 | 3 | Grundfos | 20 | 4 | 80 | Grundfos | 15 | 3 | 45 | Grundfos | 20 | 3 | 60 | Witt India | 5.5 | 8 | 44 | Alliance | 2
6 | Avenues | 707 | 909970 | 2014-03-14 | 94 | 3 | 97 | 1800 | 2.54 | - | - | 350 |  | ESSNAR | 1600+1250 | 2 | 2850 |  | Kirloskar | 250 | 4 | 1000 | 1.41 | 500W | Muralisesh Engineering | SBR | 1 | 472 | Muralisesh Engineering | 250 | 1 | 250 | Johnson | 16 |  | 1.5 | Green India Aqua Solutions | 300 | 1 | 300 | - | - | - | - | Grundfos | 7.5 | 6 | 45 | Grundfos | 65 | 6 | 390 | Greaves | 75 | 6 | 450 | Muralisesh | 12.5 |  | 2 | 25 | 225 | 1 | 250 | 1 | 175 | 1 | 75 | 1 | 250 | 1 | - | - | 450 | 6 | 150 | 6 |  | 2 | Grundfos | 25 | 3 | 75 | Grundfos | 15 | 3 | 45 | Grundfos | 25 | 4 | 200 | Witt India | 10 | 3 | 30 | Alliance | 1
7 | Kanopy Tulip | 360 | 425120 | 2014-04-14 | 40 | 4 | 44 | 180 | 0.5 | - | - | 195 | 4 | Vijay Electricals | 500 | 3 | 1500 | 4.16 | Kirloskar | 80 | 1 | 80 | 0.2 | 500W | Revolve | SBR | 1 | 500 | Revolve | 60 | 1 | 60 | Kone | 13 |  | 1.5 | Clear Water Pools | 250 | 1 | 250 | Grundfos | 15 | 6 | 90 | NA |  |  |  | NA |  |  |  | NA |  |  |  | NA |  |  |  |  | 300 | 2 | 150 | 1 | 150 | 1 | - | - | 160 | 1 | - | - | 120 | 6 | 48 | 6 | - | - | Grundfos | 7.5 | 2 | 15 | Grundfos | 3 | 2 | 6 | Grundfos | 7.5 | 2 | 15 | - | - | - | - | Alliance | 1 | 575
8 | Towers | 284 | 586745 | 2009-06-01 | 51 | 6 | 57 | 600 | 2.11 | 612.22 | 2.23 | 140 | 7 | PETE | 750 | 2 | 1500 | 5.58 | Caterpillar | 600 | 2 | 1200 | 4.23 | 100% | Revolve | MBBR | 1 | 300 | Revolve | 120 | 1 | 120 | Kone | 19 | 884*13+ 1280*7 |  |  | 400 | 1 | 400 | NA |  |  |  | Kirloskar | 15 | 1 | 15 | Kirloskar | 110 | 1 | 110 | Kirloskar | 120 | 1 | 120 |  | 3 | 2000 | 1 | 3 | 438 | 1 | 100 | 1 | 139 | 1 | - | - | 130 | 1 | - | - | 240 | 1 | - | - | 60 | 2 | Wilo | 25 | 3 | 75 | Wilo | 5 | 3 | 15 | Wilo | 12 | 3 | 36 | NA |  |  |  | Alliance | 2
9 | Aura | 135 | 301100 | 2015-08-15 | 34 | 2 | 36 | 400 | 2.96 | 236.4 | 1.85 | 67 | 3 | ESSNAR | 750 | 1 | 750 | 5.56 | Kirloskar | 500+250 | 2 | 750 | 5.56 | 100% | Revolve | SBR | 1 | 100 | Revolve | 72 | 1 | 72 | Mitsubishi | 4 |  | 2.3 | Clear Water Pools | 210 | 1 | 210 | NA |  |  |  | Grundfos | 7.5 | 1 | 7.5 | Grundfos | 110 | 1 | 110 | Greaves | 120 | 1 | 120 | Mark Enginners |  |  | 1 |  | 65 | 1 | 65 | 1 | 40 | 1 | 10 | 1 | 50 | 1 | - | - | 75 | 1 | 10 | 1 | - | - | Grundfos | 7.5+10 | 2 | 17.5 | Grundfos | 5 | 2 | 10 | Grundfos | 7.5 | 2 | 15 | Witt India |  | 2 |  | Alliance | 1 | 300
10 | Elina | 152 | 468136 |  |  |  | 0 | 1000 | 6.58 | - | - | - | 4 | ABB | 1000 | 2 | 2000 | 6.58 | Caterpillar | 400 | 1 | 400 | 2.63 | 100% |  | SBR | 1 | 96 | AMZON ENVIROTECH | 120 | 1 | 120 | Mitsubishi | 6 |  | 1.75 | Clear Water Pools | 258 | 1 | 258 |  |  | 2 |  | Grundfos |  | 1 |  | Grundfos |  | 2 |  |  |  | 1 |  | TAP ENGINEERING. | [22 empty] | Grundfos | 10 | 3 | 30 | Grundfos | 7 | 2 | 14 | Grundfos | 7 | 3 | 21 |  |  |  |  | Alliance
11 | Oosman Everest | 59 | 133685 | 2016-11-01 | 13 | 2 | 15 | 40 | 0.68 | - | - | - | 2 | Toshiba |  | 1 |  |  | Kirloskar | 160 | 2 | 320 | 5.54 | 100% | Revolve | SBR | 1 | 50 | Revolve | 50 | 1 | 50 | Johnson | 4 |  | 1.5 | Clear Water Pools | 400 | 1 | 400 | Grundfos | 15 | 1 | 15 | NA |  |  |  | NA |  |  |  | NA |  |  |  | Prabavathi | 2 |  | 1 | 2 | 75 | 1 | 77 | 1 |  | 1 | - | - | 30 | 1 | - | - |  |  |  | 1 | 5 | 1 | Grundfos | 3 | 2 | 6 | Grundfos | 3 | 2 | 6 | Grundfos | 3 | 2 | 6 | - | - | - | - | Alliance | 1
12 | Chandra Deep | 30 | 78000 | 2008-06-01 | 11 | 0 | 11 | - | - | - | - | -
Villas
1 | Boulevard | 95 | 300015 | 2012-12-12 | 30 | 5 | 35 | 425 | 4.47 | 241.2 | 2.77 | 50 | 5 | ESSNAR | 630 | 1 | 630 | 6.63 | Kirloskar | 320 | 2 | 640 | 6.74 | 100% |  |  | 1 | 130 |  |  | 1 | 30 | [5 empty] | 230 | 1 | 230 |  |  |  |  | NA |  |  |  | NA |  |  |  | NA | [8 empty] | 30 | 1 | 40 | 1 | 20 | 1 | [12 empty] | Grundfos | 5 | 2 | 10 | Grundfos | 3 | 2 | 6 | [8 empty] | Alliance
2 | Lotus | 30 | 60000 | 2017-08-01 | 9 | 1 | 10 | - | - | - | - | 44 | 2 | Vijay Electricals | 320 | 1 | 320 | 10.66 | Kirloskar | 125 | 1 | 125 | 4.16 | 500W | WIP |  |  |  | Revolve | 100 | 1 | 100 | NA |  |  |  | WIP |  |  |  | NA |  |  |  | NA |  |  |  | NA |  |  |  | NA |  |  |  | NA |  |  |  |  | 100 | 1 | 75 | 1 | 50 | 1 | NA | NA | WIP | WIP | NA | [7 empty] | DP | 5 | 2 | 10 | - | - | - | - | WIP |  |  |  | NA |  |  |  | Alliance | 1 | 420
3 | County | 123 | 406230 | 2009-04-09 | 42 | 4 | 46 | 325 | 2.64 | 352 | 3.59 | 110 | 7 | PETE | 750 | 1 | 750 | 6.47 | Caterpillar | 385 | 2 | 760 | 6.18 | 100% | Pecock Engineering | SBR | 1 | 240 | Needsoucess | 80 | 1 | 80 | NA |  |  |  | Green India Aqua Solutions | 250 | 1 | 250 | NA |  |  |  | NA |  |  |  | NA |  |  |  | NA |  |  |  | NA |  |  |  |  | 200 | 1 | 200 | 1 | 150 | 1 | NA | [7 empty] | 95 | 1 | NA |  | NA |  |  |  | NA |  |  |  | NA |  |  |  | NA |  |  |  | Alliance | 4 | 1472
4 | Gardenia | 116 | 401500 | 2018-01-16 | 35 | 8 | 43 | 400 | 2.7 | 181.2 | 2.7 | 58 | 5 |  |  |  | 750 | 6.47 |  |  |  | 570 | 4.91 | 100% |  |  |  | 120 |  |  | 1 | 90 | [8 empty] | NA |  |  |  | NA |  |  |  | NA |  |  |  | NA |  |  |  | NA | [34 empty] | NA |  |  |  | Alliance | 3 | 787
32984
Note on E7: Present not under APMS
Note on E9: Present not under APMS
Note on I10: 11KVA LT connection
Note on I14: 11KVA LT connection

## Sheet3
Drinking Water Standards requirement as per IS: 10500-2012
S.No | Parameters | Acceptable Limit | Permissible limits in the absence of alternate source
A | PHYSICAL:
1 | Colour (Hazen units) | 5 max | 15 max
2 | pH | 6.5 - 8.5 | No relaxation
3 | E.C. Micro Siemens /cm at 25° c
4 | Turbidity (NTU) | 1 max | 5 max
B | CHEMICAL:
1 | Total Dissolved Solids, mg/l | 500 max | 2000 max
2 | Total Hardness asCACO3, mg/l | 300 max | 600 max
3 | Total Alkaline as CACO3, mg/l | 200 max | 600 max
4 | Non- Carbonate as CACO3, mg/l | - | -
5 | Calcium as CA, mg/l | 75 max | 200 max
6 | Magnesium as Mg, mg/l | 30 max | 100 max
7 | Sodium as Na, mg/l | - | -
8 | Chlorine ad Cl, mg/l | 250 max | 1000 max
9 | Sulphate as SO4, mg/l | 200 max | 400 max
10 | Silicon SiO4, mg/l | - | -
11 | Iron as Fe, mg/l | 30 max | No relaxation
12 | Nitrate as No3, mg/l | 45 max | No relaxation
13 | Fluoride as F, mg/l | 1.00 max | 1.5 max
14 | Potassium as K, mg/l | - | -

## Sheet1
S.No | Asset | Make/Type (In case of STP) | Capacity | Managing Since(On an Average)
1 | DG | Kirloskar | 5000KVA | 5 Years
|  | Cummins | 2000KVA | 5 Years
|  | Caterpillar | 4000KVA | 5 Years
2 | STP | MBBR | 2000KL | 8 years
|  | SBR | 500KL | 6 years
|  | ASP | 250KL | 4 years
3 | Transformers
4 | Fire Pump Room
5 | Lifts |  | Capacity would be the number of people lifts can mobilise in one go
6 | Solar Fencing |  | Total running Kilo Meters
7 | Raw n Fire Tank capacity
8 | Water Softening Plant |  | Put appropriate detail
9 | Fire Detection & Fighting System details |  | Put appropriate detail
10 | Basement Exhaust System
11 | Bore wells |  | Total Numbers & depth range; Yield range
12 | LT panel related info
13 | Hydro Pneumatic Pumps related info