**Objective:**

To provide standard steps for operation

**Policy:**

The startup steps should be done in smooth and safe way.

**Responsibility:**

Electrician / Shift Engineer

**Procedures:**

* Verify healthy power from main LT panel in each phase
* Verify Control supply is healthy & indication lamps are glowing.
* Check MCCB contacts are serviceable.
* Check that safeties are at normal condition.
* Check earth pit is connected to earth lead and grounded safely.
* Log the parameters in log books.

**Revision Guide:**

Any change in the system needs review of SOP.