**Borewell data of Aura**

HDPE Pipe Size: 2“

Borewell Depth: 750ft

KWH/HP: 5.5/7

Make: Falcon

Borewell No: 1

Working status: NW

HDPE Pipe Size: 2”

Borewell Depth: 650 ft

KWH/HP: 5.5/7

Make: Falcon

Borewell No: 2

Working status: NW

HDPE Pipe Size: 2”

Borewell Depth: 750 ft

KWH/HP: 7.5/10

Make:

Borewell No: 3

Working status: W